Annuxue-I

Scope of work: Dismantling of all material capacitor room UHV LAB   Block III.

1. Dismantling of burn capacitor 264 no.

2. Dismantling of burn cable 500qmm X 9 MTR(132 kv )

3. Dismantling of burn Bushing insulator 9 no

4. Dismantling of burn shutter.

5. Dismantling of burn Panel 3 no.

6. Dismantling of burn Main switch 6 no.

7. Dismantling of burn angle and channel, Cable tray.

8. Cutting out of all the things from the gas cutting.

9. After this, removing of all the stuff stored in the scrap yard.

10. Cleaning of capacitor room.

11. All material will be provided by BHEL Bhopal(i.e Welding machine and gas cutting set, Tractor trolley, Forklifts).

12. Work is to be   completed within 35 days of receiving the work order.

RAM PRATAP SETH

DY.MGR (FRX)