ANNEXURE-II

List of MG sets and other test equipments of Transformer Test Area of which Preventive Maintenance is to be done six  times in a year (List enclosed). Total nos of PMs in a year=114.

| SR.NO. | ITEM NO. | DESCRIPTION |
| --- | --- | --- |
| 1 | 6\C\0020 | 20 MVA MG SET (NO.5) |
| 2 | 6\C\002146 | 9/5 MVA MG SET(NO.6) |
| 3 |  | 3000 KV IMPULSE TEST SYSTEM |
| 4 | 6\C/2145 | 1600 KV HVDC TEST SYSTEM |
| 5 |  | 30 MVA MG SET |
| 6 | 2-6-9612-45 | 13.33 MVA 11/90 KV TEST TRANSFORMER (3 NOS) |
| 7 | 2-6-9605-45 | 1500 KV CASCADE TRANSFORMER |
| 8 | 2-6-9612-45 | 60 MVAR CAPACITORS BANK |
| 9 | 6\C | 100 MVAR CAPACITORS BANK |
| 10 | 3-4-9601-45 | UHV PUMP HOUSE AND COOILNGF TOWER |
| 11 | 6/C/2157 | 300 MVA 650 KV TESTING TRANSFORMER |
| 12 | 6/C/2149 | 11/3.3 KV TESTING TRANSFORMER |
| 13 | 2-6-1607-45 | V IMPLUSE TEST SYSTEM & 4 MV IMPULSE GENERATORS |
| 14 | 6/C/0015 | B2 MG SET |
| 15 |  | MG ROOM PUMP HOUSE |
| 16 |  | 40 MVA TRANSFORMER NTB & BL.III(03 NO) |
| 17 |  | 180 MVAR CAPACITORS BANK NTB & 180 MVA TESTING |
| 18 |  | 1 MVA MG SET IN MG ROOM |
| 19 | --- | 170 KV 2500 AMP GIS & 66 KV 4000 AMP GIS |

TOTAL NOS OF PM TO BE DONE IN A YEAR=114

DY MGR (FRX)