FIELD QUALITY PLAN FORMATS FOR CIVIL, STRUCTURAL AND ARCHITECTURAL WORKS 1X660 MW BHUSAVAL TPS MAHARASHTRA STATE POWER GENERATION CO. LTD.

BHARAT HEAVY ELECTRICALS LIMITED POWER SECTOR - WESTERN REGION NAGPUR - 440001

| List of Civil works Log Sheets / Tests |  |  |  |
| --- | --- | --- | --- |
| S. No. | Description | Format No. / Log sheet No. | PAGE NO. |
| A | TOPOGRAPHICAL SURVEY: |  |  |
| 1 | BENCHMARKING (LEVEL & CO-ORDINATES) |  |  |
| 2 | AREA LEVELLING |  |  |
| B | SOIL INVESTIGATION: |  |  |
| B.1 | FIELD TESTS/INVESTIGATIONS: |  |  |
| 1 | GENERALISED SURAFACE & SUB-SURFACE CONDITIONS |  |  |
| 2 | SOIL BORING |  |  |
| 3 | STANDARD PENETRATION TESTS (SPT) |  |  |
| 4 | ROCK DRILLING |  |  |
| 5 | GROUNDWATER |  |  |
| 6 | TRIAL PITS |  |  |
| 7 | FIELD PERMEABILITY TEST |  |  |
| 8 | DYNAMIC CONE PENETRATION TEST |  |  |
| 9 | ELECTRICAL RESISTIVITY TEST |  |  |
| 10 | FIELD CALIFORNIA BEARING RATIO TEST |  |  |
| 11 | STATIC & CYCLIC PLATE LOAD TEST |  |  |
| 12 | SEISMIC REFRACTION TEST |  |  |
| 13 | CROSS-HOLE SEISMIC TEST |  |  |
| 14 | PRESSUREMETER TEST |  |  |
| B.2 | LAB TEST: |  |  |
| 1 | BULK DENSITY AND MOISTURE CONTENT |  |  |
| 2 | SIEVE ANALYSIS |  |  |
| 3 | HYDROMETER ANALYSIS |  |  |
| 4 | LIQUID LIMIT AND PLASTIC LIMIT |  |  |
| 5 | SHRINKAGE LIMIT |  |  |
| 6 | SPECIFIC GRAVITY |  |  |
| 7 | SWELL PRESSURE |  |  |
| 8 | FREE SWELL INDEX |  |  |
| 9 | RELATIVE DENSITY |  |  |
| 10 | UNCONFINED COMPRESSIVE STRENGTH |  |  |
| 11 | DIRECT SHEAR TEST |  |  |
| 12 | TRIAXIAL SHEAR TEST I) UNCONSOLIDATED UNDRAINED TEST |  |  |
| 13 | ONE DIMENSIONAL CONSOLIDATION TEST |  |  |
| 14 | STANDARD PROCTOR COMPACTION TEST |  |  |
| 15 | CBR TEST |  |  |
| 16 | CHEMICAL ANALYSIS |  |  |
| 17 | CHEMICAL TEST OF WATER |  |  |
| C | QA/QC : |  |  |
| 1 | DETERMINATION OF CONSISTENCY OF CEMENT | LOG SHEET NO. L-01 |  |
| 2 | INIITIAL & FINAL SETTIG TIMES OF CEMENT | LOG SHEET NO. L-02 |  |
| 3 | GRADING OF THE SAND (FINE AGGREGATE) | LOG SHEET NO. L-03 |  |
| 4 | SIEVE ANALYSIS (GRADING OF COARSE AGGREGATE) | LOG SHEET NO. L-04 |  |
| 5 | COMPRESSIVE STRENGTH TESTING OF CEMENT CONCRETE | LOG SHEET NO. L-05 |  |
| 6 | PCC FOR FOUNDATION | LOG SHEET NO. L-06 |  |
| 7 | POUR CARD | LOG SHEET NO. L-07 |  |
| 8 | OBSERVATION DURING/AFTER CONCRETING | LOG SHEET NO. L-08 |  |
| 9 | FOUNDATION AS BUILT | LOG SHEET NO. L-09 |  |
| 10 | COMPRESSIVE STRENGTH OF BRICKS | LOG SHEET NO. L-10 |  |
| 11 | COMPUTING WATER ABSORPTION TEST OF BRICK | LOG SHEET NO. L-11 |  |
| 12 | BACK FILLING | LOG SHEET NO. L-12 |  |
| 13 | DETERMINATION BULK DENSITY, MOISTURE CONTENT & DRY DENSITY | LOG SHEET NO. L-13 |  |
| 14 | ROAD WORKS WBM, BACK TOPPING | LOG SHEET NO. L-14 |  |
| 15 | MAX. DRY DENSITY OF SOIL FOR BACK FILLING & CNS SOIL OPTIMUM MOISTURE CONTENT | LOG SHEET NO. L-15 |  |
| 16 | UNDERGROUND PIPING (RCC) HYDRO TEST | LOG SHEET NO. L-16 |  |
| 17 | BITUMEN TEMPERATURE AND CONSUMPTION | LOG SHEET NO. L-17 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ##### DETERMINATION OF CONSISTENCY OF CEMENT This method is for determining the quantity of water required for preparing a cement paste of standard consistency, using VICAT apparatus. Weight of sample: ____________ Grams. Note: 500 GMS for 80 mm diameter VICAT mould. Quantity of water: _____________ ML Time of gauging: _____________ Minutes. Note: 3 to 5 minutes. Plunger Penetration: ___________ mm Note: 5 to 7 MM from bottom of the mould of 10 mm diameter. Consistency: Water added X 100 % Weight of cement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | NAME |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  | LOG SHEET NO. L-01 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |
| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |
| ##### INITIAL & FINAL SETTING TIMES OF CEMENT (VICAT APPARATUS) - Weight of sample __________ Grams (500 Grams for 80 mm diameter VICAT mould). - Quantity of water ___________ ml (85% of standard consistency). - Initial Setting Time: Penetration of VICAT needle of 1 mm2: 5 + 0.5 mm from the bottom of the mould Initial Setting Time: ______ Minutes/Seconds (Total time from water addition to proper penetration of the needle. - Final Setting Time: ______ Minutes/Seconds (Total time from water addition to failure of making outer impression of the surface of the cement specimen.) - Specification: Initial Minimum 30 minutes. Final Maximum 600 minutes. - Remarks (if any): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  | LOG SHEET NO. L-02 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |

| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ##### GRADING OF THE SAND (FINE AGGREGATE) Weight of sample: _________________ Grams. Type of Aggregate: _________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Retained on IS Sieve No. |  |  |  | Weight Retained |  |  |  | Percentage Weight Retained |  |  |  | Cumulative % Weight Retained |  |  |  |  | Percentage Passing |
|  | 10 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.74 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.36 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.18 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 600 microns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 300 microns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 150 microns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 75 microns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GRADING ZONES OF FINE AGGREGATE (IS 383) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IS Sieve Designation |  |  |  | Percentage Passing for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Grading Zone I |  |  |  | Grading Zone II |  |  |  | Grading Zone III |  |  |  |  | Grading Zone IV |  |
| 10 mm |  |  |  | 100 |  |  |  | 100 |  |  |  | 100 |  |  |  |  | 100 |  |
| 4.75 mm |  |  |  | 90 - 100 |  |  |  | 90 - 100 |  |  |  | 90 - 100 |  |  |  |  | 95 - 100 |  |
| 2.36 mm |  |  |  | 60 - 95 |  |  |  | 75 - 100 |  |  |  | 85 - 100 |  |  |  |  | 95 - 100 |  |
| 1.18 mm |  |  |  | 30 - 70 |  |  |  | 55 - 90 |  |  |  | 75 - 100 |  |  |  |  | 90 - 100 |  |
| 600 microns |  |  |  | 15 - 34 |  |  |  | 35 - 59 |  |  |  | 60 - 79 |  |  |  |  | 80 - 100 |  |
| 300 microns |  |  |  | 5 - 20 |  |  |  | 8 - 30 |  |  |  | 12 - 40 |  |  |  |  | 15 - 50 |  |
| 150 microns |  |  |  | 0 - 10 |  |  |  | 0 - 10 |  |  |  | 0 - 10 |  |  |  |  | 0 - 15 |  |
| Note: Graphical Plot of Grading Curve to include during execution of work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | NAME |  |  |  | SIG. / DATE |  |  |  | DOC. NO. QPE - CL - 001 |  |  |  |
| PROJECT |  |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |
| UNIT NO. |  |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  | LOG SHEET NO. L-03 |  |  |  |
| RATING |  |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SIEVE ANALYSIS (GRADING OF COARSE AGGREGATE) Weight of sample: _________________ Grams. Type of Aggregate: _________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. | Retained on IS Sieve No. |  |  | Weight Retained |  |  |  | Percentage Weight Retained |  |  |  | Cumulative % Weight Retained |  |  |  |  | Percentage Passing |
| 01 | 10 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 | 20 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 03 | 16 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 | 12.5 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 05 | 10 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 06 | 4.75 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 07 | 2.36 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GRADING ZONES OF FINE AGGREGATE (IS 383): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IS Sieve Designation |  |  | Percentage Passing for Graded Aggregate of Nominal size |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 40 mm |  |  | 20 mm |  |  |  |  | 16 mm |  |  |  | 12.5 mm |  |  |
| 10 mm |  |  | 95 - 100 |  |  | 100 |  |  |  |  | - |  |  |  | - |  |  |
| 20 mm |  |  | 30 - 70 |  |  | 95 - 100 |  |  |  |  | 100 |  |  |  | 100 |  |  |
| 16 mm |  |  | - |  |  | - |  |  |  |  | 90 - 100 |  |  |  | - |  |  |
| 12.5 mm |  |  | - |  |  | - |  |  |  |  | - |  |  |  | 90 - 100 |  |  |
| 10 mm |  |  | 10 - 35 |  |  | 25 - 55 |  |  |  |  | 30 - 70 |  |  |  | 40 - 85 |  |  |
| 4.75 mm |  |  | 0 - 5 |  |  | 0 - 10 |  |  |  |  | 0 - 10 |  |  |  | 0 - 10 |  |  |
| 2.36 mm |  |  | - |  |  | - |  |  |  |  | - |  |  |  | - |  |  |
| Note: Graphical Plot of Grading Curve to be included during execution of work. Remarks (if any): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  |  |  | DOC. NO. QPE - CL - 001 |  |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  | LOG SHEET NO. L-04 |  |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |

| PSWR-NAGPUR |  |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### COMPRESSIVE STRENGTH TESTING OF CEMENT CONCRETE Name of Agency: Location / Structure: Grade of Concrete Mix Proportion: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ###### Sr. No. | ###### Date of Cube Casting |  | ###### Cube Identification Mark |  | ###### Slump (MM) | ###### Concrete Quantity sampling method |  |  |  | ###### Date of Cube Testing |  | ###### Age of Cube |  | ###### Weight of Cube |  | ###### Compression Strength / mm2 |  |  |  |  |  | ###### Remarks |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ###### Individual |  |  | ###### Average |  |  |  |
|  |  |  |  |  |  |  |  |  | NAME |  |  |  |  |  | SIGNATURE / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |  |  |
| PROJECT |  |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |  |
| UNIT NO. |  |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  |  |  |  | LOG SHEET NO. L-05 |  |  |  |  |
| RATING |  |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |  |

| PSWR-NAGPUR. | Instrument Reg No. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Date of inseption |  |  |  |  |
|  | Drawing Doc. Reference |  |  |  |  |
| PCC FOR FOUNDATION |  |  |  |  |  |
| SR NO. | ACTUAL DIMENSION | DIMENSION AS PER DRAWING | TOP LEVEL PCC | EXCAVATION LEVEL | REMARK |
| Acceptable /released for further work |  |  |  |  |  |
|  |  |  | NAME | SIG/DATE |  |
|  |  |  |  |  | QP NO.:QPE:CL:001 |
| PROJECT |  | CHECKED BY |  |  | REV NO:01 |
| UNIT NO. |  | ACCEPTED BY |  |  | LOG SHEET NO.:L-06 |
| RATING |  | CUSTOMER |  |  | SHEET 1 OF 1 |

| PSWR-NAGPUR | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Date Of Inspection |  |  |  |  |  |  |  |  |  |
|  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |
| POUR CLEARANCE FORM AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |
| Name of work: Date: |  |  |  |  |  |  |  |  |  |  |
| 1. Grade of concrete: 2. Water cement ratio of concrete: |  |  |  |  |  |  |  |  |  |  |
| 3 Quantity of concrete to be poured: |  |  |  |  |  |  |  |  |  |  |
| 4. Type Of Cement used: 5. Quality of aggregate: 6. Quality & Source of water: 7. Checking completion of alignment (as applicable): 8. Checking completion of formwork/shuttering and supports (as applicable): 9. Reinforcement Completion (as applicable): 10. Staging and scaffolding Completion (as applicable): 11. Embedded parts / Anchor bolts/ Pockets / opening etc. (as applicable): 12. Machineries proposed to be used - Concrete Mixers - Vibrators - Pumps - Hoists 13. Intending to pour from ________ Hrs. to _________ Hrs. on date ____ The above structure work has been checked and found ready for concreting. Remarks (If any): |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | LOG SHEET NO. L-07 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |
| ## OBSERVATION DURING/AFTER CONCRETING AREA / LOCATION: Name of work: Date: |  |  |  |  |  |  |  |  |  |  |  |
| 1. Compaction of concrete: |  |  |  |  |  |  |  |  |  |  |  |
| 2. Slump: |  |  |  |  |  |  |  |  |  |  |  |
| 3. Correctness of anchor bolts: |  |  |  |  |  |  |  |  |  |  |  |
| 4. Correctness of pockets / openings: |  |  |  |  |  |  |  |  |  |  |  |
| 5. Rigidity of shuttering / strutting |  |  |  |  |  |  |  |  |  |  |  |
| 6. Any other defect observed during concreting |  |  |  |  |  |  |  |  |  |  |  |
| 7. Quality of concrete |  |  |  |  |  |  |  |  |  |  |  |
| 8. Total cement consumption |  |  |  |  |  |  |  |  |  |  |  |
| 9. Actual time of pouring |  |  |  |  |  | a) Starting Time |  |  |  |  |  |
|  |  |  |  |  |  | b) Completion Time |  |  |  |  |  |
| 10. Date of de-shuttering |  |  |  |  |  |  |  |  |  |  |  |
| 11. De-shuttering Observations |  |  |  |  |  |  |  |  |  |  |  |
| 12. Cubes taken |  |  |  |  |  | a) Nos. |  |  |  |  |  |
|  |  |  |  |  |  | b) Identification Mark |  |  |  |  |  |
|  |  |  |  |  | NAME |  |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  |  | REV NO.: 00 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  |  | LOGSHEETNO. L-08 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |
| ## FOUNDATION AS BUILT SCHEME AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Description of Dimension & Top of Foundation |  |  |  | As Per Drawing (Top Level) |  |  | Measured/Concrete (Top Level) |  |  |  |  | Remarks |  |
| Acceptable / Released for further work. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  | REV NO.: 00 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  | LOGSHEETNO. L-09 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |

| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## COMPRESSIVE STRENGTH OF BRICKS AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Sample No. |  |  | Brick Mark |  | Dimensions L x B x D Cm x Cm x Cm |  |  | Area of Cross Section Loaded |  |  | Load In Kg |  | Compression Strength Kg/Cm2 | Remarks |  |
|  |  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |
| UNIT NO. |  |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  | LOGSHEETNO. L-10 |  |  |
| RATING |  |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |

| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## COMPUTING WATER ABSORPTION TEST OF BRICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample No. | Brick Mark |  |  | Dimension (L x B x D) (Cm x Cm x Cm) |  | Weight of Dry Brick (W1) In Kg |  | Duration of Soaking Water |  |  |  |  |  | Weight of Soaked Brick (W2) In Kg |  |  | Weight of Water Absorbed (W2 - W1) In Kg | % Of Individual Absorption (W2 - W1) x100 W |  |
|  |  |  |  |  |  |  |  | From | To |  | Period |  |  |  |  |  |  |  |  |
| Remarks (If any): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | NAME |  |  |  |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |  |
| PROJECT |  |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |
| UNIT NO. |  |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  |  | LOGSHEETNO. L-11 |  |  |  |
| RATING |  |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| ## BACK FILLING AREA / LOCATION: - Type of Soil: Soil / Sand / Moorum - No. Of Layers: ______ Per CNS Soil - Mode of Compaction: Watering / Ramming / Plate Vibrator - Final Level of Filling: - Field Compaction Test: Remarks (If any): |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 00 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | LOGSHEETNO. L-12 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| ## DETERMINATION BULK DENSITY, MOISTURE CONTENT & DRY DENSITY AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |
| PART-I: CALCULATION OF BULK DENSITY - Weight of Core Cutter=Wc In Grams: - Inner Volume of Core Cutter {πd2h/4} In Cm3 = Vc : - Weight of {Core Cutter + Wet Soil Sample} = Ws Grams: - Weight of Wet Soil sample in Cutter = (Ws – Wc) In Grams: - Bulk Density (γ) in Grams /Cm3 = (Ws – Wc) / Vc : PART-II: CALCULATION OF MOISTURE CONTENT & DRY DENSITY - Weight of container + Wet soil sample in Grams = W1: - Weight container + Weight of Dry soil sample in Grams = W2: - Weight of container in Grams = Wc: - Weight of water in Grams (Ww) in Grams = W1 - W2: - Weight of dry soil (Ws) in Grams = W2 - Wc: - Moisture content (ω) in Grams = Ww x 100/ Ws: - Dry Density (γd) = γ x100/(1+ω): - Laboratory control density in Grams/ Cm3 = γd (Lab): - Optimum moisture content in % = - Degree of Compaction ={γd / γd / ab} x 100: |  |  |  |  |  |  |  |  |  |  |
| Remarks: |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 00 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | LOGSHEETNO. L-13 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

|  | Instrument Reg. No. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Date Of Inspection |  |  |  |  |  |
| PSWR-NAGPUR |  |  |  |  |  |  |
|  | Drawing/Doc. Reference |  |  |  |  |  |

ROAD WORKS

AREA / LOCATION:

ROAD (W.B.M)

- SPREADING OF AGGREGATE AND MOORUM

- WATERING

- ROLLING OF W B M FIRST LAYER

- ROLLING OF W B M SECOND LAYER

- CHECK FOR CAMBER

BACK TOPPING

- CHECK FOR CAMBER AND LEVELS/COMPACTION

- CHECK FOR SURFACE PREPARATION

- CHECK FOR TACK COAT

- CHECK FOR PROPORTION / THICKNESS / ROLLING

- CHECK FOR SEAL COAT

- CHECK FOR SAND SPRAY

ACCEPTABLE / RELEASED FOR FURTHER WORK.

|  |  |  | NAME | SIG. / DATE | DOC. NO. QPE - CL - 001 |
| --- | --- | --- | --- | --- | --- |
| PROJECT |  | CHECKED BY |  |  | REV NO.: 00 |
| UNIT NO. |  | ACCEPTED BY |  |  | LOGSHEETNO. L-14 |
| RATING |  | CUSTOMER |  |  | SHEET: 01 Of 01 |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # MAX. DRY DENSITY OF SOIL FOR BACK FILLING & # CNS SOIL OPTIMUM MOISTURE CONTENT AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Location of Soil Selected for Filling (Sample) |  | Date of Sample Collection |  |  | Date of Testing |  | Test Results As per Lab Report |  |  |  |  | Reference & Date of Lab Test Report |  | Remarks |  |
|  |  |  |  |  |  |  |  | O.M.C |  |  | M.D.D |  |  |  |  |  |
|  |  |  |  |  | NAME |  |  |  |  | SIG. /DATE |  |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  | LOGSHEETNO. L-15 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |

| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERGROUND PIPING (RCC) HYDRO TEST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AREA / LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Drawing/Document Reference No. |  |  |  | Size Of Pipe | LOCATION OF PIPE |  |  |  |  |  | Initial Head Reading |  | Final Head Reading | Head Loss |  | Remarks |
|  |  |  |  |  |  | FROM |  |  | TO |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  | LOGSHEETNO. L-16 |  |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |

|  |  |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PSWR-NAGPUR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | BITUMEN TEMPERATURE AND CONSUMPTION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AREA/LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BITUMEN GRADE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Opening |  | Receipt |  | Cumulative |  |  | Consumption |  |  |  | Cumulative |  | Closing |  |  | Location |  | Bitumen |  |  |  | Remarks |  |  |
|  | Balance |  | Quantity |  | Quantity |  |  |  |  |  |  | Consumption |  | Balance |  |  |  |  | temperature |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Tack |  | Carpet |  | Sealing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Coat |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | NAME |  |  |  |  | SIGNATURE / DATE |  |  |  | DOC. NO. QPE - CL - 001 |  |  |  |  |
| PROJECT |  |  |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  |  |  |  |  |  |  | REV NO.: 00 |  |  |  |  |
| UNIT NO. |  |  |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  |  |  |  |  |  |  | LOG SHEETNO. L-17 |  |  |  |  |
| RATING |  |  |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |  |  |