FIELD QUALITY PLAN PROTOCOLS FOR CIVIL, STRUCTURAL AND ARCHITECTURAL WORKS 1X660 MW BHUSAVAL TPS MAHARASHTRA STATE POWER GENERATION CO. LTD.

BHARAT HEAVY ELECTRICALS LIMITED POWER SECTOR - WESTERN REGION NAGPUR - 440001

| List of Civil works Protocols |  |  |  |
| --- | --- | --- | --- |
| S. No. | Description | Protocol No. | PAGE NO. |
| 1 | PROTOCOL FOR SITE GRADING WORKS | PROTOCOL NO. P-01 |  |
| 2 | PROTOCOL FOR PILING WORKS | PROTOCOL NO. P-02 |  |
| 3 | PROTOCOL FOR MASONARY BRICK WORK | PROTOCOL NO. P-03 |  |
| 4 | PROTOCOL FOR ANTITERMITE TREATMENT | PROTOCOL NO. P-04 |  |
| 5 | PROTOCOL FOR PLASTERING | PROTOCOL NO. P-05 |  |
| 6 | PROTOCOL FOR DOORS , WINDOWS & VENTILATION INSTALLATION | PROTOCOL NO. P-06 |  |
| 7 | PROTOCOL FOR PAINTING | PROTOCOL NO. P-07 |  |
| 8 | PROTOCOL FOR SANITARY FITTING | PROTOCOL NO. P-08 |  |
| 9 | PROTOCOL FOR WATER PROOFING | PROTOCOL NO. P-09 |  |
| 10 | PROTOCOL FOR FALSE CEILING & FALSE FLOORING | PROTOCOL NO. P-10 |  |
| 11 | PROTOCOL FOR UNDER DECK INSULATION | PROTOCOL NO. P-11 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |
| PROTOCOL FOR SITE GRADING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Cleaning and stripping of soil including disposal of unsuitable material. 2; Taking and plotting of initial joint level at specified intervals for cutting as well as filling areas. 3; Classification and testing of filling soil for suitability including preparation of lead charts to filling/disposal area. 4; Proper warning of explosions, misfires and storage of explosive material (as applicable). 5; Breaking up colds, lump etc at the time of filling and compaction. 6; Identification and suitability of borrowed areas for filling soil/murrum including verification of payment for royalty etc.. REMARK(IF ANY). |
|  |  |  |  |  | NAME | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  | REV NO.: 00 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  | PROTOCOL NO. P-01 |  |
| RATING |  |  | CUSTOMER |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROTOCOL FOR PILING WORKS. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; BORING AND CONCRETING OF PILE. a.; diameter of bore hole. b.; check for pile layout. c.; check and record ground level. d.; cleaning/flushing of pile after completion of bore, after lowering of reinforcement cage and just before placing concrete. e.; During boring record size of bore commencement of SPT/core recovery, ensure socket length equivalent in items of the diameter of pile below the socket horizon. f.; Check for pile casting, reinforcement and pouring of sound concrete of required strength. g.; Check for pile termination level and record soil data. h.; Check for pile cap line level, shape, size, reinforcement, concreting, and curing etc.. 2.2; TESTING OF PILE. a.; Bentonite liquid limit, sand content density of fresh prepared bentonite suspension, marsh viscosity, differential free swell, PH value. b.; Density of mud sample collected from pile. c.; slump test & cube test for concrete. d.; Initial pile load test: vertical load(compression),lateral load(horizontal),and pull out load ( tension). e.; Routine pile test compression and horizontal. f.; Pile integrity test(NDT). REMARK(IF ANY). |
|  |  |  |  |  |  |  |  | NAME |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  | REV NO.: 01 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  | PROTOCOL NO. P-02 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |
| PSWR-NAGPUR |  |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Date Of Inspection |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |  |  |  |
| PROTOCOL FOR MASONARY BRICK WORK. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Review of calibration certificate of instrument testing equipment. 2; Check for field calibration of instruments/testing equipment in case of doubt or out of calibration. 3; Ensure that incoming material(cement, sand, brick and water) are as per specification/approve brand. 4; Ensure that brick have uniform colour and are free from crack and efflorescence. NOTE: Efflorescence check on each source of supply. 5; Ensure that clear ringing sound is heard of being struck. 6; Check for compressive strength test wrap age curing and water absorption test on brick. 7; Check for cement mortar proportion and mixing. |
|  |  |  |  |  |  |  | NAME |  |  | SIG. / DATE |  |  | DOC. NO. QPE - CL - 001 |  |  |
| PROJECT |  |  |  | CHECKED BY |  |  |  |  |  |  |  |  | REV NO.: 01 |  |  |
| UNIT NO. |  |  |  | ACCEPTED BY |  |  |  |  |  |  |  |  | PROTOCOL NO. P-03 |  |  |
| RATING |  |  |  | CUSTOMER |  |  |  |  |  |  |  |  | SHEET: 01 Of 01 |  |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR ANTITERMITE TREATMENT. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Testing of material & spraying device including personal protective equipment like face mask gloves ,shoes, etc. 2; Check for preparation of surface for taking dosage of emulsion by ramming of each layer of soil by roding the earth at specified intervals. 3; Ensure backfilling and compaction in specified layers along with application of emulsifier along sides of masonry & RCC structure. 4; Ensure compaction of top surface for taking dosage of emulsifier by roding the earth at specified intervals for the entire floor area before concreting. 5; Check for consumption of emulsifier utilized. 6; Review of test and inspection documents. REMARK(IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-04 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |
| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR PLASTERING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Check for completeness of hidden jobs like piping work, conduit work etc. 2; Check for grading of sand mix proportion. 3; Ensure for sample preparation for finish and its approval. 4; Check for neeru application on plaster. 5; Hacking and cleaning of surface removing loose particles and wetting of plastering surfaces. 6; Ensure fixing of chicken mesh at RCC/brick masonry connection. 7; Check for plaster thickness line ,level, plumbness and finishing of surface. 8; Check for grooves, opening, rounding of corners hollow in plaster. 9; Ensure that curing of plastered surface is carried out for seven days minimum. 10; Review of test and inspection documents. REMARK(IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-05 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR | Instrument Reg. No. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Date Of Inspection |  |  |  |  |  |  |  |  |  |
|  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |  |
| PROTOCOL FOR DOORS , WINDOWS & VENTILATION INSTALLATION. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Check for material as per specifications. 2; Check for section, dimension. 3; Check for levels, line & plumb. 4; Check for section joinery details. 5; Check for grouting with lugs/fasteners. 6; Check for fixture and fittings. 7; Check for thickness and type of glazing. 8; Check for brand/shade of paints surface preparation and number of coats. 9; Review of test and inspection documents. REMARK (IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-06 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR PAINTING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Check for brand, type & shade of paints. review manufacturers test certificate as applicable. 2; Check for proper surface preparation as per specification. 3; Confirm for brand, type & shade of paints. 4; Check for no. of coats and thickness dry film thickness(DFT). 5; Check for curing of painted surface(as applicable). 6; Review of test and inspection documents. REMARK(IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-07 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR SANITARY FITTING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Ensure that all pipes, fitting and fixture are as per relevant code and of approved brand. 2; Check for samples as applicable. 3; Check for completion of finishing work w.r.t line level and position. 4; Check for proper fixing of sanitary fitting to ensure that they are free from leakages. 5; Leak test on all sanitary fitting to ensure that they are free from leakages. 6; Review of test and inspection documents. REMARK (IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-08 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR WATER PROOFING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Surface preparation for screed. 2; Check for mix proportion, thickness for screed/plaster/concrete and slope toward rain water pipes. 3; Formation of groove at specified height on parapet wall. 4; Check for material, no of coats, application procedure and consumption. 5; Ensure termination of material in grooves on vertical plane. 6; Check for hollowness, bubbles in water proofing if any. 7; Conduct waterproofing test by flooding the area for specified period, as applicable. 8; Check for cleaning of surfaces. 9; Submission of guarantee in the prescribed Performa. 10; Review of test and inspection documents. REMARK (IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-09 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR FALSE CEILING & FALSE FLOORING. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1.0; FALSE CEILING. 1; Ensure that false ceiling is done as per technical specification and drawing. 2; As applicable ensure that resin mineral wool is packed in black polythene and laid on top of ceiling panels. 3; Checking for proper line & horizontality of false ceiling and cut outs. 4; Check for proper surface preparation and painting of panel boards. 5; Review of test and inspection documents. 2.0; FALSE FLOORING. 1; Ensure that false flooring is done as per technical specification and drawing. 2; heck for proper cleaning of base floor. 3; Check for proper surface preparation and painting of base floor. 4; Check for proper line and layout of false flooring. 5; Review of test and inspection documents. REMARK (IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-10 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |

| PSWR-NAGPUR |  | Instrument Reg. No. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Date Of Inspection |  |  |  |  |  |  |  |  |
|  |  | Drawing/Doc. Reference |  |  |  |  |  |  |  |  |
| PROTOCOL FOR UNDER DECK INSULATION. AREA/ LOCATION; DATE. SR NO.; CHECK/CHARACTERISTICS; OK/NOT OK; REMARK. 1; Verification of manufacturers TC for type of wool thickness & density Thermal conductivity etc.. 2; Check for adhesive and fasteners for anchoring. 3; Fixing of scaffolding, ladders & platforms. 4; Fixing of under deck insulation with adhesive. 5; Fixing of dash fasteners at definite intervals. 6; Review of test and inspection documents. REMARK (IF ANY). |
|  |  |  |  |  | NAME |  | SIG. / DATE |  | DOC. NO. QPE - CL - 001 |  |
| PROJECT |  |  | CHECKED BY |  |  |  |  |  | REV NO.: 01 |  |
| UNIT NO. |  |  | ACCEPTED BY |  |  |  |  |  | PROTOCOL NO. P-11 |  |
| RATING |  |  | CUSTOMER |  |  |  |  |  | SHEET: 01 Of 01 |  |