## Misc Vertical Pump
ENQUIRY NO. |  |  |  | E-5105 DATED 04.11.2015 |  | Package : Misc. Pumps - VERTICAL
PRICE SCHEDULE
1X800 MW KOTHAGUDEM TPP
[7 empty] | FOREIGN BIDDER ( REV 01 ) | [6 empty] | INDIAN BIDDER ( REV 01 )
[7 empty] | SUPPLY |  |  |  | INSTALLATION |  |  | SUPPLY | [5 empty] | INSTALLATION |  |  |  | TOTAL PRICE FOR INDIAN BIDDER
SL. No. | DESCRIPTIONS OF WORKS OR EQUIPMENT |  |  |  | Unit | Qty | Unit FOB Unit price including Sea worthy Packing and Handling Charges CURRENCY | Total FOB Price including Sea worthy Packing and Handling Charges CURRENCY | OCEAN FREIGHT CURRENCY | Total C&F price (Mumbai/Chennai Port) | Cost of site visits for Installation Checks and replacement of Gland packing with Mechanical Seal (if applicable) as per technical specification) per man day Currency | Cost of site visits for Installation Checks and replacement of Gland packing with Mechanical Seal (if applicable) as per technical specification) 3 nos. site visits for 3 days each. Currency | Total price Currency | UNIT EXWORKS INR | Total Ex-Works (INR) | ED @ …… % AS APPLICABLE ON SELF MANUFACTURED ITEMS ONLY (INR) | CST @........% AGAINST C FORM OR E1/E2 FORMS (INR) AS APPLICABLE / VAT (INR) | Freight Charges inclusive of Service TAX in % on Ex-Works Price (INR) | Total FOR SITE Price for Indegeneous item supply (INR) | Cost of site visits for Installation Checks and replacement of Gland packing with Mechanical Seal (if applicable) as per technical specification) per man day (INR) | Cost of site visits for Installation Checks and replacement of Gland packing with Mechanical Seal (if applicable) as per technical specification) 3 nos. site visits for 3 days each. (INR) | Service Tax (in terms of……..%) on Site Activities (Rs.) if applicable (INR) | TOTAL site visit charges including service tax (INR) | TOTAL PRICE (INR)
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 2 | 3 | 4 | 5 | 6 | 7=6+5+4+3 | 8 | 9 | 10 | 11=9+10 | 12=7+11
Total price for design, manufacture, assembly, inspection and testing at manufacturer’s and/or his sub-contractors works, proper packing for delivery and installation checks and replacement of gland packing with Mechanical Seal arrangement (if applicable) at site and PG Test at site for Miscellaneous Pumps along with mandatory spares complete with all accessories as per the requirements specified in this specification and also include Sump Model test at shop for all vertical pumps (except ACW Pump) and any other services, etc. if called for elsewhere in the Technical specification (No: PE-TS-410-100-N001) for MISC PUMPS
1.0 | Pumps and Motor Unit price (Horizontal Pumps Group I):
| (i) | RAW WATER PUMPS |  |  | No's | 1: 3
Pump price:
|  |  | Motor price: |  | BHEL'S SCOPE | 2: BHEL SCOPE
|  |  | Pump/ Motor accessories (As applicable) |  | No's | 1: 3
|  |  | Mandatory Spares ( as per Annexure -B1 ) |  | Lot | bar: 1 to 6
| (ii) | ACW PUMPS |  |  | No's | 1: 3
Pump price:
|  |  | Motor price: |  | BHEL'S SCOPE | 2: BHEL SCOPE
|  |  | Pump/ Motor accessories (As applicable) |  | No's | 1: 3
|  |  | Mandatory Spares ( as per Annexure -B1 ) |  | Lot | bar: 1 to 6
| (iii) | CW MAKE-UP PUMPS |  |  | No's | 1: 2
Pump price:
|  |  | Motor price: |  | No's | 1: 2
|  |  | Pump/ Motor accessories (As applicable) |  | No's | 1: 2
|  |  | Mandatory Spares ( as per Annexure -B1 ) |  | Lot | bar: 1 to 6
| (iv) | SERVICE WATER PUMPS |  |  | No's | 1: 2
Pump price:
|  |  | Motor price: |  | No's | 1: 2
|  |  | Pump/ Motor accessories (As applicable) |  | No's | 1: 2
|  |  | Mandatory Spares ( as per Annexure -B1 ) |  | Lot | bar: 1 to 6
| (v) | APH/ESP WATER WASHING PUMPS |  |  | No's | 1: 2
Pump price:
|  |  | Motor price: |  | BHEL'S SCOPE | 2: BHEL SCOPE
|  |  | Pump/ Motor accessories (As applicable) |  | No's | 1: 2
|  |  | Mandatory Spares ( as per Annexure -B1 ) |  | Lot | bar: 1 to 6
2.0 |  | Cost of site visits for Installation Checks and replacement of Gland packing with Mechanical Seal (if applicable) as per technical specification/NIT) 3 nos. site visits for 3 days each. |  |  | Manday | 1: 9
3.0 |  | PG Test at site (as per Cl. No. 4.0 of Section-C1 of Vol-IIB) |  |  | LOT | bar: 1 to 6
4.0 |  | Sump model test at shop (as per Cl. No. 3.5 of Section-C1 of Vol-IIB) |  |  | LOT | bar: 1 to 6
TOTAL (1.0+ 2.0+3.0+4.0)
NOTES:
| a) | Bidder to indicate cost of three site visits for three days each for installation check & replacement of gland packing with Mechanical seal (if applicable), in their price in 2.0 above. Further additional site visit per day charges shall be as obtained prorata as 2.0 above.
| b) | Unit price quoted by bidder, as above, shall be binding for any quantity variation, which is at the discretion of purchaser.
| c) | Price of commissioning & erection spares, special Tools & tackle and other accessories not listed above shall be included in the price of pump & shall be supplied with the pump.
| d) | Indicate all taxes, duties etc. stating whether included/ excluded in above prices.
| e) | Please refer technical specification for detail.
| f) | Mandatory Spare Note: 1. 1 Set is equivalent to spare required for assembling one pump unless otherwise specified. 2. In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed as above.

## Mand. Spare Vert Annex-B1
ENQUIRY NO. |  |  | E-5105 DATED 04.11.2015 | PACKAGE : MISC. PUMPS VERTICAL
PRICE SCHEDULE (ANNEXURE-B1)
MANDATORY SPARES FOR MISC PUMPS (VERTICAL) FOR 1X800 MW KOTHAGUDEM TPP
[5 empty] | IMPORTED ITEMS ( SUPPLY ) |  |  |  | INDEGENEOUS ITEMS ( SUPPLY )
[5 empty] | Currency in ……………… |  |  |  | Currency in Rs.
S. No. | ITEM DESCRIPTION |  | MANDATORY SPARES LIST | QTY | Unit FOB Unit price including Sea worthy Packing and Handling Charges | Total FOB Price including Sea worthy Packing and Handling Charges | OCEAN FREIGHT | Total C&F price (Mumbai/Chennai Port) | UNIT EXWORKS | TOTAL EX-WORKS | ED @ …… % AS APPLICABLE ON SELF MANUFACTURED ITEMS ONLY (INR) | CST @........% AGAINST C FORM OR E1/E2 FORMS (INR) AS APPLICABLE / VAT | Freight Charges inclusive of Service TAX in % on Ex-Works Price | Total FOR SITE Price for Indegeneous item supply
1 | MANDATORY SPARES PRICES-PUMPS (VERTICAL PUMPS -GROUP-II)
1.1 | RAW WATER PUMPS | 1.1.1 | Complete Bowl Assembly | 1 Set for each type
|  | 1.1.2 | Set of Impellers | 1 Set for each type
|  | 1.1.3 | Set of shafts | 1 Set for each type
|  | 1.1.4 | Casing wear rings | 1 Set for each type
|  | 1.1.5 | Impeller wear rings | 1 Set for each type
|  | 1.1.6 | Shaft sleeves | 1 Set for each type
|  | 1.1.7 | Shaft coupling | 1 Set for each type
|  | 1.1.8 | Shaft nuts and keys | 2 Sets for each type
|  | 1.1.9 | Pins (for non-reversible ratchet) | 2 Sets for each type
|  | 1.1.10 | Lantern rings | 1 Set for each type
|  | 1.1.11 | Bell mouth liner | 1 Set for each type
|  | 1.1.12 | Bearings Various types as applicable | Complete 1(One) Set (one set meanstotal requirements for one Pump) for each type
|  | 1.1.13 | Coupling set (between pump and motor) with accessories | 1 Set for each type
1.2 | ACW PUMPS | 1.2.1 | Complete Bowl Assembly | 1 Set
|  | 1.2.2 | Set of Impellers | 1 Set
|  | 1.2.3 | Set of shafts | 1 Set
|  | 1.2.4 | Casing wear rings | 1 Set
|  | 1.2.5 | Impeller wear rings | 1 Set
|  | 1.2.6 | Shaft sleeves | 2 Sets
|  | 1.2.7 | Shaft coupling | 1 Set
|  | 1.2.8 | Shaft nuts and keys | 2 Sets
|  | 1.2.9 | Pins (for non-reversible ratchet) | 2 Sets
|  | 1.2.10 | Lantern rings | 1 Set
|  | 1.2.11 | Bell mouth liner | 1 Set
|  | 1.2.12 | Bearings Various types as applicable | Complete1(One)Set(one set means total requirements for one Pump)
|  | 1.2.13 | Coupling set (between pump and motor) with accessories | 1 set
1.3 | CW MAKE-UP PUMPS | 1.3.1 | Complete Bowl Assembly | 1 Set for each type
|  | 1.3.2 | Set of Impellers | 1 Set for each type
|  | 1.3.3 | Set of shafts | 1 Set for each type
|  | 1.3.4 | Casing wear rings | 1 Set for each type
|  | 1.3.5 | Impeller wear rings | 1 Set for each type
|  | 1.3.6 | Shaft sleeves | 1 Set for each type
|  | 1.3.7 | Shaft coupling | 1 Set for each type
|  | 1.3.8 | Shaft nuts and keys | 2 Sets for each type
|  | 1.3.9 | Pins (for non-reversible ratchet) | 2 Sets for each type
|  | 1.3.10 | Lantern rings | 1 Set for each type
|  | 1.3.11 | Bell mouth liner | 1 Set for each type
|  | 1.3.12 | Bearings Various types as applicable | Complete 1(One) Set (one set meanstotal requirements for one Pump) for each type
|  | 1.3.13 | Coupling set (between pump and motor) with accessories | 1 Set for each type
LT MOTOR SPARES
|  | 1.3.14 | End Shield Cover Driving & Non-Driving End (applicable for motors above 30KW) | 1 Set for each type and rating of Motor
|  | 1.3.15 | Driving End & Non-Driving End Bearing | 1 Set for each type and rating of Motor (for above 30KW) 3 Set for each type and rating of Motor (for upto 30KW)
|  | 1.3.16 | Cooling Fan | 1 No. for each type and rating of Motor (for above 30KW) 2 No. for each type and rating of Motor (for upto 30KW)
|  | 1.3.17 | Motor Space Heater (applicable for motors above 30KW) | 1 No. for each type and rating of Motor
|  | 1.3.18 | Motor Terminal Block | 1 No. for each type and rating of Motor (for above 30KW) 5 No. for each type and rating of Motor (for upto 30KW)
|  | 1.3.19 | Complete Set of Coupling | 1 Set for each Application
1.4 | SERVICE WATER PUMPS | 1.4.1 | Complete Bowl Assembly | 1 Set for each type
|  | 1.4.2 | Set of Impellers | 1 Set for each type
|  | 1.4.3 | Set of shafts | 1 Set for each type
|  | 1.4.4 | Casing wear rings | 1 Set for each type
|  | 1.4.5 | Impeller wear rings | 1 Set for each type
|  | 1.4.6 | Shaft sleeves | 1 Set for each type
|  | 1.4.7 | Shaft coupling | 1 Set for each type
|  | 1.4.8 | Shaft nuts and keys | 2 Sets for each type
|  | 1.4.9 | Pins (for non-reversible ratchet) | 2 Sets for each type
|  | 1.4.10 | Lantern rings | 1 Set for each type
|  | 1.4.11 | Bell mouth liner | 1 Set for each type
|  | 1.4.12 | Bearings Various types as applicable | Complete 1(One) Set (one set meanstotal requirements for one Pump) for each type
|  | 1.4.13 | Coupling set (between pump and motor) with accessories | 1 Set for each type
LT MOTOR SPARES
|  | 1.4.14 | End Shield Cover Driving & Non-Driving End (applicable for motors above 30KW) | 1 Set for each type and rating of Motor
|  | 1.4.15 | Driving End & Non-Driving End Bearing | 1 Set for each type and rating of Motor (for above 30KW) 3 Set for each type and rating of Motor (for upto 30KW)
|  | 1.4.16 | Cooling Fan | 1 No. for each type and rating of Motor (for above 30KW) 2 No. for each type and rating of Motor (for upto 30KW)
|  | 1.4.17 | Motor Space Heater (applicable for motors above 30KW) | 1 No. for each type and rating of Motor
|  | 1.4.18 | Motor Terminal Block | 1 No. for each type and rating of Motor (for above 30KW) 5 No. for each type and rating of Motor (for upto 30KW)
|  | 1.4.19 | Complete Set of Coupling | 1 Set for each Application
1.5 | APH/ESP WATER WASHING PUMPS | 1.5.1 | Complete Bowl Assembly | 1 Set for each type
|  | 1.5.2 | Set of Impellers | 1 Set for each type
|  | 1.5.3 | Set of shafts | 1 Set for each type
|  | 1.5.4 | Casing wear rings | 1 Set for each type
|  | 1.5.5 | Impeller wear rings | 1 Set for each type
|  | 1.5.6 | Shaft sleeves | 1 Set for each type
|  | 1.5.7 | Shaft coupling | 1 Set for each type
|  | 1.5.8 | Shaft nuts and keys | 2 Sets for each type
|  | 1.5.9 | Pins (for non-reversible ratchet) | 2 Sets for each type
|  | 1.5.10 | Lantern rings | 1 Set for each type
|  | 1.5.11 | Bell mouth liner | 1 Set for each type
|  | 1.5.12 | Bearings Various types as applicable | Complete 1(One) Set (one set meanstotal requirements for one Pump) for each type
|  | 1.5.13 | Coupling set (between pump and motor) with accessories | 1 Set for each type
TOTAL

## Deviation sheet
ANNEXURE-II DEVIATION SHEET (COST OF WITHDRAWL)
PROJECT:- 1X800 MW KOTHAGUDEM TPS
PACKAGE:- MISC PUMPS (VERTICAL)
ENQUIRY NO: PE/PG/KG1 /E-5105/2015 dated 04.11.2015
NAME OF VENDOR:-
SL NO | VOULME/ SECTION | PAGE NO. | CLAUSE NO. | TECHNICAL SPECIFICATION/ TENDER DOCUMENT | COMPLETE DESCRIPTION OF DEVIATION | COST OF WITHDRAWL OF DEVIATION | REFERENCE OF PRICE SCHEDULE ON WHICH COST OF WITHDRAWL OF DEVIATION IS APPLICABLE | NATURE OF COST OF WITHDRAWL OF DEVIATION (POSITIVE/ NEGATIVE) | REASON FOR QUOTING DEVIATION
TECHNICAL DEVIATIONS
COMMERCIAL DEVIATIONS
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATIONS |  | SIGN & DATE
NOTES:
1. For self manufactured items of bidder, cost of withdrawl of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only.
2. For directly dispatchable items, cost of withdrawl of deviation will be applicable on the basic price including taxes, duties & freight.
3. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format.
4. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of.
5. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable.
6. Bidder shall furnish price copy of above format along with price bid.
7. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser.
8. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered.
9. For deviations w.r.t. Payment terms, Liquidated damages, Firm prices and submission of E1/ E2 forms before claiming 10% payment, if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VIII of GCC, Rev-06 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL.
10. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted.
11. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format.
12. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL.
13. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive.
14. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.

## sagardighi (V) (hidden)
| TITLE: |  |  |  |  | SPECIFICATION NO. |  | PE-TS-373 -165-N001
| SCHEDULE OF UNIT PRICES |  |  |  |  | VOLUME |  | III
[6 empty] | SECTION |  | A 5 | DATE | 27.09.2011
| WBPDCL,SAGARDIGHI TPP UNIT 3 & 4, 2X500 MW |  |  |  |  | REV. NO. |  | 0 | SHEET 2 of 2
SL. No. | DESCRIPTIONS OF WORKS OR EQUIPMENT |  |  |  |  | PRICE (In Rs.)
1.0 | Unit price for Design, manufacture, inspection and testing, packed for
transportation and delivery for following Pumps as specified in the
Technical specification covering complete scope including installation
checks and replacement of gland packing with mechanical seal
arrangement (if applicable) at site, accessories etc.
1.1 | Pumps and Motor Unit price (Vertical Pumps):
| (i) | ACW PUMPS
|  |  | Pump price: |  |  |  | Rs.
|  |  | Motor price: |  |  |  | Rs. | HT MOTOR IN BHEL's SCOPE
|  |  | Mandatory Spares price: |  |  |  | Rs.
2.0 | Recommended spares list with item-wise break-up to be given | [5 empty] | Rs.
separately as per respective price schedule in Volume-III.
3.0 | Others, if any (please specify) | [5 empty] | Rs.
4.0 | NOTES:
| a) | Total price of Unit Prices given above should tally with Total price given in Sl. No. (1) of “Schedule of Prices” . In case of discrepancy, the lowest of two shall be considered for order. Bidder to note that prices mentioned in the “Schedule of prices” and "Schedule of Unit Prices" shall be binding for evaluation purposes.
| b) | Unit price quoted by bidder, as above, shall be binding for any quantity variation, which is at the discretion of purchaser.
| c) | Price of commissioning & erection spares and other accessories not listed above shall be included in the price of pump & shall be supplied with the pump.
| d) | Indicate all taxes, duties etc. stating whether included/ excluded in above prices.
Bidder shall furnish this price Schedule in his price offer only
PARTICULARS OF BIDDER/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATION | SIGNATURE | DATE |  |  | COMPANY SEAL