Corrigendum

Enquiry No: M2116000001194/SSJ (NIT No: 10360)

Description : 1000KVA COMPACT SUBSTATION – Qty: 1 No.

Extended due date for submission of offers  03.01.2012

Technical specification is revised as follows. All other conditions remain un-changed.

| Clause No | As per original technical specification | Modified as |
| --- | --- | --- |
| 2.0 | Transformer: 1000KVA, 11 KV/415V, DYn11, Air Natural Cooling cast resign, Dry Type Transformer with off circuit tap links – 5% @ 2.5% on HT side of transformer with WTI Sanner (Make: PECON Exlectronics model TR 7570) with Alarm and trip contract Qty: 1 NO. | -Do- No change. |
| 2.1 | Make of the transformer, BHEL/ABB/Volt Amp/Ames Implex/Siemens/Areva make only. | Make of the transformer: BHEL/ABB/VOLTAMP/SIEMENS/AREVA/OEM make only |