## BOM_1 (2)
Sr.No. | ITEM NO. | ITEM NAME | UOM | TOTAL QTY. | RATING(A) | UNIT PRICE | TOTAL PRICE
1 | ELSTG190101 | UNIT-7 TURBINE SERVICE PMCC #7DA | EA | 1 | 4000A
2 | ELSTG190102 | UNIT-8 TURBINE SERVICE PMCC #8DA | EA | 1 | 4000A
3 | ELSTG190103 | UNIT-7 BOILER SERVICE PMCC #7DB | EA | 1 | 4000A
4 | ELSTG190104 | UNIT-8 BOILER SERVICE PMCC #8DB | EA | 1 | 4000A
5 | ELSTG190105 | UNIT-7 EMERGENCY MCC #7DG | EA | 1 | 3000 A
6 | ELSTG190106 | UNIT-8 EMERGENCY MCC #8DG | EA | 1 | 3000 A
7 | ELSTG190107 | UNIT-7 BLR. VALVE & DAMPER ACDB #7HB | EA | 1 | 250 A
8 | ELSTG190108 | UNIT-8 BLR. VALVE & DAMPER ACDB #8HB | EA | 1 | 250A
9 | ELSTG190109 | UNIT-7 BOILER ACDB #7HC | EA | 1 | 400A
10 | ELSTG190110 | UNIT-8 BOILER ACDB #8HC | EA | 1 | 400A
11 | ELSTG190111 | UNIT-7 ESP AREA MCC #7HD | EA | 1 | 250 A
12 | ELSTG190112 | UNIT-8 ESP AREA MCC #8HD | EA | 1 | 250 A
13 | ELSTG190113 | UNIT-7 TURBINE VALVE DB #7KB | EA | 1 | 250 A
14 | ELSTG190114 | UNIT-8 TURBINE VALVE DB #8KB | EA | 1 | 250 A
15 | ELSTG190115 | UNIT-7 UNIT SERVICE ACDB #7QA | EA | 1 | 630 A
16 | ELSTG190116 | UNIT-8 UNIT SERVICE ACDB #8QA | EA | 1 | 630 A
17 | ELSTG190117 | UNIT-7 AIR WASHER MCC #7SA | EA | 1 | 630 A
18 | ELSTG190118 | UNIT-8 AIR WASHER MCC #8SA | EA | 1 | 630 A
19 | ELSTG190119 | UNIT-7 VENT MCC #7TA | EA | 1 | 630 A
20 | ELSTG190120 | UNIT-8 VENT MCC #8TA | EA | 1 | 630 A
21 | ELSTG190121 | UNIT-7 ESP AC & VENT. MCC #7TB | EA | 1 | 400A
22 | ELSTG190122 | UNIT-8 ESP AC & VENT. MCC #8TB | EA | 1 | 400A
23 | ELSTG190123 | 220V UNIT-7 MAIN DCDB #7FA | EA | 1 | 1250 A
24 | ELSTG190124 | 220V UNIT-8 MAIN DCDB #8FA | EA | 1 | 1250 A
25 | ELSTG190125 | STATION SERVICE PMCC # 0DA | EA | 1 | 4000 A
26 | ELSTG190126 | STATION MAIN ACDB # 0FA | EA | 1 | 250A
27 | ELSTG190127 | FIRE WATER PMCC # 0DB | EA | 1 | 4000A
28 | ELSTG190128 | STATION SERVICE MCC #0QA | EA | 1 | 1000A
29 | ELSTG190129 | CW P/HPMCC # 0DC | EA | 1 | 3000A
30 | ELSTG190130 | FUEL OIL UNLOADING SWBD # 0DD | EA | 1 | 1000A
31 | ELSTG190131 | ADMIN BUILDING SWBD # 0DE | EA | 1 | 1600A
32 | ELSTG190132 | INTAKE WATER SWBD #0DF | EA | 1 | 630A
33 | ELSTG190133 | INTAKE WATER DCDB# 0FB | EA | 1 | 150A
34 | ELSTG190134 | DM PLANT/CPU MCC # 0SA | EA | 1 | 1000A
35 | ELSTG190135 | ETP/PT PLANT MCC #0SB | EA | 1 | 630A
36 | ELSTG190136 | WORKSHOP/RAW WATER MCC #0SC | EA | 1 | 630A
37 | ELSTG190137 | ELECTROCHLORINATION MCC # 0SD | EA | 1 | 400A
38 | ELSTG190208 | AUX BOILER #0SE | EA | 1 | 400A
39 | ELSTG190139 | HYDROGEN PLANT MCC # 0SG | EA | 1 | 630A
40 | ELSTG190140 | STP MCC #0SF | EA | 1 | 250A
41 | ELSTG190141 | FUEL OIL (LDO) MCC #0SH | EA | 1 | 400A
42 | ELSTG190142 | CCR AC MCC #0TA | EA | 1 | 1600A
43 | ELSTG190143 | SERVICE BUILDING SWBD #0TB | EA | 1 | 1000A
44 | ELSTG190144 | 415V AC DBs (WALL MOUNTED) | EA | 30 | 63A
45 | ELSTG190145 | 220V DC DBs (WALL MOUNTED) | EA | 6 | 63A
46 | ELSTG190146 | BUSDUCT-4000A-(7DA I/C-1) | SET | 1 | 4000A
47 | ELSTG190147 | BUSDUCT-4000A-(7DA I/C-2) | SET | 1 | 4000A
48 | ELSTG190148 | BUSDUCT-4000A-(7DB I/C-1) | SET | 1 | 4000A
49 | ELSTG190149 | BUSDUCT-4000A-(7DB I/C-2) | SET | 1 | 4000A
50 | ELSTG190150 | BUSDUCT-4000A-(8DA I/C-1) | SET | 1 | 4000A
51 | ELSTG190151 | BUSDUCT-4000A-(8DA I/C-2) | SET | 1 | 4000A
52 | ELSTG190152 | BUSDUCT-4000A-(8DB I/C-1) | SET | 1 | 4000A
53 | ELSTG190153 | BUSDUCT-4000A-(8DB I/C-2) | SET | 1 | 4000A
54 | ELSTG190154 | BUSDUCT-4000A-(0DA I/C-1) | SET | 1 | 4000A
55 | ELSTG190155 | BUSDUCT-4000A-(0DA I/C-2) | SET | 1 | 4000A
56 | ELSTG190156 | BUSDUCT-4000A-(0DB I/C-1) | SET | 1 | 4000A
57 | ELSTG190157 | BUSDUCT-4000A-(0DB I/C-2) | SET | 1 | 4000A
58 | ELSTG190158 | BUSDUCT-1600A-(0DC I/C-1) | SET | 1 | 1600A
59 | ELSTG190159 | BUSDUCT-1600A-(0DC I/C-2) | SET | 1 | 1600A
60 | ELSTG190160 | BUSDUCT-1000A-(0DD I/C-1) | SET | 1 | 1000A
61 | ELSTG190161 | BUSDUCT-1000A-(0DD I/C-2) | SET | 1 | 1000A
62 | ELSTG190162 | BUSDUCT-3000A-(0DE I/C-1) | SET | 1 | 3000A
63 | ELSTG190163 | BUSDUCT-3000A-(0DE I/C-2) | SET | 1 | 3000A
64 | ELSTG190164 | BUSDUCT-630A-(0DF I/C-1) | SET | 1 | 630A
65 | ELSTG190165 | BUSDUCT-630A-(0DF I/C-2) | SET | 1 | 630A
66 | ELSTG190166 | BUSDUCT-3000A-(7DC I/C-1) | SET | 1 | 3000A
67 | ELSTG190167 | BUSDUCT-3000A-(7DC I/C-2) | SET | 1 | 3000A
68 | ELSTG190168 | BUSDUCT-3000A-(7DD I/C-1) | SET | 1 | 3000A
69 | ELSTG190169 | BUSDUCT-3000A-(7DD I/C-2) | SET | 1 | 3000A
70 | ELSTG190170 | BUSDUCT-3000A-(7DE I/C-1) | SET | 1 | 3000A
71 | ELSTG190171 | BUSDUCT-3000A-(7DE I/C-2) | SET | 1 | 3000A
72 | ELSTG190172 | BUSDUCT-3000A-(7DF I/C-1) | SET | 1 | 3000A
73 | ELSTG190173 | BUSDUCT-3000A-(7DF I/C-2) | SET | 1 | 3000A
74 | ELSTG190174 | BUSDUCT-3000A-(8DC I/C-1) | SET | 1 | 3000A
75 | ELSTG190175 | BUSDUCT-3000A-(8DC I/C-2) | SET | 1 | 3000A
76 | ELSTG190176 | BUSDUCT-3000A-(8DD I/C-1) | SET | 1 | 3000A
77 | ELSTG190177 | BUSDUCT-3000A-(8DD I/C-2) | SET | 1 | 3000A
78 | ELSTG190178 | BUSDUCT-3000A-(8DE I/C-1) | SET | 1 | 3000A
79 | ELSTG190179 | BUSDUCT-3000A-(8DE I/C-2) | SET | 1 | 3000A
80 | ELSTG190180 | BUSDUCT-3000A-(8DF I/C-1) | SET | 1 | 3000A
81 | ELSTG190181 | BUSDUCT-3000A-(8DF I/C-2) | SET | 1 | 3000A
82 | ELSTG190189 | LOCAL MOTOR STARTER suitable for .25kW | EA | 7
83 | ELSTG190190 | LOCAL MOTOR STARTER suitable for .37kW | EA | 7
84 | ELSTG190191 | LOCAL MOTOR STARTER suitable for .55kW | EA | 12
85 | ELSTG190192 | LOCAL MOTOR STARTER suitable for .75kW | EA | 24
86 | ELSTG190193 | LOCAL MOTOR STARTER suitable for 1.1kW | EA | 24
87 | ELSTG190194 | LOCAL MOTOR STARTER suitable for 1.5kW | EA | 22
88 | ELSTG190195 | LOCAL MOTOR STARTER suitable for 2.2kW | EA | 18
89 | ELSTG190196 | LOCAL MOTOR STARTER suitable for 3.7kW | EA | 7
90 | ELSTG190197 | LOCAL MOTOR STARTER suitable for 37kW | EA | 1
91 | ELSTG190198 | LOCAL MOTOR STARTER suitable for 55kW | EA | 1
92 | ELSTG190199 | LOCAL MOTOR STARTER suitable for 75kW | EA | 1
93 | ELSTG190200 | TYPE-A(EMERGENCY STOP & START LPBS) | EA | 150
94 | ELSTG190201 | TYPE-B (FORWARD,REVERSE & STOP LPBS) | EA | 5
95 | ELSTG190202 | TYPE-C (EMERGENCY STOP LPBS) | EA | 650
96 | ELSTG190203 | TYPE-D (FLAME PROOF EMERGENCY STOP LPBS) | EA | 20
97 | ELSTG190204 | TYPE-E(FLAME PROF EMGCY STOP&START LPBS) | EA | 10
98 | ELSTG190205 | ELECTRICAL JUNCTION BOX 96 WAYS | EA | 40
99 | ELSTG190206 | ELECTRICAL JUNCTION BOX 72 WAYS | EA | 20
100 | ELSTG190207 | ELECTRICAL JUNCTION BOX 48 WAYS | EA | 16
101 | ELSTG190182 | TOOLS & TACKELS | SET | 1
102 | ELSTG190184 | E&C SPARES | LOT | 1
103 | ELSTG190186 | SITE MODIFICATION CALL (10 VISIT) | LOT | 1
104 | ELSTG190187 | SITE MODIFICATION CHARGES (30 MANDAY) | LOT | 1
105 | ELSTG190210 | SBMCC-PANEL, SURATGARH | EA | 2
106 | ELSTG190183 | MANDATORY SPARE | LOT | 1
TOTAL
OPTIONAL ITEMS
1 |  | RECOMMENDED O & M SPARES FOR 3 YRS. (BIDDER TO FURNISH) WILL NOT BE CONSIDER FOR EVALUATION | NOS. | 1
NOTES:
1. SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5% OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE OBSERVED OFFER MAY BE REJECTED.
2. ALL LT PCC/ MCC/ DBs SHALL BE SUPPLIED ALONGWITH THE INTEGRAL BASE FRAMES, FOUNDATION BOLTS, CABLE GLANDS & LUGS AND TOOLS & TACKLES AS MENTIONED IN DIFFERENT SECTIONS. ALSO SEPARATE BASE FRAMES OF ISMC-75 FOR SWITCHGEAR ERECTION (IN ADDITION TO INTEGRAL BASE FRAMES) SHALL BE SUPPLIED LOOSE BY THE BIDDER. ALL FIXING NUTS & BOLTS TOGETHER WITH FOUNDATION BOLTS SHALL ALSO BE SUPPLIED. PRICES FOR THE BASE FRAME SHALL BE BUILT IN THE SWITCHBOARD PRICE.
3. ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.
4. FOR DETAILED BOARD WISE BOM, REFER ANNEXURE-B.
5. FOR DETAILED MODULE WISE BOM, REFER ANNEXURE-A.
6. LIST OF RECOMMENDED O&M SPARES FOR 3 YEARS (OPTIONAL) WITH ITEM WISE PRICE & QUANTITY OF EACH ITEM AS RECOMMENDED BY MANUFACTURER SHALL BE FURNISHED IN SCHEDULE OF PRICES.
7.ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES , WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY. SUM OF INDIVIDUAL MODULE SHALL EQUAL TO BOARD PRICE.
8. Price of components for Panels, Busduct, E&C spres, Tools and Tackles are to be quoted in Unit Price Schedule given in specification.
a. COMPLETE DIMENSIONS OF ALL THE BOARDS INCLUDING NO OF ACB, MCC. GA DRAWING SHALL BE DULY SUBMITTED FOR ALL BOARDS.
b. DIMENSIONS OF EACH TYPE OF PANEL.
c. MODULE SIZE OF EACH TYPE OF FEEDER.
d. MINIMUM CLEARANCES REQUIRED ON ALL SIDES FOR EACH TYPE OF PANEL.
e. NO. of VERTICAL (including PCC, MCC etc.) of EACH PANLES TO BE GIVEN, ELSE YOUR OFFER WILL BE REJECTED..
9. DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY DUTY LUGS OF BHEL APPROVED MAKE FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END AND FOUNDATION BOLT ARE IN THE SCOPE OF BIDDER. BIDDER TO QUOTE ALL EQUIPMENT WITH CABLE GLANDS, LUGS AND FOUNDATION BOLTS.
10. COMMISSIONING CHARGES OF NUMERICAL RELAYS, TVM & ENERGY METERS SHALL BE INCLUDED IN THE PRICE QUOTED FOR SWGR & NO EXTRA CHARGESWILL BE GIVEN FOR THE SAME.