| Sl no. | Description | Qty | Unit Price (Rs) | Total Price (Rs) |
| --- | --- | --- | --- | --- |
| 7. | 415V Switchgear |  |  |  |
| 7.1. | Closing & tripping coils | 4 sets of each type |  |  |
| 7.2. | Fixed and moving contact assemblies of each breaker (4NC + 4NO) | 2 sets of each type |  |  |
| 7.3. | Spring charging motors | 4 sets of each type |  |  |
| 7.4. | Set of gasket | 5 sets of each type |  |  |
| 7.5. | Bus bar support insulators | 10 nos. |  |  |
| 7.6. | Aux. switch assembly ,limit position switches, Local/Remote selector switch, breaker control switches & other switches | 5 nos. of each type |  |  |
| 7.7. | Auxiliary Relays | 5 nos. of each type |  |  |
| 7.8. | Fuses of each rating (control) | 5 nos. of each type |  |  |
| 7.9. | Sliding Control connectors (Male & Female) | 100 nos. |  |  |
| 7.10. | Control Transformers | 1 no. of each rating |  |  |
| 7.11. | Sliding Power contacts | 6 nos. of each rating |  |  |
| 7.12. | Transducers | 1 no. of each type |  |  |
| 7.13. | Indicating Lamp | 1 no. of each type |  |  |
| 7.14. | Power contactor | 4 nos. of each type and rating |  |  |
| 7.15. | Push button | 4 nos. of each type |  |  |
| 7.16. | MCCB | 4 nos. of each rating |  |  |
| 7.17. | Interposing relay | 10% of the quantity or min. 1 no. whichever is higher (applicable for each switchgear) |  |  |
| 7.18. | Protection relay | 1 no. of each make and type |  |  |
| 7.19. | Breaker (complete) with trolley | 1 no. of each make, type and rating |  |  |
| 7.20. | Module | 1 no. of each type and rating |  |  |
| 7.21. | PTs | 3 nos. of each rating |  |  |
| 7.22. | CTs | 3 nos. of each rating |  |  |
| 7.23. | Auxiliary contactor | 2 nos. of each rating |  |  |
| 7.24. | Male/Female contacts | 3 nos. of each type and rating |  |  |
| 7.25. | Plug & socket assembly for control circuit | 10 nos. of each type and rating |  |  |
| 7.26. | Breaker handling trolley | 2 nos. To handle each type and rating |  |  |
| 7.27. | Power fuses | 10 nos. of each type and rating |  |  |