| Sl.no. | Description | Qty | Unit Price (Rs) | Total Price (Rs) |
| --- | --- | --- | --- | --- |
| 22. | Non-Segregated Phase Busduct |  |  |  |
| 22.1. | Bus support insulators | 3% of each type |  |  |
| 22.2. | Seal off bushing | 1 no. |  |  |
| 22.3. | Fuse for PT | 6 nos. |  |  |
| 22.4. | Flexible connector for equipment connection | 1 set |  |  |
| 22.5. | Gaskets | 1 set |  |  |
| 22.6. | Rubber bellow | 2 sets |  |  |
| 22.7. | Belville washer | 10% |  |  |
| 22.8. | Surge Capacitor | 1 no. |  |  |
| 22.9. | Surge arrester | 1 no. |  |  |
| 22.10. | Silicagel breather | 2nos. |  |  |

2X660MW SURATGARH SC TPS,

STAGE-V , UNIT # 7 & 8

LIST OF SPARES FOR BUSDUCT