PRE QUALIFICATION REQUIREMENT 

For Duct Heater Assembly

QUALIFICATION CRITERIA:
The Bidder must satisfy the following Qualification Criteria for participating in the   

Tender.
· For 149 KW Electrical Duct heater Assembly:

(1) The vendor should have designed, manufactured and supplied an Electrical Duct heater of at least 100Kw rating. Proof of the same, at least one Customer/Consultant approved drawing of the same to be furnished along with the offer.

(2) Reference list of the customers where the above sizes indicated in Sl.no.1 with complete postal address.

· For 305 KW Electrical Duct heater Assembly:

(3) The vendor should have designed, manufactured and supplied an Electrical Duct heater of at least 160Kw rating. Proof of the same, at least one Customer/Consultant approved drawing of the same to be furnished along with the offer.

(4) Reference list of the customers where the above sizes indicated in Sl.no.3 with complete postal address.

· For 525 KW Electrical Duct heater Assembly:

(5) The vendor should have designed, manufactured and supplied an Electrical Duct heater of at least 250Kw rating. Proof of the same, at least one Customer/Consultant approved drawing of the same to be furnished along with the offer.

(6) Reference list of the customers where the above sizes indicated in Sl.no.5 with complete postal address.

