|  | Manufacturer’s name & Address: |  | Product Quality Assurance Plan |  |  |  | Project : Package : P.O. No. : Customer : B.H.E.L. Bhopal |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Product: - Conductivity Type Level controller for Turbine Top Cover Drain Pump & Ejector *-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-* P.I. No. 241595783 Dtd. 10-01-2020 *-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-* |  |  | QAP No.: Rev. No.: Page No. : 01 of 01 |  |  |  |  |  |
| Sr. No. | Component & Operation | Characteristics | Type of Check | Quantum of Check | Reference document | Acceptance Norms | Format of Record | Agency |  |  | Remark |
|  |  |  |  |  |  |  |  | M | C | N |  |
| 1.0.0 | Mechanical Components |  |  |  |  |  |  |  |  |  |  |
| 1.3.0 | Painting | Paint shade and paint finish | Visual | 100% | Process Sheet | Conformance to Process Sheet | Vendor test report | p | - | - |  |
| 2.0.0 | Electronic Components | Specification Details, Make, Type No. Packing | Visual | 100% | Component data sheet/P.O./Inspection Instructions | Conformance to data sheet/ P.O./ Inspection Instructions | Internal test report | p | - | - |  |
| 2.1.0 |  | Functional test | Electrical | 100% | Component data Sheet | Conformance to norms in data sheet | Internal test report | p | - | - |  |
| 3.0.0 | Finished Instrument | Workmanship, Name plate entries, Accessories & Aesthetics | Visual | 100% | Customer Data sheet/ Drawings | Conformance to data Sheet/ Drawings | Internal test report | P | W | W |  |
| 3.1.0 |  | Functional test | Electrical | 100% | Conformance data sheet/ Test & QC procedure | Conformance to data Sheet/ Test & QC Procedure | Internal test report/Test Certificate |  |  |  |  |
|  |  |  | LEGENDS : M : Manufacturer N : Customer C : Contractor /TPIA P : Perform W : Witness V : Verification |  | Reviewed By : | Customer approval |  |  |  |  |  |
| Manufacture |  | Contractor |  |  |  |  |  |  |  |  |  |
| SIGNATURE |  |  |  |  |  | Name & Signature of Approving Authority |  |  |  |  |  |

Notes:-

- Reference Documents will be available at the time of Inspection for Verification

- SP – Sampling Plan as per IS : 2500

- TPIA – Third Party Inspection Agency

- Each item should be dispatched after properly packing mentioned in the clause No. 7 of specification No. 241586068.

|  | Manufacturer’s name & Address: |  | Product Quality Assurance Plan |  |  |  | Project : Package : P.O. No. : Customer : B.H.E.L. Bhopal |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Product: Level Sensing Rod Probes (3 In 1) *-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-* P.I. No. 241595783 Dtd. 10-01-2020 *-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-*-* |  |  | QAP No. : Rev. No. : Page No. : 01 OF 01 |  |  |  |  |  |  |
| Sr. No. | Component & Operation | Characteristics | Type of Check | Quantum of Check | Reference document | Acceptance Norms | Format of Record | Agency |  |  |  | Remark |
|  |  |  |  |  |  |  |  | M | C | N |  |  |
| 1 | Mechanical Components |  |  |  |  |  |  |  |  |  |  |  |
| 1.1.0 | Casting | Dimensional | Measurement | A sample from each lot | Manufacturer’s Drawing | Conformance to Drawings | Internal test report | p | - | - |  |  |
| 1.1.1 |  | Visual Checks | Visual | 100% | Impaction Instructions | Conformance to instruction | Internal test report | p | - | - |  |  |
| 1.2.0 | Machining | Dimensional | Measurement | Sampling plan | Manufacturer’s Drawing | Conformance to Drawings | Internal test report | p | - | - |  |  |
| 1.2.1 |  | Visual Checks | Visual | 100% | Impaction Instructions | Conformance to instruction | Internal test report | P | - | - |  |  |
| 1.3.0 | Painting | Paint shade and paint finish | Visual | 100% | Process Sheet | Conformance to Process Sheet | Vendor test report | P | - | - |  |  |
| 2 | S S 316 Parts (if applicable) | Chemical Composition | Lab Test | Each lot | Product specifications | Conformance to Specifications | Material test certificate | P | - | - |  |  |
| 3 | Pressure Testing | Leakage Check | Hydraulic | A sample from 01 lot of Max. 10% of total qty. | As per manufacture standard | As per manufacturer standard | Internal test report | P | - | - |  |  |
| 4 | Finished Assemblies |  |  |  |  |  |  |  |  |  |  |  |
| 4.1.0 |  | Workmanship, Name plate entries, Accessories etc. | Visual | 100% | Approved data sheet/approved drawings | As per approved data sheet & drawings | Internal test report | P | W | W |  |  |
| 4.1.1 4.1.2 |  | Overall Dimension | Measurement | 100% |  |  |  |  |  |  |  |  |
|  |  | Insulation Test | Megger test | 100% | Manufacturer standard procedure | > = 10 M OHMS | Internal test report |  |  |  |  |  |
| 4.1.3 | Degree of Protection | IP-65 | Type test | Prototype | IS 2147:1962 | IS 2147 : 1962 | Test Report | P | V | V |  |  |
|  |  |  | LEGENDS : M : Manufacture N : Customer C : Contractor /TPIA P : Perform W : Witness V : Verification |  | Reviewed By : | Customer Approval |  |  |  |  |  |  |
| Manufacturer |  | Contractor |  |  |  |  |  |  |  |  |  |  |
| SIGNATURE |  |  |  |  |  | Name & Signature of Approving Authority |  |  |  |  |  |  |

Notes:-

- Reference Documents will be available at the time of inspection for Verification

- SP – Sampling Plan as per IS : 2500

- TPIA – Third Party Inspection Agency

- Each item should be dispatched after properly packing mentioned in the clause no. 7 of specification no. 241586068.