PQR- Straight wire wound tube for Air cooler									Enquiry No. E1903016

Pre-Qualification Criteria

For the Supply of Non Ferrous straight wire wound Tubes for Air cooler

The bidder shall produce documentary evidence for meeting the following Pre-Qualification Criteria				Sheet : 01 of 03

Along with their offer.

| S. No. | Criteria | Documents required to be submitted/confirmation in support of claim | Documents submitted |
| --- | --- | --- | --- |
| 1. | Vendor should have In-house & established facility to manufacture & test (as per relevant standard and QAP) finished Non Ferrous Wire wound Finned Tubes up-to 2 mtr length with weekly capacity of 800 nos. | - Bidder to submit supporting document (detail/undertaking of manufacturing facility) for straight wire wound tube. - Confirmation required having the manufacturing facilities for a length of 2 Mtr (min). with weekly capacity of 800 nos. of tubes (min.) - Confirmation for Online continuous Heating apparatus for proper adhesion of Solder wire with base tube. (local heating not acceptable) - Documentary evidence of having calibrated measuring instruments and hydro testing facilities (at a pressure of 20 kg/sq.cm min. for 20 sec for each tube). | a. Yes/No b. Yes/No c. Yes/No d. Yes/No |
| 2. | - Bidder has to submit one performance certificate from end user for successful satisfactory operation of similar nonferrous wire wound tube with same MOC and length of 1.5 mtr. (min.) for minimum 01 year as on date of bid submission for at least one purchaser. Alternatively, To establish meeting this requirement, bidder has to submit minimum one repeat contract from same purchaser with the gap of one year (min.) between supply completion of 1st PO and Placement of 2nd PO for similar non-ferrous wire wound tube with same MOC and length of 1.5 mtr. (min.) for 1st PO and no length restriction for 2nd PO. - To establish business continuity, Bidder is required to submit at least two (02) PO of similar tube for any length in last three (03) years. | - Performance certificate from end user stating that supplied tubes are in operation and performing satisfactory for at least one year. OR copy of P meeting requirements of 2(a) with supporting documents as listed below. - List of un-priced PO (showing date of PO, date of supply, material of construction, name of customer, name of inspection agency, size etc. as available). - Co-related material test certificate & final inspection report (duly endorsed by the inspection agency) is also required to be submitted. - To establish supply of item, bidder has to provide material dispatch clearance certificate (MDCC) or Material receipt certificate (MRC) of Lorry receipt (LR). | - Yes/No - Yes/No - Yes/No - Yes/No |

PQR- Straight wire wound tube for Air cooler						                                                             	PI-241101012

Pre-Qualification Criteria

For the Supply of Non Ferrous straight wire wound Tubes for Air cooler

The bidder shall produce documentary evidence for meeting the following Pre-Qualification Criteria				Sheet : 02 of 03

Along with their offer.

| S. No. | Criteria (For Indian Vendor Only) | Documents required to be submitted in support of claim | Documents submitted |
| --- | --- | --- | --- |
| 3. | HTC (Heat Transfer Curve) and Pressure Drop curve of similar Cu-Ni Non Ferrous Wire wound Finned Tubes (same tube OD, fin geometry, tube pitch, type) carried out at reputed institute (e.g. IIT / NIT / Government Approved Lab) on prototype cooler (with in-house manufactured tubes) to be submitted along with bid. | - Submission of co-related Outside HTC and Pressure Drop curve (duly signed and stamped by the testing agency) showing size of tube with MOC, other dimensional details of tubes (e.g. Base Tube Size – OD x TK, Fin OD, Fin TK, Fins per Meter, tube pitch). - Pitch details of proto type test cooler (Tube Pitch = 57.15 mm, Row Pitch = 49.5 mm). - Name of institute of / Lab where this test had been carried out. - These curves will be reviewed by BHEL and shall be subject to acceptance by BHEL. | - Yes/No - Yes / No - __________ - Yes / No |

FINANCIAL & COMMERCIAL CRITERIA

Sheet : 03 of 03

| Sl.No | Criteria | Documents Required in Support | Documents Submitted |
| --- | --- | --- | --- |
| 1.0 | Average annual financial turnover of bidder, during the last three financial years Should be Rs. 38 lakhs or more. | Audited Balance sheet, Profit & loss account statements for LAST three financial years. | Yes/No |
| 2.0 | Statutory Mandatory Documents. Non submission of these will lead to rejection | - Copy of PAN Card - Copy of GSTIN document issued by appropriate Govt. Authority | - Yes/No - Yes/No |
| 3.0 | If you are a MSME vendor (Please note that benefits for MSME as elaborated in BHEL general terms & Conditions of Enquiry are available only for manufactures, and NOT for traders/agents/dealers) | Copy of Udyog Aadhaar Memorandum Certificate | Yes/No |

Important Instructions for the Bidders:

- After satisfactory fulfillment of all the above criteria / requirement, offer shall be considered for further evaluation as per NIT and all other terms of the tender.

- BHEL reserves the right to verify the information submitted by the vendor. In case the information is found to be false or incorrect, the offer shall be rejected.

- All documentary evidences shall require to be duly signed and stamped by authorized signatory.