## Exclusion
HRRL-Barmer Captive Power Plant
Exclusions to Bidder
A) Mechanical
1 | ESP
2 | FGD
3 | RCC Chimney
4 | Fire Fighting protection and detection system of Boiler
5 | Interconnecting gallery between coal bunkers floors for conveyor installation
6 | Fuel oil unloading system
7 | Fuel oil storage tank
8 | Fuel oil forwarding pumps [motor]
B) Electrical
1. | HT Switchgear, HT cables
2. | All types of Transformers including Power transformers, lighting transformers
3. | LT PMCCs
4. | Emergency DG set
5. | DC system, DCDB
6. | UPS system, UPSDB
7 | Complete Plant Communication & CCTV systems (Free issue by BHEL, Bidder to consider E&C of same in its scope
Control & Instrumentation
1. | Layout engineering of CPP control room
2. | DCS
3. | Furniture in CPP control room
4. | Water analysers
5. | MCT Blocks