Encl to MPR No –ERN/6330/07-08/27 Dated 15-12-07

Indent No 7 A 047

Annexure 1

- The industrial man-cooler should be provided with tilting and swiveling arrangement for adjusting the air stream in vertical and horizontal planes by min 30 deg and 90 deg  respectively .

- Should be provided with strong wire guard on both sides of the impeller for protection.

- Should be included with fastening arrangement.

- Should be complying to IS 6272 with latest amendments.

- The motor should be of reputed make i.e. GE , Alstom , Siemens ,NGF, Cromton .

- The bracket type man cooler should be suitable for mounting on the wall or the column.

- The complete technical details,  drgs.of the  mounting details and catalogs etc should be enclosed    with the offer.

- The installation /commissioning shall be done by the vendor .