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Prequalification criteria for Pinion
The Bidder is required to meet the provenness criteria for Pinion as per criteria stipulated below.
The Bidder should have experience in the field of design, manufacturing and supply of Pinion(PIN GEARING) for more than 2 years and should have supplied pinion at least one number of minimum dimension  with PCD-27”, Thickness-2.5” & No. Of Teeth-36 and also shall be put in successful operation in Air Preheaters (Power plant applications) or similar in nature of applications for other industrial equipment in at least one (1) plant for a period not less than one (1) year on the date of techno-commercial bid opening.
The following information/documents should be submitted by the vendor to comply with PQR:
	S.No
	Pre-Qualification Criteria
	Remarks / Comments

	1
	Name of Customer/ Client 
	

	2
	Complete Postal Address of the Customer
	

	3
	Contact Person Name, Designation and Contact details of the referred Customer
	

	4
	List/copy of Purchase Orders for supply of Pinion with Size and Qty
	

	5
	Corresponding Test Certificate & Invoice Copy’s of supplied materials to be submitted
	

	6
	Performance Certificate from the customer of supplied materials to be submitted
	


BHEL reserves the right to verify the information (supporting documents for points 1 to 6) and other credentials provided by the vendor. In case the information provided by the vendor is found to be false / incorrect, the offer shall not be considered.
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