## CCTV IP Price Bid
Item No | Item Description (For supply & commissioning at BHEL Hyderabad) | Item Qty | Outright Purchase (including AMC upto 5th year) |  |  |  |  | 5 Year Finance Lease Option
|  |  | Unit Price inclusive of Taxes & duties | Specify % of Tax & Duties | Warranty Period in no of years | AMC charges after Warranty Period including tax | Total Price including Taxes, Duties and AMC | Principle for total qty. | Interest value | Maintenance Charges | Lease / Service tax (%) | Lease / Service tax (Value) | Total 5 year Rental including Tax | Total Quarterly Rental including Tax | AMC after 5 year lease period (specify % of outright price)
|  | a | b | c | d | e | f=(axb)+(5-d)e | g | h | i | j | k | l=g+h+i+k | m= l/20 | n
1 | Fixed IP/ IP based camera with varifocal lens with inbuilt video converter/digitizer/encoder, PoE (Power over Ethernet) enabled with PoE kit . Specifications as per Annexure “ A “ | 29 Nos
2 | Outdoor P/T/Z IP/ IP based with 35X optical zoom with inbuilt video converter/digitizer/encoder with mountings and PoE (Power over Ethernet) enabled. Specifications as per Annexure “ B “ | 6 Nos
3 | 20.1” LCD high resolution monitor for monitoring in control room ( 4 cameras per monitor) Specifications as per Annexure “ C “ | 10 Nos
4 | Digital keyboard for PTZ camera operation | 2 Nos
5 | Server & Storage system:- RAID 5 hard disk unit 2 TB or more having capability to record all cameras for 14 days Specifications as per Annexure “D “ | 2 Nos
6 | Video management system software for monitoring, recording & processing video content. Includes – Database server license, Recording server software, Monitor/Review software and camera licence. Specifications as per Annexure “ I “ | 1 No
7 | A suitable sheet metal control panel to house 9 nos of LCD monitors and other hard ware | 1 No
8 | PC work station Make: HP/IBM/DELL Specifications as per Annexure “ F “ | 2 No
9 | Online UPS with of 5 KVA with 1 hour back up with maintenance free batteries Specifications as per Annexure “ G “ | 1 No
10 | Cost of accessories like repeaters, connectors, video amplifiers, patch leads, patch connectors, conduits, network components, sockets and any harware / software, necessary excavation works etc. | 1 set
11 | Installation & commissioning charges | 1 set
12 | Charges for deputation of engineer during warranty in case of outright /5 years for lease rental | 1 person
I | Delivery Period: FIRM 10 Weeks from Date of LOI |  | Accepted / Not accepted
II | BHEL Terms & Conditions |  | Accepted / Not accepted
III | Comprehensive Insurance Covered: |  | Accepted / Not accepted
IV | Price: FIRM inclusive of all Taxes, Levies & Duties |  | Yes/No (indicate the % Taxes, Levies and Duties)
* | Out right purchase price |  | = | F.O.R Destination Cost + ED + CST
| F.O.R Destination Cost |  | = | Price Ex-works + Packing & Forwarding + Freight & Insurance
Warranty period in case of outright purchase is 2 years from the date of commissioning.
(Signature of Authorised Person with seal)