## Sheet1
Annexure III
Commercial Bid Format
Sl. No. | Item | Unit | Quantity | Unit rate for Outright Purchase | Cost for Outright Purchase
Active Components
1 | Full Layer 3 Distribution Switch | No. | 2 |  | 0
2 | Basic Layer 3 Distribution Switch | No. | 5 |  | 0
3 | 24 port Aggregation Switch | No. | 2 |  | 0
4 | 48 port Access 10/100/1000 Switch | No. | 3 |  | 0
5 | 48 port Access Switch with 2 builtin / loaded Gigabit copper uplinks | No. | 8 |  | 0
6 | 24 port Access Switch with 2 Gigabit fiber uplink slots (do not include fiber module cost) | No. | 8 |  | 0
7 | 24 port Access Switch with 2 builtin / loaded Gigabit copper uplinks | No. | 16 |  | 0
8 | 8 port Access Switch with 1 fiber uplink slot (do not include fiber module cost) | No. | 4 |  | 0
9 | 1G LX Fiber Transceivers in Distribution Switches | No. | 40 |  | 0
10 | Redundant Power Supply for Access Switches | No. | 1 |  | 0
11 | 1G UTP Transceivers in Distribution Switches (if UTP ports are available by default put price as zero) | No. | 30 |  | 0
12 | 1G LX Fiber Transceivers for Aggregation Switch | No. | 2 |  | 0
13 | 1G LX Fiber Transceivers in Access Switches | No. | 11 |  | 0
14 | Network Management System | No. | 1 |  | 0
15 | Router | No. | 1 |  | 0
16 | Firewall & IPS | No. | 1 |  | 0
17 | DSLAM | No. | 2 |  | 0
18 | CPE | No. | 24 |  | 0
19 | UPS 5 KVA | No. | 6 |  | 0
20 | UPS 1 KVA | No. | 25 |  | 0
Passive Components
21 | 42U Rack | No. | 1 |  | 0
22 | 15U Rack | No. | 5 |  | 0
23 | 12U Rack | No. | 23 |  | 0
24 | Wire manager of 1U size | No. | 41 |  | 0
25 | 24 Port Rack Mount LIU Complete with MTRJ Couplers, Connectors, Pigtails etc for SM Fiber | No. | 11 |  | 0
26 | 24/18 Port Rack Mount LIU Complete with MTRJ Couplers, Connectors, Pigtails etc for SM Fiber | No. | 3 |  | 0
27 | 12 Port Rack Mount LIU Complete with MTRJ Couplers, Connectors, Pigtails etc for SM Fiber | No. | 3 |  | 0
28 | 12/6 Port Rack Mount LIU Complete with MTRJ Couplers, Connectors, Pigtails etc for SM Fiber | No. | 3 |  | 0
29 | 1G/10G MTRJ to LC Patch Cord for SM Fiber - 3 meters | No. | 55 |  | 0
30 | Cat 6 Faceplate with I/O and Surface Mount Box | No. | 700 |  | 0
31 | 24 port Cat 6 UTP Jack Panel | No. | 41 |  | 0
32 | Cat 6 UTP Patch Cord - 3 feet | No. | 700 |  | 0
33 | Cat 6 UTP Patch Cord - 7 feet | No. | 300 |  | 0
34 | 6 Core 9/125 Micron Singlemode Fiber armored | Meter | 4000 |  | 0
35 | 12 Core 9/125 Micron Singlemode Fiber armored | Meter | 3500 |  | 0
36 | Category 6 UTP Cable | Meter | 28000 |  | 0
37 | 2” GI Pipe | Meter | 400 |  | 0
38 | 1” GI Pipe | Meter | 250 |  | 0
39 | 2" PVC Pipe | Meter | 500 |  | 0
40 | 1” PVC Pipe | Meter | 500 |  | 0
41 | 2" PVC Conduit, Casing, Caping and Flexible | Meter | 2000 |  | 0
42 | 1" PVC Conduit, Casing, Caping and Flexible | Meter | 6000 |  | 0
43 | 2” HDPE Pipe | Meter | 4000 |  | 0
44 | Cable Route Marker (at every 5 meters) | No. | 150 |  | 0
Works and Labour
45 | Laying of 12 Core OFC Single Mode outdoor Cable | No. | 3500 |  | 0
46 | Laying of 6 Core OFC Single Mode outdoor Cable | No. | 4000 |  | 0
47 | Fixing of LIUs | No. | 20 |  | 0
48 | Splicing/Testing of fiber cables (per fiber basis) | No. | 408 |  | 0
49 | Laying of HDPE pipe | Meter | 4000 |  | 0
50 | Laying of CAT6 UTP Cable | Meter | 20000 |  | 0
51 | Fixing, Termination at IO end and Patch Panel end and Testing of Information Outlets, | No. | 700 |  | 0
52 | Fixing, Termination & Testing of 24 port Patch panels | No. | 40 |  | 0
53 | Mounting & Installation of 15/U12 U Wall Mount Racks | No. | 33 |  | 0
54 | Fixing of 1" PVC Conduit, Casing, Capping and Flexible or 1” Pipe | Meter | 6000 |  | 0
55 | Fixing of 2" PVC Conduit, Casing, Capping and Flexible or 2” Pipe | Meter | 2000 |  | 0
56 | Fixing of route markers | No. | 150 |  | 0
57 | Soft soil digging and refilling | Meter | 2000 |  | 0
58 | Road/hard soil cutting and refilling with cement concrete | Meter | 500 |  | 0
59 | Testing scanning documentation certification per core | No. | 408 |  | 0
60 | Construction of Man Holes | No. | 40 |  | 0
61 | Project management charges | No. | 1 |  | 0
62 | Structured Cabling Certification charges for the site | No. | 1 |  | 0
Total Outright Purchase Cost (A) |  |  |  |  | 0
Lease Amount Per Thousand Per Quarter for a 5 Year Lease (B)
Total Lease Amount for all items per Quarter (C = A * B / 1000) |  |  |  |  | 0
Rate of Lease tax/Other taxes applicable on Quarterly Lease Amount as Percentage of Lease Amount (D)
Taxes on Quarterly Lease Amount (E = C * D / 100) |  |  |  |  | 0
Quarterly Maintenance Charges if any (F)
Rate of Service Tax applicable on Quarterly maintenance Charges as percentage of Quarterly Maintenance Charges (G)
Service Tax towards Quarterly Maintenance Charges (H = F * G / 100) |  |  |  |  | 0
Total amount payable quarterly including Lease Charges, Leas Taxes, Quarterly Maintenance Charges, Service Tax (C + E + F + H) |  |  |  |  | 0
Annual Maintenance Charges for Active Components (items 1 to 19) as Percentage of Outright Purchase Cost applicable after the completion of 5 year lease