TENDER BOX IS KEPT AT 02 ANNEXE, GF (M&S   DEPT)    FOR    DROPPING FILLED TENDERS 

(THE TENDER IS IN TWO PARTS- PART ‘A CONSISTS TECHINCAL PART & PART ‘B’ IS FOR PRICE BID – PRICE BID IS TO BE KEPT IN A SEPARATE SEALED COVER)

B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D

RAMACHANDRAPURAM: : HYDERABAD – 502032

: (M&S DEPARTMENT/ P&C)

TELEPHONE NO. 23182739       FAX NO. 040 – 23020185 email id: gjrao@bhelhyd.co.in

NIT  NO.    M&S/P&C/2007/031                 DATED: 18.12.2007          ITEM NO. 2   

1.         Name of work
:  Checking, Repairing overhauling & calibration   of control valves including DCS and BMS of 30 ton per hour boiler. in BHEL Factory 

2.      Earnest Money Deposit

:    Rs. 1,00,000/-

3. Time of Completion

  :   5  Months   

4.      Estimated amount:                               Rs 16.50 Lakhs 

5.       Maintenance period


:   12 Months

6.       Last date for   Sale of tender document/ download:   10.01.2008
7.       Last date of receipt of tenders

:   11.01.2008   upto 11.00 hrs.

8.      Date and time of opening of tenders
:   11.01.2008   at  13.30   hrs. 

9.      Cost of tender documents

:   Rs. 500/-

Name & Address of the 
Firm submitting tender :


--------------------------------------------------------------- 



---------------------------------------------------------------

---------------------------------------------------------------

   (G.Janardhan Rao)
Sr.Manager/ M&S (P&C)


TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT
EMD: An amount of Rs1,00,000/- ( Rupees One Lakh  only) towards EMD shall be paid in cash at BHEL Cash office or by Demand Draft/ Bankers cheque drawn in the name of M/s Bharat Heavy Electricals Limited” payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment will be accepted, no interest on EMD will be payable.         

PRE QUALIFICATION                      

I.
The following conditions have to be satisfied by the tenderer.  Documentary proof to be enclosed   with tender bid.   In case the agency fails to enclose the following documentary proof with tender, the tender will be liable for rejection.
Minimum 3 years experience in relevant field i.e. Industrial Boiler Instrumentation work particularly in thermal Power stations.  Work experience with DCS supplied by BHEL EDN, Bangalore will be an added advantage.  
A)   
For Civil / Electrical/Mechanical Works:

i) Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial   year, should be at least 30% of the estimated cost.

ii) Experience of having successfully completed   works   as mentioned above during last 7  years ending last day of month previous to the one;      should be either of the following:-

a) Three similar  works ( Pre qualification) -  completed works costing not less than the amount equal to 20% of the estimated cost ( Rs290,000/-).

Or

b) Two similar works ( Pre qualification)  - completed works   costing not less than the amount equal to 30 % of the estimated cost( Rs435,000/-)..

Or

c) One similar works( Pre qualification)  - completed   costing not less than the amount equal to 50% of the estimated cost (Rs725,000/-).

iii) Penalty:  0.50 % of the gross value of work will be levied for every week’s delay by the agency subject to a maximum of 10 % value of the work for the above work.

iv) Statutory codes on the name of the firm submitting the tender

(PF Code & ESI coverage is not made  compulsory if  company trained engineers carrying    calibration jobs on  control valves ) 

            i)           PAN No.
i) Service tax no 

TENDERING PROCESS

A. Tender box is kept in 02 Annexe Ground floor  M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502 032; tenders can be dropped    before the due date & Time

B. The bids shall be submitted in two parts.

1. Technical & Commercial bid.      2.
Price   bid.

a) 
Technical & Commercial Bid:  The envelop shall contain the Technical & Commercial Bid as per the enclosed technical bid proforma PAN No, & Experience, turnover  etc;   Saral ( IT) along with Profit & Loss  account copies duly  certified by chartered accountant for the 3 previous years ( TO MEET TURNOVER POINT).  Tender cost & EMD.  The envelop shall be super scribed “Technical bid    ------  ( name of work)
b)
The second envelope shall contain only the price bid to be quoted   Actual or approximate on any account.    Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  The envelope shall be sealed and super scribed “Price Bid”       -----    ( name of work)
   c)    Both the above two envelopes shall be kept into another sealed cover. Price bid document shall be signed by the tenderer at the bottom of the page. The cover shall be super-scribed with Quotation for -  ( name of work )”   and shall be addressed to Sr.Manager / M&S( P&C), 02 Annexe Ground Floor, Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032 to reach on or before by 11.00hrs on due date     tender cover  should be legibly written  such as      address, Tender No.                                     &   Tender due date:               
C. The requisitions for tender documents should be sent to  Sr.Manager / M&S(P&C), 02 Annexe Ground Floor, BHEL, Ramachandrapuram, Hyderabad – 502 032 along with Demand Draft / Bankers Cheque for Rs.500/- drawn in favor of “Bharat Heavy Electricals Limited, Hyderabad” payable at Hyderabad or payment of cash in BHEL cash office.  

D.  No other mode of payment will be accepted.  If tender documents are downloaded from our website:http://www.bhel.com the cost of the tender documents Rs.500/- by way of demand drafts & Bankers Cheque should be submitted along with the technical bid.  BHEL is not responsible for any postal delay.  The tenders will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 13.30hrs in the presence of those tenderer who choose to be present.

E. EMD:    Demand Draft / Bankers Cheque or cash receipt obtained from BHEL cash office should be enclosed with technical bid.
F. Date of opening of price bids will be intimated after technical suitability.

G. In case the agency has not satisfied all the conditions along with documentary proof, the tender will be rejected. Work experience documents:   Contractor should be able to produce 1/2/3   work experience certificates obtained in the last 7 years from any reputed organization for value indicated in the pre qualification.
H. Tenders received mixed as technical & Price bid documents (combined bid)   with out putting in individual envelops, the tender shall be rejected.

I. Lowest offer will be decided on   the basis of total cost to BHEL.

Tender Documents:
   Tender can be downloaded from BHEL official website. Tender cost is applicable even though download from BHEL WEBSITE.

     Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM
Others:

i) Tender bids without EMD & Tender cost are liable for rejection.

ii) BHEL reserves the right to reject any or all tenders in part or in full without assigning any reason.

iii) Rates should be quoted for all items in price bid (Annexure- I); any gaps if found, tender will get rejected and will not be scrutinized.  hence proper care should be taken before dropping in the tender box 

ESI, PF code (if available), Labour license (if available) should be enclosed – it is advantageous to the firm if they are in possession. 

1. TECHNO-COMMERCIAL BID offer should contain full set of signed tender document, copies of  licence,  statutory codes,   experience, turnover copies if any    &    Cash Receipt or DD or Bankers cheque  for   EMD    &  Tender Cost   

 2. Price Bid in a separate cover.    
ANNEXURE-II

BHARAT HEAVY ELECTRICAS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502 032

M&S DEPARTMENT / PLANNING & CO-ORDINATION

Notice Invited Tender No               :  
M&S/P&C/2007/31
THIS IS AN INDIVISIBLE WORKS CONTRACT AND THE CONTRACTOR SHALL FILL  REMARKS COLUMN AGAINST ALL ITEMS 
This tender schedule must be submitted along with the General Conditions, Special conditions etc. enclosed herewith duly signed and stamped on each page.    Any deviations / deletions etc.  Should be brought out separately in your letter pad and need to be enclosed to tender documents.

To be filled up by the Bidder

Part-A

TECHNICAL CUM COMMERCIAL BID

Name of the Contractor             :

Full Address:

Contact person:

Phone / Fax:

Email ID: 

Mobile no:

Name of work                   :  Checking, Repairing overhauling & calibration   of control valves including DCS and BMS of 30 ton per hour boiler.
              Description



Contractor’sAcceptance/ Remarks.

	1.
	Experience   

(Details in the relevant field should be furnished )

name of the work undertaken:

value of work:

worked in which company/ organization:

year of work completion: 

work experience certificate  obtained from whom:

(enclose a separate sheet if necessary)

--  please refer  prequalification 

3 works  / 2 works  / 1 work

3  Works each Rs290,000/-.
2 Works each Rs435,000/-.
1 work   Rs725,000/-

	

	2
	PF CODE NO ( if available) :
	

	3.
	ESI CODE NO (if available): 
	

	4
	LABOUR LICENCE NO  under section12 (1) of   R&A 1970 & Validity( either valid or under renewal should indicate):   if available 
	

	5
	 Acceptance of Completion Time : MOBILISATION OF RESOURECES-  in  2  months and completion of work - 3 Months
	

	6
	Validity:  Minimum 90 days from technical bid opening date.
	

	7
	EMD  Rs100,000/-    Cash receipt/ bankers cheque/ DD   No & date  Details in clause 31( Annexure-V)
	

	8
	Tender cost Rs 500/-   Cash receipt / bankers cheque/ DD   No & date details 
	

	9
	Security Deposit clause:     acceptance ( Details see under terms and conditions clause 32 of Annexure-V  )
	

	10
	PAN No:
	

	11
	Service Tax Regn  No:  ( if available) 
	

	12
	VAT/ TIN:  (  if available)
	

	13
	Price quoted :

Price quoted should be  inclusive of taxes and  duties. The tenderer should indicate clearly nature of tax and rate of tax included in the price,  to avail credits by BHEL 
	

	14
	Acceptance of prices  should be firm during contract period
	

	15
	Guarantee period:  12  Months
	

	16
	PAYMENT TERMS:
  Total payment for Job work can be claimed in one time.    
            else
Payment of  70% material cost together 100% taxes and duties on supplies  of required spares for repairs of DCS  in BHEL sl no: 1b,2b  &5  of Annexure- I. ( subject to acceptance by BHEL)
Balance 30% of supplies made and 100% of labour charges (item 1 to 6 of price bid) on completion of work in all respects.   

Release of payment may take about 15 days from obtaining all clearances.
	

	  17
	PENALTY:  0.5% of the contract value per week or part there of upto a maximum of 10% of the contract value shall be levied if delayed beyond 5 months
	

	  18
	General conditions    acceptance  – technical questionnaire (see in the Annexure-III)
	

	  19


	Decision of BHEL Representative shall be final in the matter of inspection at any stage
	

	  20
	All items will be carried out as per   Price bid  Annexure-I 
	

	21
	Annual turnover  during last 3 years                     ( Rs435,000/- average per year)

05-06  year-  

04-05

03-04


	Amount Rs.


Imp:::    Clarifications: 

PF CODE:

The contractor is solely responsible for the payment of PF for the persons deployed by him. Any amount on this regard paid/ payable by BHEL shall be recovered from the contractor bill.

Not withstanding the clause, in case of any financial loss incurred by the company on account of contravention of the Provident Fund regulations or any regulations of rule touching the same by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company.
ESI CLAUSE: 

The contractor shall ensure proper insurance coverage for the persons deployed by him. Any amount on this regard paid/ payable by BHEL shall be recovered from the contractor bill.

MEASUREMENT OF WORK AND PAYMENT THEREOF.

ANNEXURE – B shall   be form of   memorandum of payments with  details such as  Work schedule, unit rate,  quantities given, quantity executed, Amounts  claimed etc,

1. The designated employee of the Unit will inspect the work executed by the contractor and authenticate the entries made in the measurement book.

2. Short comings, if any, in the work executed will be pointed out by the designated employee to the Contractor or his authorized representative and the same will be rectified by him   within three days to the satisfaction of the designated employee.


3.  Payment towards work satisfactorily executed will be made to the Contractor at the finalized rates
i) Payments will be made to the contractor on prorate basis after satisfactory completion of work on the basis of work carried out by him.

All payments will be subject to deduction of income tax at source as per Income Tax Rules
Enclosure-2

CONTROL VALVES (MOV)

	1. S32-Start up vent-(MOV):

LIMITORQUE INDIA LTD

REF : ISS 325-1978

S.No : 21542098T20-275

START-15 LBFT 

HP-0.83
RUN-3 LBFT

RPM -1450
IP-55

FLA-2.2
AMB 50 C

INS. CLASS –P

DUTY S2-15 MN

SP HTR = T.P 0. LB
	2.S33 START UP VENT REGULATION (MOV) 

LIMITORQUE INDIA LTD

REF : ISS 325-1978

S.No : 21542098T22-255

START-15 LBFT 
HP-0.83
RUN-3 LBFT

RPM -1450
IP-55

FLA-2.2
AMB 50 C

INS. CLASS –P

DUTY S2-15 MN

SP HTR = T.P 0. LB



	3.S36 SUPER HEATER WATER ISOLATION (MOV)
LIMITORQUE INDIA LTD

REF : ISS 325-1978

S.No : 21542098T22-2719

START-15 LBFT 
HP-0.275
\

RUN-1 LBFT  

PH-3

RPM -1450


IP-55

FLA-1.1
LRA 5.6

AMB 50 C

INS. CLASS –F

DUTY S2-15 MN


	4.S34 MAIN STEAM ISOLATION  (MOV)

ROTARK CONTORLS INDIA LTD

S.NO-Z696E20

WIRING DIA NO- WDK 2529

ACTUATOR TYPE –K 800 G3A

ENCLOSURE- Wt  to IP 67

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 800 Nm

MOTOR -3.7 Kw

AVG. LOAD- 9.9 A

LOCKED RTAR 77 



	5.S34(A) MAIN STEAM ISOLATION BY PASS(MOV)
ROTARK CONTORLS INDIA LTD

S.NO-Z2003BB5

WIRING DIA NO- WDK 2529

ACTUATOR TYPE –K 60 G0A

ENCLOSURE- Wt  to IP 68

OUT PUT- 24 Rpm

MAX. TORQUE SETTING – 61 Nm

MOTOR -0.18 Kw

AVG. LOAD- 0.90 

LOCKED RTAR 3.80 


	6.B58 DRUM EMERGENCY DRAIN ISOLATION (MOV)
ROTARK CONTROLS INDIA LTD.

S.NO-Z2592L3

WIRING DIA NO- WDK 094

ACTUATOR TYPE –K 500 G3A

ENCLOSURE- Wt  to IP 68

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 475 Nm

MOTOR -1.60 Kw

AVG. LOAD- 4.50 

LOCKED RTAR -35.0 




	7.B59  DRUM EMERGENCY DRAIN REGULATION (MOV)

ROTARK CONTROLS INDIA LTD.

S.NO-Z2188E3

WIRING DIA NO- WDK 083

ACTUATOR TYPE –K 500 G3A

ENCLOSURE- Wt  to IP 68

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 475 Nm

SUPPLY-415V

MOTOR -1.60 Kw

AVG. LOAD- 4.50 

LOCKED RTAR -35.0 


	8.M101 FEED WATER CONTROL VALVE (MOV)

ROTARK CONTROLS INDIA LTD.

S.NO-Z2931E1

WIRING DIA NO- WDK 1689Z00

ACTUATOR TYPE –K 500 G3A

LUBRICATION- SAE 80 EP or ALPHA SP 68

ENCLOSURE- Wt  to IP 68

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 475 Nm

MOTOR -1.60 Kw

AVG. LOAD- 4.50 

LOCKED RTAR -30.0 



	9M019 30T CONNECTING (MOV)

ROTARK CONTROLS INDIA LTD.

S.NO-Z2931F2

WIRING DIA NO- WDK 1689Z00

ACTUATOR TYPE –K 500 G3A

LUBRICATION- SAE 80 EP or ALPHA SP 68

ENCLOSURE- Wt  to IP 68

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 475 Nm

MOTOR -1.60 Kw

AVG. LOAD- 4.50 

LOCKED RTAR -30.0 

	10.M020 MAIN STEAM HEADER(MOV)

ROTARK CONTROLS INDIA LTD.

S.NO-Z2931F1

WIRING DIA NO- WDK 1689Z00

ACTUATOR TYPE –K 500 G3A

LUBRICATION- SAE 80 EP or ALPHA SP 68

ENCLOSURE- Wt  to IP 68

OUT PUT- 36 Rpm

MAX. TORQUE SETTING – 475 Nm

MOTOR -1.60 Kw

AVG. LOAD- 4.50 

LOCKED RTAR -30.0 


	CONTROL VALVE  :7 
 (OIL HEATING BLOCK)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5088

VALVE SIZE= 25 MM

TRIM SIZE= DC 2 

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW 

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = 

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

VALVE= STAY PUT

TAG NO = OS 11


	CONTROL VALVE  :8

 (OIL HEATING BLOCK)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5087

VALVE SIZE= 25 MM

TRIM SIZE= DC 3 

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW 

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = PTFE

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

VALVE= STAY PUT

TAG NO = HO 11



	CONTROL VALVE  :9

 (HFO CONTROL VALVE)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5094

VALVE SIZE= 25 MM

TRIM SIZE= DC 1

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW 

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = PTTF

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

VALVE= STAY PUT

TAG NO = HO 60


	CONTROL VALVE  :10

 (HFO CONTROL VALVE)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5091

VALVE SIZE= 25 MM

TRIM SIZE= DC 1

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW 

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = PTTF

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

BENCH SETTING-0.2 – 1.0 BAR

VALVE= STAY PUT

TAG NO = HO 30




	CONTROL VALVE  :15

 (HFO CONTROL VALVE)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5090

VALVE SIZE= 25 MM

TRIM SIZE= DC 3

RATING= ANSI 300 LBS

BODY= ASTM A 216 GR

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = PTTF

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

VALVE= STAY PUT

TAG NO = HO 33
	CONTROL VALVE  :16

 (HFO CONTROL VALVE)

FOURESS ENGINEERING (INDIA) LTD.

CAT No= BV 502 

S.NO- 5092

VALVE SIZE= 25 MM

TRIM SIZE= DC -1

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW

TRAVEL= 25.4MM

TRIM =   %   COUNTOUR

PKG = PTTF

MAX. ACTUATOR PRESSURE= 3.8 BAR

STD RANGE= 0.2 – 1.0  BAR

VALVE= STAY PUT

TAG NO = HO 40.


CONTROL VALVE-17

FOURESS ENGINEERING (INDIA) LTD

CAT No= BV 500 

S.NO- 5089

VALVE SIZE= 4.0 MM

TRIM SIZE= 2 

RATING= ANSI 300 LBS

BODY= ASTM A 216 GRW CB

TRAVEL= 28.6 mm

TRIM = L= % MULTIFLOW
PKG = GRAF OIL

MAX. ACTUATOR PRESSURE= 4.5 BAR

STD RANGE= 0.2 – 1.0 BAR
VALVE= STAY PUT

TAG NO = OS 33
Supply of spares: 

Limit switches-20 Nos

Enclosure -I
	CONTROL VALVE .1

MIL CONTROLS
TAG NO  : FCV – 127

SERILA NO-991339

MODEL NO :  38 – 21125

SIZE = 1 INCH

RATING= ANSI – 150

END= 150 RF

CV/ CHA =  6  /  =%

STROKE = 1.9 * 0.5 MM

BODY = 0F8

TRIM = SS 316 ST

PAK= TTFF

SIZE =11 INCH

RANGE=3 – 15 PSI

SIG/SUP= 3.15/ 20 PSI


	CONTROL VALVE .2

MIL CONTORLS
TAG NO=  SD – 2

S.NO-980935

MODEL NO-38- 41012

SIZE- 2 INCH

RATING = ANSI - 1500
END= 1500 SW

CV/CHA = 20 LO – DB MLD\

STROKE= 19 0.5 MM

BODY = WCC

PAK= GRAPHITE

TRIM= CA6 NM NITRD

SIZE= 13 INCH

RANGE= 16-30 PSI

SIG/SUP= 2-1 KSC/ 35 PSI



	CONTROL VALVE 3
MIL CONTORLS
TAG NO=  PCV-005

S.NO-991396

MODEL NO-38- 41012

SIZE- 2 INCH

RATING = ANSI - 900
END= BW

CV/CHA = 20/LINEAR 

STROKE= 38.1 MM

SEAT LEAK =  CLASS IV

BODY = WC6

PAK= GRAPHITE

TRIM= CA6 NM NIT 316 - ST

SIZE= 13 INCH

RANG/SUPP= 12-30 / 35 PSI

SIGNAL = 3 – 15 PSI


	CONTROL VALVE 4
MIL CONTROLS

TAG NO=  LCV-104

S.NO-200927

MODEL NO-38-********

SIZE- 3 INCH

RATING = ANSI - 300
END= 300 RF

CV/CHA = 110/ON-OFF 

STROKE= 38.1 MM

SEAT LEAK =  CLASS IV

BODY = WCC

PAK= PTFF

TRIM=  SS316 

SIZE= 13 INCH

RANG/SUPP= 6-30 / 35 PSI

SIGNAL = 3 – 15 PSI




	5. FCV 105(FEED WATER CONTROL VALVE 100%)

MIL CONTROLS

TAG NO  FCV-105

S. No -991415

MODEL NO- 37-41421

SIZE-3 Inch

RATING – ANSI 900

END- BW

CV/CHA – 56/  =  %

STROKE -50.8 mm

SEAT LEAK – Glass IV
BODY – WCC

TRIM- 17.4 PH SS 316 ST

PACKING –PTFE 

SIZE – 18 INCH

Rang/Sup- 7-34 PSI/ 55 PSI

SIGNAL 3-15 PSI


	7. FCV 106 (FEED WATER CONTROL VALVE 30%)

MIL CONTROLS

TAG NO- FCV-106

S. No -991392

MODEL NO- 37-41024

SIZE- 1 Inch

RATING – ANSI 900

END- BW

CV/CHA –  6 /  =  %

STROKE -19.05 mm

SEAT LEAK – Glass IV
BODY – WCC

TRIM- 17.4 PH SS 316 ST

PACKING –PTFE 

SIZE – 11 INCH

Rang/Sup- 3.15 / 25 PSI

SIGNAL 3-15 PSI



	CONTROL VALVE   6
MIL CONTORLS
TAG NO=  PCV-031

S.NO-992328

MODEL NO-38- 41012

SIZE- 2 INCH

RATING = ANSI - 9000
END= BW

CV/CHA = 6. LO- DB LINEAR

STROKE= 19.05mm

SEAT LEAK =  CLASS IV

BODY = WC6

PAK= GRAPHITE

TRIM= CA6 NM NID 316 - ST

SIZE= 11 INCH

RANG/SUPP= 6-30/35 PSI

SIGNAL = 3 – 15 PSI


	CONTROL VALVE   8
MIL CONTORLS
TAG NO=  SD-1

S.NO-980763

MODEL NO-38- 21124

SIZE- 1 INCH

RATING = ANSI - 900
END= 900 RSW

CV/CHA = 1.7 /  =  %

STROKE= 19.05mm

SEAT LEAK =  CLASS IV

BODY = WCC

PAK= PTFE

TRIM=  SS 316 ST

SIZE= 11 INCH

RANGE=6-30 PSI

SIG/SUPP = 4-20 mA/ 30PSI


	CONTROL VALVE   9

(AT FW TANK)
MIL CONTORLS
TAG NO=  LCV -113

S.NO-991338

MODEL NO-38- 21125

SIZE- 3 INCH

RATING = ANSI – 150 RPF
END= 

CV/CHA = 65 / NCD =     %

STROKE=  38.1 MM

SEAT LEAK =  CLASS IV

BODY = CF8

PAK= PTFE

TRIM=  SS 316 ST

SIZE= 13 INCH

RANG/SUPPLY= 12.31 / 36 PSI
	CONTROL VALVE   10

MIL CONTORLS
TAG NO=  PCV-032

S.NO-992327

MODEL NO-38- 41012

SIZE- 2 INCH

RATING = ANSI - 9000
END= BW

CV/CHA = 20/ LO – DB  LIN 

STROKE= 38.1 MM

SEAT LEAK =  CLASS V

BODY = WC6

PAK= GRAPHITE

TRIM= CA6 NM NIT 316 - ST

SIZE= 18 INCH

RANG/SUPP= 14-32 / 40 PSI

SIGNAL = 0.2- 1





	CONTROL VALVE 11
MAZDA CONTROLS LTD
S.NO = C0001522

TYPE= SINGLE SEATED

TAG NO = TCV 4 DSH – 8

ACTUATOR =  R – 12P

BODY SIZE= 20 mm

CV= 0.29

CHARECTERSTICS= EQUAL

BODY MAT= ASTM A 216 GRW LB

BODY RATING= ANSI 9000 SW

TRIM = AISI 4400PL- NI

LIFT=12MM

AIR SUPPLY =4.0 Kg/cm² 

CONTROL SIGNAL=0.2 to 1.0 Kg / cm² 


	CONTROL VALVE   12
MAZDA CONTROLS LTD
SR. NO=C0001521

TYPE= SINGLE SEATED

BODY SIZE= 40 MM

TAG NO.= TCV .005  DSH-4

ACTUATOR= R-12P 

CHARECTERSTICS= EQUAL

BODY MAT.= ASTM A  276 GR- WCB

BODY RATING = ANSI 1500 BW

TRIM MAT= AISI 440 PL NI

LIFT= 12 MM, 

AIR SUPPLY=4.0 Kg/Cm²CONTROL SIGNAL = 0.2 – 1.0 Kg/Cm ²



Supply of spares: 

· Actuator diaphragm one for each  valve-10nos

· Electronic position transmitters -  4 nos

· Pnuematic motion transmitter – 2nos

· Seat ring gasket-4 Nos(FCV-105,FCV-106,FCV-127,PCV-031) 

Annexure- III

Name of the Work:
Checking, Repairing overhauling & calibration   of control valves including DCS and BMS of 30 ton per hour boiler.
Description of Activities to be carried out.
NOTE: CHECK THE BOILER INSTRUMENTATION LAYOUT BEFORE QUOTE.
PROPOSAL:

Rectification of BMS Panel logics for better combustion, DCS panel for auto loop checking of drum level, de-aerator level, combustion control and de super heater control by overhauling motor operated valves, pneumatic control valves, flame scanner, oxygen analyzer etc.

Safety level should be improved.

All required parameters should be fulfilled as per the requirement of BOE.

SCOPE OF WORK:

*   Scope starts from checking, repairing or overhauling, calibration and online testing    of control valves aw per price bid format- annexure-I

 * All tools and tackles required for the job shall be arranged by the contractor

*  Commissioning of all control loops in the existing DCS system.

*  Any lapping of control valves seat if required during testing shall be included in the contractor scope.

*  Laying of extra cables for commissioning of control loops

*   Spares supply in the flame scanner testing or commissioning

*  Consumables like Teflon tapes, cable lugs arrange by contractor.

ANNEXURE-IV

GENERAL TERMS & CONDITIONS (AGREEMENT)
1.
BHEL shall have the privity of the contract with the contractor only and will give instructions to the contractor or his authorized representative.  BHEL will have nothing to do or be concerned with the employment of employees working for the contractor.  The relationship between BHEL and the Contractor will be that of independent entities and nothing herein contained will amount to joint venture, partnership or an employer-employee relationship.

2.
The contractor shall maintain regular contact with the designated employee(s) of BHEL and will interact on matters relating to the work awarded under this contract.

3.
In case the Contractor does not carry out the Contractual / Statutory obligations or the services rendered by him are found to be unsatisfactory, BHEL shall bring the same to his notice and he will be obliged to discharge the obligations and rectify the deficiency / anomaly within three days time failing which, BHEL reserves the right to terminate the contract without assigning any reason whatsoever.  In such an event, no damages will be payable for short closure of the contract.

4.
The contractor shall deposit an amount of 10%     as security with 
BHEL in the form of pay order / bank guarantee / FDI in the name of contractor 
A/c- BHEL duly discharged on the back.  Alternatively, the amount of security deposit can be adjusted partly from EMD and balance amount from subsequent bills.  This security deposit shall be liable to be returned to the contractor after termination of the contract or at the end of it, subject to deduction on account of company dues, non-deposit of statutory dues etc.  No interest shall be payable on the security deposit.

5.
The decision of BHEL regarding interpretation of any of terms and conditions set forth in his agreement shall be final and binding on the Contractor.

6.
Any matter arising out of or in connection with the agreement shall be under jurisdiction of  Sanga Reddy Court.

7.
Notwithstanding anything contained in this Agreement, the contract may be terminated by BHEL without assigning any reason thereof by giving a notice of 30 days to the contractor.
8.
The contract will commence on                 date and will remain valid for a period      till                                 date.  The 
parties reserve the right to extend the contract on mutually agreed terms and conditions.

9.  
Contractor shall obtain complete bio-data of the labour, employment certificate and Antecedent verification in the prescribed form for each labour and supervisor engaged by him and shall submit the same to the HR Department / IR section through the contract executing officers before commencement of the work. 
10.      The Entry permits are to be issued to the Contract Labour by Assistant Commandant /    CISF (Plant), based on the requisition submitted by Contract Executing Officer and forwarded by Dy. General Manager / Personnel.

11. Every contractor shall submit a notice regarding commencement and completion, of work in form – VI A&B [Rule 25 (VIII) & 81 (3)] to HR Department, IR section through his contract executing officer, for forwarding the same to State Labour Department.

12. The contractor shall make himself of his representative available at the work spot everyday during execution of work, for effective supervision.

13. The contractor shall attend to all inspections notified / conducted by the HR Department, Labour Department, P.F. authorities. Factory Inspectors ESI Inspectors or any other such authorities under the act.

14. Non – compliance of any provisions under the act/ rule/instructions / guidelines shall make the contractor liable for penal action including termination of contract.

15.  Contractor shall furnish in a separate letter his place of residence and postal address. The delivery at the above named place or posting in a Post box regularly maintained by the post and telegraph Department or sending letters registered for acknowledgement of any notice,  letter or other communication to the contractor. Change in address shall come into force at any time by an instrument executed by the contractor and delivered to the Company official who has signed the contract.

16. The contractor must satisfy himself by personal study and examination of the drawings / specifications furnished and understands thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract. There shall not be at any time dispute / complaint of any misunderstanding with regard to scope of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done not shall any application for compensation in terms of time and money shall be accepted by company regarding the above.

17. Contractor shall in his absence keep competent agent constantly on the works and any directions or explanations given by the “Contract Signing Officer” or his representative to such agent shall be held to have been given to the contractor himself.

18. Contractor on the advise of company official shall immediately remove any person employed by him, who may in the opinion of the company official is incompetent or misc. conducts himself and such persons shall not be again employed on the works without permission of the company official.

19. The contractor shall erect and maintain at his own cost temporary weather proof sheds at such places approved by the company for keeping materials under cover. 

20. The contractor shall give all notices  required  by the acts regulations , bylaws, legal acts and pay all fees in connection therewith unless and otherwise arranged and decided in writing with the company. He shall also ensure that no attachments are made against materials or work forming part of or for the use of the contractor. In all such cases, contractor shall 
protect and indemnify the company against any claim or liability  arising from or based 
on the violation of any such laws, ordinances, regulations, orders, decrees or attachments either by himself or by his employees,

21. It shall be contractor’s sole responsibility to protect the public and his employees against accident from any cause and provide required safety equipments and shall indemnify, the company against any claims for damages for injury to the person or property resulting from any such accidents and shall, where the provisions of the workmen’s compensation act apply, take steps to properly insure against any claims there under. The contractor shall use proper slings for lifting the jobs, keep the gangways and approach roads clean

22. In the event of any accident in respect of which compensation may become payable under the workmen’s compensation act VIII of 1923 whether by the contractor or by the company as principle employer, it shall be lawful for the company to retain out of monies due and payable to the contractor such sum or sums of money as may, in the opinion of 
the company shall be final in regard to all matter arising in this clause.

23. No work shall be done on Sundays or on other declared holidays of the company without the written permission of the company officer incharge o f the work. The contractor shall comply with the provisions of the Factories Act Rules framed there under if the same are applicable.

24. The contractor shall keep his work place clean and safe to avoid injuries to men and damage to finished products / equipments.

25. On the occurrence of an accident, which results in the death of any of the workmen employed by the contractor or which is so serious as to be likely to result in the death of any such workmen, the contractor shall within 24 hours of the happening of such an accident intimate in writing to the company official in charge of the work.

26. The contractor shall indemnify the company against all losses or damages sustained by the company resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or dues if any and become payable by the company, as a consequence of failure, 
the company to give notice under the workmen’s compensation act or otherwise confirm to the provisions of the said act in regard to such accident.

27. The contractor shall ensure adherence to all statuary requirements applicable to BHARAT HEAVY ELECTRICALS LIMITED, RAMACHANDRAPURAM, and HYDERABAD-502032.

28. Not withstanding the clause, in case of any financial loss incurred by the company on account of contravention of the Provident Fund regulations or any regulations of rule touching the same by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company.

29. The contractor should engage only those labourers who shall be more than 18(eighteen) years of age.

30. The contractor shall not resort to subcontracting under any circumstances.  If found subcontracting at a later date, BHEL reserves the right to take whatever action it deems fit, including cancellation of the contract.

31. The contractor shall provide the required safety equipment labours engaged by him.

32. Contractor shall issue “Employment Card” as per statute to all the labour and supervisors covered under the job work contract.

33. The contractor shall be responsible to settle any grievances of the labour deployed by him. 

34. Whenever the term “CONTRACTOR” is used, it shall be understood to refer to the particular person, firm or corporation with whom an agreement 
has been made by the concerned company official for executing the work defined in the concerned agreement and for the purpose of instructions regarding compliance with contract conditions, it shall include the contractor’s authorised agents, who are entrusted with the work by contractor.

35. The quantities mentioned in the agreement schedule are worked out from the relevant drawings in the company and may not be the actual required for execution. 

36. The company does not expressly or by implication agree that the actual amount of the work to be done shall correspond there with, but reserves the right to increase or decrease the quantity of any class or portion of the work as he deems necessary.

37. All the works shall be carried out in accordance with the directions and to the satisfaction of the company official in accordance with the drawings, specifications and instructions.  Supplementing or explaining the same as May from time to time shall be done by the company official.

38. For all modifications, omissions or additions to the approved drawings and specifications, the company shall issue revised plans or written instructions and no modifications, omission or addition shall be made unless at any time before completion of the work.

39. The company shall heave the privilege of ordering modifications, omissions, or additions at nay time before completion of the work.

40. All materials, articles, and workmanship shall be the best of their respective kinds for the class of work described in the contract specifications and schedule and materials to be obtained by the contractor shall be from sources approved by the company.

41. Sample of materials shall be furnished by the contractor at his expense to the company when called for before execution of any work.

42. The company shall have power to reject at any stage, any work which is considered to be defective in quality of materials of workmanship and  shall not be debarred from rejecting wrong material by reasons of having previously passed them in an un worked condition.  Any portion of the work or materials rejected or pronounced to be inferior or not in accordance with specifications shall be taken down and removed from the work site at the contractor’s expenses.  

43. The decision of the company shall be final and binding on the contractor on all technical questions which may arise in the contract with respect to material, workmanship, removal; of improper work, interpretation of the working drawings, specifications, notes, procedures etc.

44. The decision of the “Contract Signing Officer” or any officer deputed by him duly authorised on his behalf, in respect of the rate of progress and the quality of work or material shall be final.

45. Contracts shall be deemed to have included in his tender price of all the plant.  Machinery appliances required for the purpose of all operations connected to secure a satisfactory quality of work within the opinion of the company will ensure the completion of the work within the time specified. 

46. If at any time, during the progress of work or any part of it such methods or equipment appear to the company official to be insufficient or inappropriate for ensuring he quality of work required or rate of progress, he may order the contractor to increase their efficiency or to improve their quality of work and the contractor shall comply with such order and on failure of which the company may take such action as it deems it fit to improve the quality of work of the company may take such action as it deems if fit to improve  the quality of work or the rate of progress required from the contractor and all such actions taken by the company shall be at the coat and risk  of the contractor. 




 

47. It is open to the company to lend or supply to the contractor any tools, implement, material and machinery that are needed by the contractor, which in the opinion of the company is essential to improve the quality or progress of work.  The contractor shall pay   such deposit or charges that may be fixed or determined by the company for any such 
articles or machinery lent or hired to the contractor.

48. Any electric power required for contractor’s machinery for the purpose of work shall be supplied by the company at the written request of the contractor at one point subject to the observance of rules and regulations of Electric board / company and charges there on shall be recovered from the contractor.

49. The contractor shall confirm to the regulations and laws of central / state govt. or any local authority and that of the company with whose system the machinery is supposed to be connected.

50. All rubbish as it accumulates shall be removed from the site to the point of disposal as indicated from time to time by the company. If this is not adhered to, the company shall remove the scrap and recover the cost of these operations from the bills of the contractor.

51. Any sum due from the contractor on account of tools and plants, stores, or any other items provided by the company shall be deducted from the respective bill due to him.

52. In case the contractor does not execute the work awarded to him as per the terms and conditions of the agreement, the same shall be got executed by some other contractor and the excess cost incurred shall be recovered from the contractor’s security deposit/pending bills. 

53. In case of breach of any of the terms and conditions of the contract, a claim shall be lodged under the bank guarantee with the guarantor at the discretion of the competent authority of the company.  On successful completion of the contract to the satisfaction of the company, the bank guarantee shall be released after due claim period.

54. In the event of any question or dispute or under this contract, the same shall be referred to a competent Authority in the company for sole arbitration and his decision shall be final and binding on the parties to the contract.

55. In case of any suit or other legal proceeding arising under this contract, the courts at Sangareddy (Medak Dist.) A.P only shall have the Jurisdiction. 

56. The company reserves the right to enter into parallel agreement with one or more contractor at their direction.

57. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

58. The labour employed by the contractor, if found in abetting and fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of State and Central Government.

59. Wherever, BHEL/COMPANY standards are mentioned, copies of which are enclosed shall by strictly followed.

60. Nothing contained in the contract agreement and its conditions shall be deemed to preclude or render inoperative the service of any notice, letter or other communication upon the contractor personally.

61.
The decision of the “Contracting Signing Officer” shall be final and binding on the contractor on all technical questions which may arise touching the contract with respect to the quality of material, workmanship, removal of improper work, interpretation of the working drawings, specifications, notes, procedures etc.
62.
All disputes arising in connection with the contract shall be settled by mutual consultation.  If no agreement is reached the dispute shall be settled in accordance with the provisions of the Arbitration and Conciliation Act, 1996 and the rules made there under.  The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the Unit.  The award of the arbitrator shall be final and binding on both the Parties.  The venue of the Arbitration shall be Hyderabad in India.  The Award to be given by the Arbitration shall be a speaking award.  All questions, disputes, differences arising under, out of or in connection with this contract shall be to the exclusive jurisdiction of Sangareddy Courts.

               ANNEXURE-V
I. General  Instructions or Obligation of contractors:

1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful Tenderers finalization of the tender cheque will be forwarded by our finance.   The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the “Officer Inviting the Tender “for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

4. Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

5. Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

8. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

9. BHEL is having every right to split the schedule and to award the work to single or many parties on the lowest offered rates basis.

10. This is a time bound contract for period mentioned, and does not envisage any extension of time / period.

11. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same.

12. BHEL reserves the right to negotiate for price reduction with L1 party and negotiated price will be considered as contract amount for all practical purposes.

13. BHEL reserves the right to terminate the contract at any stage without assigning any reason.

14. tender should be submitted in sealed cover addressed to the Sr.Manager/ M&S(P&C) and duly super scribed with the tender number, tender date, name of the work and due date of tender opening on the envelope. The tenders will be opened on tender due date at 13.30 Hrs in presence of those tenders who choose to be present at finance department, BHEL, Ramachandrapuram, Hyderabad.

15. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

16. On receipt of the job work order, party has to follow certain things regarding labour payments like   a) payment to contract labour as per the minimum wages act 1971 (latest) by 7th during that paid month.   B) PF compliance:  as per Section 36B of Employee provident fund schemes 1952, by 7th of every month are to submit a wage register for the previous month duly signed by the contract executing officer by showing workers engaged, no of days worked, basic wage and Dearness allowance proportionate to days worked, PF & ESI amount deducted from each worker, Contract executing officer signature.   By 15th of every month contributions made through bank challan, if delayed the contractor has to pay penalty of 17% of PF amount and 12% simple interest on the PF Amount for the delayed days.   If not fulfill by contractor permission will not be renewed

17.  Contractor is wholly responsible for injuries/ death of the person employed by him arising due to accident during the contractual period. At any point of time BHEL will not be responsible for any loss/ damage to the person arising out of accident for performing the contractual obligations.

18. Withdrawal from contract during contract period in BHEL will entail forfeiture of security deposit.

19. Soon after acceptance of tender the contractor shall enter into a contract with BHEL, Ramachandrapuram, and Hyderabad.

20. The contract agreement shall be entered with BHEL, Ramachandrapuram, and Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

21. Labour engaged by the contractor should be disciplined & exhibit good behavior in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

22. Any dispute arising out of this contract should be referred to the sole arbitration of General Manager/ M&S of BHEL, Ramachandrapuram, Hyderabad-502 032 or his authorized representative whose decision shall be final and binding on both the parties.

23. In case of any suit or other legal proceeding arising out of and relating to the  contract to be entered into  the court at  Sangareddy (Medak Dist.)  A.P only shall have the jurisdiction.

24. The contractor should abide by the company’s CISF Security/ safety rules and provide such safety requirements as per statutory rules and requirements of the factories act. 

25. In case of breach of any of the terms and conditions of the contractor, BHEL reserves the right to cancel the contract either in part or full.

26. The contractor has to produce the bank guarantee, in the prescribed proforma valid for the contract period for a value calculated at the rates mentioned, towards security deposit.  The claim period under the guarantee shall be valid for six months after expiry of the contract.

27. In the agreement no mention shall be made regarding the number or the sex of the laborers to be employed by the contractor.  The agreement shall not contain provision to hire labour like number of men, category of men, and number of maydays from the contractor for any type of work.  All types of job work agreements shall be based on clearly quantified volume of work only.

28. The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of labour.

29. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

30. The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Governments.

31. Earnest Money Deposit:  

Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule. 

          EMD by the Tenderer will be forfeited as per Tender Documents if

         i)    After opening the tender,  the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

         ii)     The  tenderer  does not commence the work within the period  as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after  award of contract.

             EMD shall not carry any interest

32.    Security deposit:   

      Security Deposit

Security Deposit should be collected from the successful tenderer.  The rate of Security Deposit will be as below:

Upto Rs. 10 lakhs



10%
Above 10 lakhs           Rs 1,00,000/-  + 7.5% on the balance amount.
The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms 

  i)       Cash (as permissible under the Income Tax Act)

 ii)        Pay Order, Demand Draft in favour of BHEL.

iii)
       Local cheques of scheduled banks, subject to realization.

i) Securities available from Post Offices such as National Savings Certificates,  Kisan Vikas     Patras etc. 

      (Certificates should be held in the  name of Contractor furnishing the security and duly pledged in  favour of BHEL and discharged on the back).

ii) Bank Guarantee from Scheduled Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of security. The Bank Guarantee format should have the approval of BHEL. 

iii) Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act. The FDR should be in the name of the contractor,  A/C BHEL, duly discharged on the back. 

iv) Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.                                                                                                                                                                         

v) EMD of the successful tenderer  shall be converted and adjusted against the security deposit.

               The security deposit will not carry any interest
33         PENALTY: That if the contractor fails to complete the work with in the stipulated or extended date, the company shall have the right to levy penalty on the contract value at 0.5% per week or 10% maximum and without prejudice to any other relief or compensation to which the company is entitled under the other conditions of the contract.
Should be submitted in separate cover in sealed condition

Annexure – I

PRICE BID 

Name of the Work:
Checking, Repairing overhauling & calibration   of control valves including DCS and BMS of 30 ton per hour boiler..

	Sl.

No
	ITEM
	Description of the Work
	Unit
	Qty.
	Unit Rate

In Rs.
	Amount in Rupees

	1.
	Pneumatic control valves, detailed list as per Enclosure-I
	Repair, overhauling and calibration.
	Nos.
	10
	
	

	1b
	
	Supply of spares: 

· Actuator diaphragm one for each  valve
· Electronic position transmitters 

· Pnuematic motion transmitter 

*  Seat ring gasket  (FCV-105,FCV-106,FCV-127,PCV-031) 
	Nos

Nos

Nos

Nos
	10

4

2

4
	
	

	2.
	Motor operated valves, detailed list as per Enclosure- II 
	Repair, overhauling and calibration, replacement of spares and establish remote operation through DCS. DCS Cable connections - 3 nos (from MOV to DCS) Required cable will be supplied by BHEL.
	Nos.
	17
	
	

	2b
	Spares 
	Supply of Limit switches
	Nos
	20
	
	

	3.
	BMS, Flame amplifier & scanner.
	Checking of loops wiring, interlocks and establish operation of boiler through control desk. Supply & erection and commissioning of suitable flame amplifier & scanner.
	L.S 
	Lump sum

	
	

	4.
	Ignition


	Repair and checking for advancing and retrieval movement position of ignition rod 
	L.S 
	Lump sum

	
	

	5.
	Oxygen analyzer
	Supply, erection & commissioning and monitoring through DCS
	No
	1
	
	

	6
	Pro control P13 DCS
	Checking and rectification of all loops and putting into auto operation of boiler through control desk (proprietary of BHEL, Electronics division, contractor shall approach and should take responsible for repairs. 
	L.S
	Lump  sum
	
	


AMOUNT: Rs

(AMOUNT IN WORDS RUPEES:  
                                                              contractor signature 

PAGE  
1

