BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)

Tender Documents

Tender No :WES/T- 22 /09-10, Dated 15-02-2010

Due date of tender opening : 09-03-2010

Name Of Party :

Address             :

Sub:-. Preparation of Earth Pits and laying/connecting of earth strip in Factory and township.

Sealed tender is invited for above cited work. Please quote your rates here below for complete job. Detail of work in enclosed herewith.:

| SLNO | Type of test/report | Quantity. | Rate in Rs/- | Amount In Rs/- |
| --- | --- | --- | --- | --- |
| 1 | Preparation of Earth Pits(As per enclosed drawing). | 55 nos. |  |  |
| 2 | Laying and connecting of earth strip. | 550 meters |  |  |
|  | Sub Total |  |  |  |
|  | Service Tax @ 10.3% |  |  |  |
|  | Grand Total |  |  |  |

(Sig.of contractor)

Sr.DGM(WE&S)

BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)

Tender Documents

Preparation of Earth Pits and laying/ connecting of earth strip in

Factory and Township.

Ref. Tender No : WES/T- 22 /09-10, Dated 15-02-2010

Scope Of Work

1.0 Preparation of earth pits:

1.1  Excavation of Earth Pit of size (as per enclosed drawing).

1.2  Receiving and Shifting of  material from store to work place.

1.3  Fixing of electrodes and backfill the pit .

1.4  All material including earth electrode shall be provided by BHEL.

2.0 Laying and connecting of earth flat:

2.1 Receiving and Shifting of  material from store to work place.

2.2 Laying and connecting of earth strip from earth pit to installation in all               	respect.

(Sig.of contractor)

Sr.DGM(WE&S)

BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)

Tender Documents

Preparation of Earth Pits and laying/ connecting of earth strip in

Factory and Township.

Ref. Tender No : WES/T- 22 /09-10, Dated 15-02-2010

General Terms And Conditions

Sealed offers are invited in single bid along with document fees Rs 227/-(200+13.5%VAT) through Cash or DD/ Banker cheque shall be made in favor of BHEL-Jhansi, and payble at Jhansi and shall superscripting Tender No:WES/T-22/09-10 due on 09/03/10:

- Tender should be free from over writing or erasures, correction and addition if  any must be attested.

- Tender shall be reach on or before 09/03/10 at 1:15 Noon. In the tender box at Adm. Building gate.

- Delayed /Late/Revised/Fax tender will not be considered on any account.

- Tender will be opened at 2.00 PM on 09/03/10 in the tender room in presence of  tenderer and their authorised representatives

- BHEL, Jhansi does not bind themselves to accept any or the lowest tender without assigning any reasons.

- Conditional tender will be rejected.

- No enhancement of rates for whatever cause will be allowed during the duration of agreement period.

- The successful tenderer/ contractor has to sign to formal agreement with Sr.DGM(WE&S) BHEL- Jhansi on non judicial stamp paper of Rs 100/- (Rupees one hundred only) which will remain valid for the period of contract.

- Tenderer should have submit following documents along with his offer :

*      The bidder should have valid labour licence from the department of labour.

*	The bidder should have independent P F code number.

*	The bidder should have independent ESI code number.

*       The bidder should have PAN number.

*	The bidder should have PAN service tax number.

*	The bidder should have experience in relevant field in a PSU/Reputed Private company, The copy of work/Purchase order issued by customer along with satisfactory work completion certificate should also be submitted by the bidder.

*       No off-loading or subcontracting is permissible and if it is reported or found at any stage of the offer opening and even after issuing of the work order, the same shall be treated as canceled and terminated.

Documentary proof of the above eligibility criteria shall be submitted 			along with the offer. Offer without the above documentary proof will  			be rejected.

(Sig.of Contractor)

Sr.DGM(WE&S)

BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)

WEX/SER/ T-22/

15-02-2010

M/s -----------------------

----------------------------

----------------------------

-----------------------------

Sub:- Preparation of Earth Pits and laying/ connecting of earth strip 	in Factory and township.

We are sending herewith tender no WES/T-22/09-10 Dated 15-02-10 against above said work. You are requested to go through the same and submit the same with accepting all terms . Filled offer shall be put in to tender box kept at ADM Building gate and the same will be accepted till 09-03-2010, 13.15 hrs.. The same will be opened at 14.00 hrs. on the same day in presence of you and our account a accounts representative.

The same may also be submitted by post to the following address indicating on the top on envelope.

TENDER NO WES/T- 22 /07-08

OPENING DATE-04-01-2008

AGM.

(MM DIVISION)

ADM BULDING

BHEL, JHANSI -284129(UP)

(S.J. Chakraborty)

Sr.DGM(WE&S)