BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)

Tender Documents

Tender No WES/T- 21 /09-10, Dated 11-02-2010

Due date of tender opening : 05-03-2010

Name Of Party :

Address             :

Sub:- Preventive Maint. Of Desert coolers and Ceiling fans in Township .

Sealed tender is invited for above cited work. Please quote your rates here below for complete job. Detail of work in enclosed herewith.:

	SLNO
	Type of  test/report
	Quantity.
	Rate
 in Rs/-
	Amount
In Rs/-

	1.
	Preventive Maint. Of Desert Coolers.
	175
	
	

	2.
	Preventive Maint. Of Ceiling Fans.. 
	550
	
	

	
	Sub Total
	
	
	

	
	Service Tax
 @ 10.3%
	
	
	

	
	Grand Total
	
	
	


(Sig.of contractor)

                                                                                                    Sr. DGM(WE&S)

Preventive Maint. Of Desert coolers and Ceiling fans in Township
Ref. tender No. : WE&S/T-21/09-10, Dated 11-02-2010

Scope Of Work

1. Pre. Maint. Of Desert Coolers :

                                                         Dismantling, cleaning, change of wood wool, oiling,                         greasing,  re-assembling and making in working condition in all respect. 

2. Pre. Maint. Of Ceiling Fans : 
                                                                                Dismantling , cleaning, change of bearings(if required), oiling, greasing,  re-assembling and making in working condition in all respect. 
  (Sig.of contractor)

                                                                                                  Sr.DGM(WE&S)

General Terms & Conditions
Sealed offers are invited in single bid along with document fees Rs 227/-(200+13.5%VAT) through Cash or DD/ Banker cheque shall be made in favor of BHEL-Jhansi, and payble at Jhansi and shall superscripting Tender No:WES/T-21/09-10 due on 05/03/10: 

1. Tender should be free from over writing or erasures, correction and addition if any 


      must be attested.

2. Tender shall be reach on or before 05.03.10 at 1:15 Noon. In the tender box at Adm. Building gate.

3. Delayed /Late/Revised/Fax tender will not be considered on any account.

4. Tender will be opened at 2.00 PM on 05/03/10 in the tender room in presence of  tenderer and their authorised representatives

5. BHEL, Jhansi does not bind themselves to accept any or the lowest tender without assigning any reasons. 

6. Conditional tender will be rejected.

7. No enhancement of rates for whatever cause will be allowed during the duration of agreement period.

8. The successful tenderer/ contractor has to sign to formal agreement with Sr.DGM(WE&S) BHEL- Jhansi on non judicial stamp paper of Rs 100/- (Rupees one hundred only) which will remain valid for the period of contract.

9. The period of the contract shall be for 04 months from the date work start as per work order issued. 
10.  Tenderer should have submit following documents along with his offer :

   *       The bidder should have PAN number.

*
The bidder should have service tax number.

*
The bidder should have experience of at least one work order in a  PSU /Reputed Private company. The copy of work/Purchase order issued by customer should also be submitted by the bidder.

*       No off-loading or subcontracting is permissible and if it is reported or found at any stage of the offer opening and even after issuing of the work order, the same shall be treated as canceled and terminated.

                 Documentary proof of the above eligibility criteria shall be submitted along with the offer. Offer without the above documentary proof will be rejected.

(Sig.of Contractor)                                                                                                       


Sr.DGM(WE&S)
BHARAT HEAVY ELECTRICAL LIMITED, JHANSI

(WORKS ENGG. & SERVICES DEPTT.)
WEX/SER/ T-21/

11-02-2010 

M/s -----------------------

----------------------------

----------------------------

-----------------------------

Sub:- Preventive Maint. Of Desert coolers and Ceiling fans in Township.


We are sending herewith tender no WES/T-21/09-10 Dated 11-02-10 against above said work. You are requested to go through the same and submit the same with accepting all terms . Filled offer shall be put in to tender box kept at ADM Building gate and the same will be accepted till 05-03-2010, 13.15 hrs.. The same will be opened at 14.00 hrs. on the same day in presence of you and our account a accounts representative.

The same may also be submitted by post to the following address indicating on the top on envelope.

TENDER NO WES/T- 21 /09-10

OPENING DATE-05-02-2010

        AGM.

(MM DIVISION)

ADM BULDING

BHEL, JHANSI -284129(UP)









       (S.J. Chakraborty)










Sr.DGM(WE&S)

