## Price Bid
Description of Item | HSN Code | Unit | Quantity | Unit Price Ex-works Prices (INR) | Total Ex-Works Prices (INR) | GST on Ex-works Prices (in % only) | GST amount on Ex-works Prices (in INR) | Unit Freight & Insurance charges (in INR only) | Total Freight & Insurance charges (in INR only) | GST on Freight & Insurance charges (in % only) | GST amount on Freight & Insurance charges (in INR) | TOTAL Supply Prices(FOR Destination) (INR)
SUPPLY- CIRCUIT BREAKER : 400KV, CONTROLLED SWITCHING DEVICE (CSD) ALONG WITH ALL ACCESSORIES (EXCEPT SPECIAL CABLES) COMPLETE IN ALL RESPECT FOR GENERATOR TRANSFORMER (GT) AND BUS REACTOR |  | No. | 9
SUPPLY- CIRCUIT BREAKER : 400KV, CONTROLLED SWITCHING DEVICE (CSD) ALONG WITH ALL ACCESSORIES (EXCEPT SPECIAL CABLES) COMPLETE IN ALL RESPECT (CSD SHALL BE SUITABLE FOR DUAL OPERATION FOR GT & ST/FGD-ST) |  | No. | 5
SUPPLY- CIRCUIT BREAKER : SF6 GAS LEAKAGE DETECTOR |  | No. | 4
SUPPLY- CIRCUIT BREAKER : 420KV, CIRCUIT BREAKER OPERATIONAL ANALYZER WITH DCRM AS PER SPECIFICATION |  | No. | 1
SUPPLY- CIRCUIT BREAKER : 420KV, BASIC TIMER KIT WITH PRINT FACILITY |  | No. | 1
SUPPLY- CIRCUIT BREAKER : 420KV, CRM METER (100A) |  | No. | 1
SUPPLY- CIRCUIT BREAKER : 420KV, 50KA FOR 3S, 3150A,3 PHASE CIRCUIT BREAKER WITHOUT PIR WITH GRADING CAPACITOR (IF APPLICABLE) ALONGWITH OPERATING MECHANISM, INTERPOLE CABLING, COMMON CONTROL CABINET, INSULATORS, SUPPORT STRUCTURE, FIXING BOLTS AND OTHER ALLIED EQUIPMENT/ ITEMS ETC. COMPLETE IN ALL RESPECTS |  | No. | 33
SUPPLY- CIRCUIT BREAKER : 420KV, PORTABLE SF6 VACUUM PUMP WITH PRESSURE GAUGE/ SWITCHES & HOSE PIPES |  | No. | 1
SUPPLY- CIRCUIT BREAKER : 420KV, PORTABLE TYPE SF6 GAS FILLING AND EVACUATING PLANT (MIN. 300L CAPACITY) |  | SET | 1
SUPPLY- CIRCUIT BREAKER : 400KV, FOUNDATION BOLTS FOR CIRCUIT BREAKER, PLATFORM AND LADDER |  | LOT | 33
SUPPLY- CIRCUIT BREAKER : 420KV, SF6 GAS (20% EXTRA) |  | LOT | 1
SUPPLY- CIRCUIT BREAKER : 420KV, SPECIAL CABLES FOR CSD |  | MTR | 5000
SPARES- CIRCUIT BREAKER : 420KV, AIR PRESSURE SWITCH |  | No. | 2
SPARES- CIRCUIT BREAKER : 420KV, SF6 GAS PRESSURE SWITCH |  | No. | 2
SPARES- CIRCUIT BREAKER : 420KV, AIR PRESSURE GAUGE |  | No. | 2
SPARES- CIRCUIT BREAKER : 420KV, MCB/MCCB FOR DC CIRCUIT |  | No. | 2
SPARES- CIRCUIT BREAKER : 420KV, MCB/MCCB FOR AC CIRCUIT |  | No. | 2
SPARES- CIRCUIT BREAKER : 400KV, CLOSING COILS WITH RESISTOR |  | No. | 6
SPARES- CIRCUIT BREAKER : 420KV, CONTACTS FOR CIRCUIT |  | No. | 2
SPARES- CIRCUIT BREAKER : 420KV, GAS DENSITY MONITOR |  | No. | 6
SPARES- CIRCUIT BREAKER : 420KV, OPERATING MECHANISM WITH MOTOR (SPRING) |  | No. | 4
SPARES- CIRCUIT BREAKER : 420KV, COMPLETE POLE WITH COLUMN AND INTERRUPTER AND GRADING CAPACITOR (IF APPLICABLE) AND OPERATING MECHANISM BUT WITHOUT SUPPORT STRUCTURE |  | No. | 3
SPARES- CIRCUIT BREAKER : 400KV, TRIP COILS WITH RESISTOR |  | No. | 6
SPARES- CIRCUIT BREAKER : 420KV, FIXED, MOVING & ARCING CONTACTS |  | SET | 14
SPARES- CIRCUIT BREAKER : 400KV, AUX. SWITCH |  | SET | 2
SPARES- CIRCUIT BREAKER : 400KV, MOLECULAR FILTER |  | SET | 2
SPARES- CIRCUIT BREAKER : 420KV, RUBBER GASKETS, ‘O’ RINGS AND SEALS |  | SET | 6
SPARES- CIRCUIT BREAKER : 420KV, FUSES |  | SET | 4
SPARES- CIRCUIT BREAKER : 420KV, AUXILIARY RELAY (EACH TYPE ) |  | SET | 2
SPARES- CIRCUIT BREAKER : GASKET (OF EACH TYPE) |  | SET | 4
SPARES- CIRCUIT BREAKER : 420KV, SEALS |  | SET | 4
SPARES- CIRCUIT BREAKER : 420KV, ISOLATION VALVES, CONTROL VALVES & SAFETY VALVES FOR AIR/OIL SYSTEM |  | SET | 4