## PRICE FORMAT-UN-PRICED
PRICE FORMAT (UN-PRICED)
ITEM: ESP SWITCHGEAR FOR 2X800MW NTPC TELANGANA STPP (ESP PACKAGE)
TENDER REF: 12300988
All values in INR
NAME OF BIDDER: M/S. ______________
Sl.No | Material code | Item Description | Rating (A) | HSN CODE (To be mentioned by Bidder) | U/M | Qty. | Unit Ex-Works Price Incl. Packing Charges | Total Ex-Works Price Incl. Packing Charges | Total Freight Price | Total Price Incl. Freight | CGST @ | SGST @ | IGST @ | Total FOR Price
[11 empty] | 0% | 0% | 0%
[6 empty] | (1) | (2) | (3)=(1)x(2) | (4) | (5)=(3)+(4) | (6)=(5)x CGST% | (7)=(5)x SGST% | (8)=(5)x IGST% | (9)=(5)+(6)+(7)+(8)
1 | ELTELENBAP01 | ESP SWITHGEAR STANDBY PANEL-A | 4000 |  | EA | 2 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
2 | ELTELENBAP02 | ESP SWITHGEAR STANDBY PANEL-B | 4000 |  | EA | 2 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
3 | ELTELENBAP03 | ESP SWITCHGEAR PANEL DFDO | 3200 |  | EA | 12 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
4 | ELTELENBAP04 | E&C SPARE ANNEX-E |  |  | SET | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
A | TOTAL FOR PRICE FOR ALL LINE ITEMS OF A (Sr. No. 1 to 4) | [12 empty] | 0
B | LESS TOTAL GST CREDIT | [12 empty] | 0
C | LANDED COST FOR EVALUATION PURPOSE ONLY | [12 empty] | 0
NOTES:
1. SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5% OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE OBSERVED OFFER MAY BE REJECTED.
2. ALL LT PCC/ MCC/ DBs SHALL BE SUPPLIED ALONGWITH THE INTEGRAL BASE FRAMES, FOUNDATION BOLTS, CABLE GLANDS & LUGS AND TOOLS & TACKLES AS MENTIONED IN DIFFERENT SECTIONS. ALL FIXING NUTS & BOLTS TOGETHER WITH FOUNDATION BOLTS SHALL ALSO BE SUPPLIED.
3. ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.
4. FOR DETAILED BOARD WISE BOM, REFER ANNEXURE-B.
5. FOR DETAILED MODULE WISE BOM, REFER ANNEXURE-C.
6.ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES , WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY. SUM OF INDIVIDUAL MODULE SHALL EQUAL TO BOARD PRICE.
a. COMPLETE DIMENSIONS OF ALL THE BOARDS INCLUDING NO OF ACB, MCC. GA DRAWING SHALL BE DULY SUBMITTED FOR ALL BOARDS.
b. DIMENSIONS OF EACH TYPE OF PANEL.
c. MODULE SIZE OF EACH TYPE OF FEEDER.
d. MINIMUM CLEARANCES REQUIRED ON ALL SIDES FOR EACH TYPE OF PANEL.
e. NO. of VERTICAL (including PCC, MCC etc.) of EACH PANLES TO BE GIVEN, ELSE YOUR OFFER WILL BE REJECTED..
7. DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY DUTY LUGS OF NTPC APPROVED MAKE FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END AND FOUNDATION BOLT ARE IN THE SCOPE OF BIDDER. BIDDER TO QUOTE ALL EQUIPMENT WITH CABLE GLANDS, LUGS AND FOUNDATION BOLTS.

## Annex-E
LIST OF E&C SPARE FOR ESPSWITCHGEARS (ESP PACKAGE)
SL.NO | Description | Rating | Total Qty | UNIT PRICE | TOTAL PRICE
1 | MCCB FOR 400A FEEDER | 400A | 2
2 | MCCB FOR 250A FEEDER | 250A | 2
3 | INDICATING LAMP WITH LENS ASSEMBLY- RED | 220VDC | 10
4 | INDICATING LAMP WITH LENS ASSEMBLY- YELLOW | 220VDC | 10
5 | INDICATING LAMP WITH LENS ASSEMBLY- GREEN | 220VDC | 10
6 | DRAWOUT CONTROL TERMINAL BLOCKS (FIXED) |  | 10
7 | DRAWOUT CONTROL TERMINAL BLOCKS (MOVING) |  | 10
8 | BREAKER DRAWOUT HANDLE |  | 4
9 | BREAKER HANDLING TROLLEY |  | 2
10 | 300MM DUMMY PANEL | 4000A | 4
11 | POWER FUSE LINK FOR RAPPING MOTOR FEEDER | 6A | 60
12 | POWER FUSE LINK FOR SHAFT INSULATOR FEEDER | 25A | 18
13 | POWER FUSE LINK FOR HOPPER HEATER FEEDER | 63A | 60
14 | POWER FUSE LINK FOR EOH FEEDER | 32A | 12
15 | CONTROL FUSE LINK(COMPLETE SET) | 4A | 12
16 | MCCB FOR 400A FEEDERS | 400A | 4
17 | POWER FUSE LINK FOR SUPPORT INSULATOR HEATER FEEDER | 125A | 2
18 | POWER FUSE LINK ASH LEVEL HIGH FEEDER | 6A | 24
19 | INDICATING LAMP WITH LENS ASSEMBLY- RED | 110VAC | 30
20 | INDICATING LAMP WITH LENS ASSEMBLY- GREEN | 110VAC | 30
21 | INDICATING LAMP WITH LENS ASSEMBLY- AMBER | 110VAC | 30
22 | DRAWOUT CONTROL TERMINAL BLOCKS (FIXED) |  | 30
23 | DRAWOUT CONTROL TERMINAL BLOCKS (MOVING) |  | 30
24 | BREAKER DRAWOUT HANDLE |  | 24
25 | BREAKER HANDLING TROLLEY |  | 2
26 | 300MM DUMMY PANEL | 3200A | 12

## Annex-D
UNIT PRICE SCHEDULE FOR ESPSWITCHGEAR
MODULE TYPE | RATING | UNIT PRICE | REMARKS
DAET (I/C) | 4000A
DAET (I/C) | 3200A
DAE (I/C) | 3200A
DAE (I/C) | 630A
DAE/DAE-TIE (O/G) | 4000A
E/E3 | 400A
E/E3 | 250A
G1 | 100VA
E/E3 | 32A
RM | 0.37KW
HH | 24KW
HI | 40KW
HS | 10KW
DDM | 1.1KW
CS | 5KVA
SH | 3KVA
ALI(H) | 6A
ALI(L) | 6A
E/E3 | 6A
ARECA
MM
Empty Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
DFDO MCC | 4000/630A
DFDO MCC | 3200/630A
PCC | 4000/4000A
PCC | 3200/3200A
PCC | 4000/630A