## PRICE FORMAT-UN-PRICED
PRICE FORMAT (UN-PRICED)
ITEM: LT Switchgear for 1x250MW NSPCL Rourkela TPS (ESP Swgr + CHP/AHP Package)
TENDER REF: 12300994
All values in INR
NAME OF BIDDER: M/S. ______________
Sl.No | Material code | Item Description | Rating | HSN CODE (To be mentioned by Bidder) | U/M | Qty. | Unit Ex-Works Price Incl. Packing Charges | Total Ex-Works Price Incl. Packing Charges | Total Freight Price | Total Price Incl. Freight | CGST @ | SGST @ | IGST @ | Total FOR Price
[11 empty] | 0% | 0% | 0%
[6 empty] | (1) | (2) | (3)=(1)x(2) | (4) | (5)=(3)+(4) | (6)=(5)x CGST% | (7)=(5)x SGST% | (8)=(5)x IGST% | (9)=(5)+(6)+(7)+(8)
1 | ELNSPCLBAP01 | ESP SWITHGEAR PANEL DFDO | 3200A |  | EA | 2 |  | 0 |  | 0 | 0 | 0 | 0 | 0
2 | ELNSPCLISG01 | AHP PMCC-1 | 4000A |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
3 | ELNSPCLISG02 | AHP PMCC-2 | 2000A |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
4 | ELNSPCLISG03 | CHP PMCC-1 | 4000A |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
5 | ELNSPCLISG04 | CHP PMCC-2 | 2500A |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
6 | ELNSPCLISG05 | CHP PMCC-3 | 1600A |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
7 | ELNSPCLISG06 | MANDATORY SPARE FOR CHP & AHP ANNEX F1 |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
8 | ELNSPCLBAP02 | MANDATORY SPARE FOR ESP SWG - ANNEX F2 |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
9 | ELNSPCLISG07 | E&C SPARE FOR CHP & AHP ANNEX E1 |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
10 | ELNSPCLBAP03 | E&C SPARE FOR ESP SWG ANNEX E2 |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
11 | ELNSPCLISG08 | SITE MODIFICATION CHARGES ANNEX G |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
12 | ELNSPCLISG09 | NUMERICAL RELAY COMMISSIONING CHARGES ANNEX H |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
13 | ELNSPCLISG10 | TOOLS & TACKLES ANNEX I |  |  | SET | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
14 | ELNSPCLTBG10 | MLDB FOR TBG |  |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
15 | ELNSPCLTBG11 | ELDB FOR TBG |  |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
16 | ELNSPCLTBG12 | EPDB FOR TBG |  |  | EA | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0
A | TOTAL FOR PRICE FOR ALL LINE ITEMS OF A (Sr. No. 1 to 16) | [12 empty] | 0
B | LESS TOTAL GST CREDIT | [12 empty] | 0
C | LANDED COST FOR EVALUATION PURPOSE ONLY | [12 empty] | 0
NOTES:
1. SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5% OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE OBSERVED OFFER MAY BE REJECTED.
2. ALL LT PCC/ MCC/ DBs SHALL BE SUPPLIED ALONGWITH THE INTEGRAL BASE FRAMES, FOUNDATION BOLTS, CABLE GLANDS & LUGS AND TOOLS & TACKLES AS MENTIONED IN DIFFERENT SECTIONS. ALL FIXING NUTS & BOLTS TOGETHER WITH FOUNDATION BOLTS SHALL ALSO BE SUPPLIED. PRICES FOR THE BASE FRAME SHALL BE BUILT IN THE SWITCHBOARD PRICE.
3. ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.
4. FOR DETAILED BOARD WISE BOM, REFER ANNEXURE-B.
5. FOR DETAILED MODULE WISE BOM, REFER ANNEXURE-C.
6. LIST OF RECOMMENDED O&M SPARES FOR 3 YEARS (OPTIONAL) WITH ITEM WISE PRICE & QUANTITY OF EACH ITEM AS RECOMMENDED BY MANUFACTURER SHALL BE FURNISHED IN SCHEDULE OF PRICES.
7.ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES , WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY. SUM OF INDIVIDUAL MODULE SHALL EQUAL TO BOARD PRICE.
8. Price of components for Panels, Busduct, E&C spres, Tools and Tackles are to be quoted in Unit Price Schedule given in specification.
a. COMPLETE DIMENSIONS OF ALL THE BOARDS INCLUDING NO OF ACB, MCC. GA DRAWING SHALL BE DULY SUBMITTED FOR ALL BOARDS.
b. DIMENSIONS OF EACH TYPE OF PANEL.
c. MODULE SIZE OF EACH TYPE OF FEEDER.
d. MINIMUM CLEARANCES REQUIRED ON ALL SIDES FOR EACH TYPE OF PANEL.
e. NO. of VERTICAL (including PCC, MCC etc.) of EACH PANLES TO BE GIVEN, ELSE YOUR OFFER WILL BE REJECTED..
9. DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY DUTY LUGS OF NTPC APPROVED MAKE FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END AND FOUNDATION BOLT ARE IN THE SCOPE OF BIDDER. BIDDER TO QUOTE ALL EQUIPMENT WITH CABLE GLANDS, LUGS AND FOUNDATION BOLTS.

## Annex-F1
GROUP-A
S.no. | Item Description | Quantity
None
GROUP-B
S.no. | Item Description | Quantity
1 | Complete breaker | 3 Nos. of each type & rating
2 | Ammeter | 2 Nos. of each type,size & range
3 | Voltmeter | 2 Nos. of each type,size & range
4 | Relays | 2 Nos. of each type
5 | Bus bar support insulators(porcelain) | 10 Nos.
GROUP-C
S.no. | Item Description | Quantity
1 | Spring charging motors | 3 Nos. of each type & rating
2 | Aux. Contact set | 6 Sets of each type & rating
3 | Limit switches | 10 Nos.
4 | Arc chutes (EACH SET CONSIST OF 3 POLE) | 4 Nos. of each type & rating
5 | Fixed contact set (EACH SET CONSIST OF 3 POLE) | 6 Sets of each type & rating
6 | Moving contact set (EACH SET CONSIST OF 3 POLE) | 6 Sets of each type & rating
7 | Arcing contact (EACH SET CONSIST OF 3 POLE) | 6 Sets of each type
8 | Charging spring | 4 Nos. of each type & rating
9 | Current transformer | 3 Nos. of each type & ratio
10 | Closing coil | 12 Nos. of each type & rating
11 | Trip coil | 12 Nos. of each type & rating
12 | CT for Bimetal O/L relays | 3 Nos. of each type & rating
13 | Voltage transformer | 3 Nos. of each type & ratio
14 | Control supply transformer | 3 Nos. of each type & rating
15 | (a) Power contactor | 2 Nos. of each type & rating
| (b) Coil of above contactor | 2 Nos. of each type & rating
16 | Air break switches | 3 Nos. of each type & rating
17 | DP air break switches(DC) | 3 Nos. of each type & rating
18 | Control & selector switches | 5 Nos. of each type & rating
19 | Control fuses & neutral links | Total 50 Nos.(Fuses) & 10 Nos. (Neutral links), to cover all the ratings.
20 | Indicating lamps | Total 50 Nos. to cover all the types & ratings
21 | Vertical bus bar dropper support insulators(FRP) | 25 Nos.
22 | Bus duct flexible connectors | 1 Set for three phases of each type & size
23 | (a) Primary disconnect in MCC(Bus bar end) (Male/female contact | Total 15 Nos. proportionately divide for all ratings
| (b) Secondary disconnect in MCC(Cable end) | Total 15 Nos. proportionately divide for all ratings
24 | Push buttons | 15 Nos.
25 | Power fuses | Total 100 Nos. proportionately divide for all ratings
26 | Thermal Bimetal relays | Total 30 Nos. proportionately divide for all ratings
27 | Current transducers | 12 Nos. proportionately divide for all ratings
28 | Voltage transducers | 12 Nos. proportionately divide for all ratings
29 | Indication lamp holders complete | 10% of each type & rating
30 | Busbar aluminium flat pieces | 12 meters of each type & rating
31 | Busbar angles/formed pieces for breaker | 2 Nos. of each type
32 | Terminal blocks | 12 Nos. of each type & rating

## Annex-F2
SL.NO | Description | Rating | unit | Total Qty | UNIT PRICE | TOTAL PRICE
1 | AIR CIRCUIT BREAKER - 3200A COMPLETE SET | 3200A | NO | 1
2 | AIR CIRCUIT BREAKER - 630A COMPLETE SET | 630A | NO | 1
3 | SPRING CHARGING MOTORS FOR 3200A ACB | 3200A | NO | 2
4 | SPRING CHARGING MOTORS FOR 630A ACB. | 630A | NO | 2
5 | AUX.CONTACT SET FOR 3200A ACB. | 3200A | ST | 3
6 | AUX.CONTACT SET FOR 630A ACB | 630A | ST | 3
7 | LIMIT SWITCHES FOR 3200A ACB, (TEST POSITION & SERVICE POSITION) | 3200A | ST | 3
8 | LIMIT SWITCHES FOR 630A ACB (TEST POSITION & SERVICE POSITION) | 630A | ST | 3
9 | ARC CHUTES FOR 3200A ACBS (EACH SET CONSIST OF 3 POLE) | 3200A | ST | 3
10 | ARC CHUTES FOR 630A ACBS (EACH SET CONSIST OF 3 POLE) | 630A | ST | 3
11 | FIXED CONTACT SET FOR 3200 ACB (EACH SET CONSIST OF 3 POLE) | 3200A | ST | 3
12 | FIXED CONTACT SET FOR 630A ACB (EACH SET CONSIST OF 3 POLE) | 630A | ST | 3
13 | MOVING CONTACT SET FOR 3200A ACB.(EACH SET CONSIST OF 3 POLE) | 3200A | ST | 3
14 | MOVING CONTACT SET FOR 630A ACB. (EACH SET CONSIST OF 3 POLE) | 630A | ST | 3
15 | ARCING CONTACT FIXED FOR 3200A ACBS (EACH SET CONSIST OF 3 POLE) | 3200A | ST | 3
16 | ARCING CONTACT FIXED FOR 630A ACBS (EACH SET CONSIST OF 3 POLE) | 630A | ST | 3
17 | ARCING CONTACT MOVING FOR 3200A ACBS (EACH SET CONSIST OF 3 POLE) | 3200A | ST | 3
18 | ARCING CONTACT MOVING FOR 630A ACBS (EACH SET CONSIST OF 3 POLE) | 630A | ST | 3
19 | CHARGING SPRING FOR 3200A ACB | 3200A | NO | 2
20 | CHARGING SPRING FOR 630A ACB | 630A | NO | 2
21 | CURRENT TRANSFORMER (METERING) 25/1A,15VA,CL-1. | 25/1A | NO | 3
22 | CURRENT TRANSFORMER (METERING) 60/1A,15VA,CL-1. | 60/1A | NO | 3
23 | CURRENT TRANSFORMER (PROTECTION) 3000/1A,15VA,CL-1. | 3000/1A | NO | 3
24 | CURRENT TRANSFORMER (PROTECTION) 630/1A,15VA,CL-1. | 630/1A | NO | 3
25 | CLOSING COIL FOR 3200A ACB | 3200A | NO | 3
26 | CLOSING COIL FOR 630A ACB | 630A | NO | 3
27 | TRIP COIL FOR 3200A ACB | 3200A | NO | 3
28 | TRIP COIL FOR 630A ACB | 630A | NO | 3
29 | VOLTAGE TRANSFORMER,415/110V,100VA,CL-1. | 100VA | NO | 2
30 | CONTROL SUPPLY TRANSFORMER,415V/110V,5KVA, CL-B. | 5KVA | NO | 1
31 | CONTROL SUPPLY TRANSFORMER,415V/240V,3KVA, CL-B. | 3KVA | NO | 1
32 | CONTROL SUPPLY TRANSFORMER,110V/24V,150VA, CL-B. | 150VA | NO | 1
33 | AMMETER 0-25A, 96SQMM. AC CT RATIO - 25/1A. | 0-25A | NO | 2
34 | AMMETER (0-50A), 96SQMM. AC CT RATIO 50/1A | 0-50A | NO | 2
35 | VOLTMETER,AC,0-500V,96SQ.MM. | 0-500V | NO | 2
36 | NUMERICAL RELAY COMPLETE SET (1 NO IN EACH TYPE) |  | NO | 1
37 | POWER CONTACTORS 16A | 16A | NO | 1
38 | POWER CONTACTORS 32A | 32A | NO | 1
39 | POWER CONTACTORS 25A | 25A | NO | 1
40 | POWER CONTACTORS 63A | 63A | NO | 1
41 | COILS FOR POWER CONTACTORS 16A | 16A | NO | 2
42 | COILS FOR POWER CONTACTORS 32A | 32A | NO | 2
43 | COILS FOR POWER CONTACTORS 25A | 25A | NO | 2
44 | COILS FOR POWER CONTACTORS 63A | 63A | NO | 2
45 | CONTROL TERMINAL BLOCKS |  | ST | 8
46 | POWER & CONTROL CIRCUIT FUSES (EACH TYPE & RATING) |  | NO | 10
47 | FSU 400A | 400A | NO | 2
48 | FSU 250A | 250A | NO | 2
49 | FSU 100A | 100A | NO | 2
50 | FSU 63A | 63A | NO | 2
51 | FSU 32A | 32A | NO | 2
52 | DP AIR BREAK SWITCHES (DC) EACH TYPE & RATING |  | NO | 2
53 | CONTROL SWITCHES OF EACH TYPE & RATING |  | NO | 3
54 | SELECTOR SWITCHES EACH TYPE & RATING |  | NO | 3
55 | INDICATING LAMP HOLDERS |  | NO | 25
56 | NEUTRAL LINKS (EACH TYPE & RATING) |  | NO | 10
57 | INDICATING LAMPS LED CLUSTERED TYPE,110V,AC-RED. | 110VAC | NO | 4
58 | INDICATING LAMPS LED CLUSTERED TYPE,110V,AC -GREEN. | 110VAC | NO | 4
59 | INDICATING LAMPS LED CLUSTERED TYPE,110V,AC-BLUE. | 110VAC | NO | 4
60 | INDICATING LAMPS LED CLUSTERED TYPE,110V,AC AMBER. | 110VAC | NO | 4
61 | INDICATING LAMPS LED CLUSTERED TYPE,110V,AC WHITE. | 110VAC | NO | 4
62 | INDICATING LAMPS LED CLUSTERED TYPE,240V,AC-RED. | 240VAC | NO | 4
63 | BUS BAR SUPPORT INSULATORS (EACH TYPE) |  | NO | 10
64 | VERTICAL BUS BAR SUPPORT INSULATORS (EACH TYPE) |  | NO | 10
65 | INDICATING LAMP LENS COVER (RED,GREEN,AMBER EACH) |  | NO | 5
66 | PUSH BUTTONS WITH ACTUATORS- RED |  | NO | 5
67 | PUSH BUTTONS WITH ACTUATORS- GREEN |  | NO | 5
68 | PUSH BUTTONS WITH ACTUATORS - BLACK |  | NO | 5
69 | MULTIPLICATION RELAY |  | NO | 2
70 | LOCKOUT RELAY |  | NO | 2
71 | INTERPOSING RELAY |  | NO | 2
72 | CURRENT TRANSDUCER 3000A/1A (WITH 4- 20MA DUAL OUTPUT) |  | NO | 2
73 | VOLTAGE TRANSDUCER 415V (WITH 4-20MA DUAL OUTPUT) |  | NO | 2
74 | PRIMARY DISCONNECT IN MCC (MALE/FEMALE CONTACT) FOR EACH FEEDER. |  | NO | 3
| 315A |  |  | 3
| 250A |  |  | 3
| 125A |  |  | 3
| 63A |  |  | 3
75 | SECONDARY DISCONNECT IN MCC (MALE/FEMALE CONTACT) FOR EACH FEEDER. |  | NO | 3
| 315A |  |  | 3
| 250A |  |  | 3
| 125A |  |  | 3
| 63A |  |  | 3
76 | BUSBAR ALUMINUM FLAT PIECES FOR HORIZONTAL MAIN BUS. |  | MR | 5
77 | BUSBAR ALUMINUM FLAT PIECES FOR HORIZONTAL NEUTRAL BUS. |  | MR | 5
78 | BUSBAR ALUMINUM FLAT PIECES FOR VERTICAL BUS. |  | MR | 5
79 | BUSBAR ALUMINUM FLAT PIECES FOR CONTROL BUS BAR COPPER. |  | MR | 5
80 | BUSBAR ANGLES/FORMED PIECE FOR BREAKER |  | ST | 1

## Annex-E1
1 | FACTORY BUILT ASSEMBLIES (PCC/MCC/DB) |  |  |  | UNIT PRICE | TOTAL
1.1 | Busbar supports (Horizontal) | 1 set of 3 | 1SET | 1
1.2 | Primary isolating contacts (Bus side) | 1 set of 3 | 1SET
| 100A | 1 set of 3 |  | 1
| 250A | 1 set of 3 |  | 1
| 400A | 1 set of 3 |  | 1
1.3 | Primary isolating contacts (Load side) | 1 set of 3 | 1SET
| 100A | 1 set of 3 |  | 1
| 250A | 1 set of 3 |  | 1
| 400A | 1 set of 3 |  | 1
1.4 | Secondary isolating contacts | 1 set of 3 | 1SET
| 100A | 1 set of 3 |  | 1
| 250A | 1 set of 3 |  | 1
| 400A | 1 set of 3 |  | 1
1.5 | Gaskets (each size) | Meter | 10 | 10
1.6 | Fixed Terminal (1way) | Nos. | 20 | 20
1.7 | Shrouds (for outgoing modules) | Nos. (of each physical size of module) | one for each physical size of module | 1
1.8 | Wire (for secondary wiring)
a. | 2.5 mm2 | Metres | 100 | 100
b. | 1.5mm2 | Metres | 100 | 100
1.9 | Lugs (for secondary wiring) | Nos. | 100 | 100
2 | Air Circuit Breaker
2.1 | Shunt trip coil | Nos | 1 | 1
| 800A | No |  | 1
| 1600A | No |  | 1
| 2000A | No |  | 1
| 2500A | No |  | 1
| 4000A | No |  | 1
2.2 | spring charging motor | Nos. | 1 motor of each rating | 1 motor of each rating
| 630A-1600A | No |  | 3
| 2000A-4000A | No |  | 3
2.3 | closing coil | Nos. | 1 | 1
| 800A | No. |  | 1
| 1600A | No. |  | 1
| 2000A | No. |  | 1
| 2500A | No. |  | 1
| 4000A | No. |  | 1
2.4 | Auxiliary switch | Nos. | 1 | 1
3 | ISOLATING SWITCH
3.1 | Main contact kit for each rating |  | 1 | 1 set of 3 poles
| 32A | No |  | 1
| 63A | No |  | 1
| 125A | No |  | 1
| 400A | No |  | 1
4 | POWER CONTACTORS
4.1 | Contactor coil (110V AC) |  | 1
| 16A | No. |  | 1
| 32A | No. |  | 1
| 63A | No. |  | 1
| 80A | No. |  | 1
| 115A | No. |  | 1
| 185A | No. |  | 1
| 265A | No. |  | 1
| 400A | No. |  | 1
4.2 | Contacts kit (main) |  | 1 | 1 set of 3 poles
| 16A | No. |  | 1
| 32A | No. |  | 1
| 63A | No. |  | 1
| 80A | No. |  | 1
| 115A | No. |  | 1
| 185A | No. |  | 1
| 265A | No. |  | 1
| 400A | No. |  | 1
5 | AUXILIARY CONTACTORS
5.1 | Complete unit with 2NO + 2NC contacts |  | 1 no. of each rating/type | 1 no. of each rating / type
| 2NO + 2NC AC | No |  | 1
| 2NO + 2NC DC | No |  | 1
5.2 | Contactor coils
a. | 110V AC | No | 1 | 1
b. | 220 V DC | No | 1 | 1
6 | HRC FUSE
6.1 | Fuse base (each rating) | No | 1 | 1
6.2 | Fuse link:
a. | UPTO 40A | Nos. | 10 | 10
b. | 63A TO 200A | Nos. | 10 | 10
c. | 250A TO 400A | Nos. | 5 | 5
7 | PUSH BUTTONS
6.1 | Actuator contacts | Nos. | 5 | 5
6.2 | Element | Nos. | 5 | 5
8 | INDICATING CLUSTER LED
8.1 | Complete unit | Nos. | 10 | 10
9 | OTHERS
9.1 | Selector & control switch (each type) | Nos | 1 | 1
| ASS | No |  | 1
| VSS | No. |  | 1
| Breaker Control Switch | No. |  | 1
| Local Remote | No. |  | 1
| 2P 2A ON/OFF | No. |  | 1
9.2 | AC Voltmeter (0-500V) | No. | 1 | 1

## Annex-E2
SL.NO | Description | Rating | unit | Total Qty | UNIT PRICE | TOTAL PRICE
1 | POWER FUSE LINK FOR RAPPING MOTOR FEEDER | 6A | EA | 20
2 | POWER FUSE LINK FOR SHAFT INSULATOR FEEDER | 16A | EA | 6
3 | POWER FUSE LINK FOR HOPPER HEATER FEEDER | 32A | EA | 20
4 | POWER FUSE LINK FOR EOH FEEDER | 32A | EA | 3
5 | CONTROL FUSE LINK(COMPLETE SET) | 4A | SET | 3
6 | POWER FUSE LINK ASH LEVEL HIGH FEEDER | 6A | EA | 9
7 | INDICATING LAMP WITH LENS ASSEMBLY - RED | 110VAC | EA | 10
8 | INDICATING LAMP WITH LENS ASSEMBLY- GREEN | 110VAC | EA | 10
9 | INDICATING LAMB WITH LENS ASSEMBLY- AMBER | 110VAC | EA | 10
10 | DRAWOUT CONTROL TERMINAL BLOCKS (FIXED) |  | SET | 10
11 | DRAWOUT CONTROL TERMINAL BLOCKS (MOVING) |  | SET | 10
12 | BREAKER DRAWOUT HANDLE |  | EA | 8
13 | BREAKER HANDLING TROLLEY |  | EA | 1
14 | 300MM DUMMY PANEL | 3200A | EA | 4
15 | POWER FUSE FOR OPACITY MONITOR FEEDER | 10A | EA | 6
16 | Insulated fuse pulling handle |  | EA | 8

## Annex-G
ANNEXURE-G
SITE MODIFICATION CHARGES
(SL No. 11 of Main Price list)
SL.NO. | DETAILS | QUANTITY | UNIT PRICE | TOTAL PRICE
1 | LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR SKILLED TECHNICIAN (EXCEPT DAILY CHARGES) | 2 VISITS
2 | LUMP SUM ALL INCLUSIVE DAILY CHARGES FOR SKILLED TECHNICIAN | 10 DAYS
3 | LUMP SUM ALL INCLUSIVE CHARGES PER VISIT FOR SERVICE ENGINEER (EXCEPT DAILY CHARGES) | 3 VISITS
4 | LUMP SUM ALL INCLUSIVE DAILY CHARGES FOR SERVICE ENGINEER | 15 DAYS
TOTAL
NOTES:
1) AMOUNT PAYABLE FOR SKILLED TECHNICIAN PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 1 ABOVE + (DAILY CHARGES AS PER SL. NO. 2 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE)
2) AMOUNT PAYABLE FOR SERVICE ENGINEER PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 3 ABOVE + (DAILY CHARGES AS PER SL. NO. 4 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE)

## Annex-H
ANNEXURE-H
COMMISSIONING CHARGES FOR NUMERICAL RELAYS
AT SITE (SL No.12 of Main Price list)
SNO | DETAILS | QUANTITY | UNIT PRICE | TOTAL PRICE
1 | LUMP SUM ALL INCLUSIVE CHARGES PER NUMERICAL RELAY COMMISSIONING (INCLUDING CONVENCE TO SITE, BOARDING AND LOADGING) | 35
NOTE:
AMOUNT PAYABLE FOR NUMERICAL RELAY COMMISSIONING =UNIT PRICE FOR COMMISSIONING CHARGES AS PER SL.NO.1 ABOVE x NO. OF RELAYS COMMISSIONED (SAME TO BE CERTIFIED BY BHEL)

## Annex-I
SL. NO. | ITEM DESCRIPTION | QUANTITY | UNIT PRICE(EX- WORKS) RS. | TOTAL PRICE( RS. )
1 | ACB RACKING HANDLE | 10
2 | MODULE RACKING HANDLE | 30
3 | FUSE PULLERS | 15
4 | TROLLEY FOR ACB HANDLING | 2
TOTAL |  |  |  | 0

## Annex-D
SL.NO. | ITEM DESCRIPTION | MODEL NO./ ITEM DESCRIPTION | UNIT PRICE (Rs.)
1 | INCOMING FEEDER UNIT
a) | ACB Incomer to PCC/PMCC from Trafo. - Module Type DAET (I/C)
630A
1000A
1600A
2000A
2500A
3000A
4000A
b) | SFU Incomer for MLDB/ELDB – Module Type EM3 (I/C)
200A – Fixed Type
125A – Fixed Type
200A – Fixed Type
250A – Fixed Type
400A – Fixed Type
630A – Fixed Type
125A – Drawout Type
200A – Drawout Type
200A – Drawout Type
250A – Drawout Type
400A – Drawout Type
630A – Drawout Type
c) | SFU Incomer for MCC / ACDB – Module Type E3 (I/C)
Upto 63A – Fixed Type
Upto 63A – Drawout Type
2 | BUSCOUPLER UNIT
a) | ACB Buscoupler to PCC/PMCC/MCC from Trafo. - Module Type DAET/ DAE (B/C)
630A
800A
1000A
1600A
2000A
2500A
3000A
4000A
b) | SFU Buscoupler for MLDB – Module Type EM3 (B/C)
Upto 63A – Fixed Type
125A – Fixed Type
200A – Fixed Type
200A – Fixed Type
250A – Fixed Type
400A – Fixed Type
630A – Fixed Type
Upto 63A – Drawout Type
125A – Drawout Type
200A – Drawout Type
200A – Drawout Type
250A – Drawout Type
400A – Drawout Type
630A – Drawout Type
3 | Outgoing ACB supply feeder - Module Type DAE/DAE-TIE (O/G)
630A
800A
1000A
1600A
3000A
4 | Outgoing ACB motor feeder - Module Type DM/PM (controlled from DDCMIS/PLC)
90.1- 200KW
5 | DOL Motor Starter - Unidirectional Drive(SFU CONTROLLED) - Drawout Type
a) | Module Type DK2/PK2/AK2 (Controlled from DDCMIS/PLC/ATRS)
Upto 5.5KW
5.6 - 7.0KW
7.1 - 13KW
13.1 - 24KW
24.1 – 29.9KW
b) | Module Type DK21/PK21/AK21 (Controlled from DDCMIS/PLC/ATRS)
30.0 - 37.0KW
37.1 - 40KW
40.1 - 50.0KW
50.1 - 75KW
75 - 90KW
6 | RDOL Motor Starter – Bidirectional Drive(SFU CONTROLLED) Drawout Type
a) | Module Type DN1/ PN1/ AN1 (Controlled from DDCMIS/PLC/ATRS)
Upto 5.5KW
5.6 - 7.0KW
7.1 - 13KW
13.1 - 24KW
24.1 – 29.9KW
7 | Outgoing MCCB/ SFU controlled feeders
a) | Outgoing SFU controlled supply feeder - Module Type E3 (O/G)
upto 10A - Fixed type
16A - Fixed type
25A - Fixed type
32A - Fixed type
63A - Fixed type
125A - Fixed type
160A - Fixed type
200A - Fixed type
250A - Fixed type
400A - Fixed type
600A - Fixed type
upto 10A - Drawout type
16A - Drawout type
25A - Drawout type
32A - Drawout type
63A - Drawout type
125A - Drawout type
160A - Drawout type
200A - Drawout type
250A - Drawout type
400A - Drawout type
600A - Drawout type
b) | Outgoing MCCB controlled supply feeder - Module Type E3 (O/G)
16A - Fixed type
32A - Fixed type
63A - Fixed type
125A - Fixed type
160A - Fixed type
200A - Fixed type
250A - Fixed type
400A - Fixed type
600A - Fixed type
16A - Drawout type
32A - Drawout type
63A - Drawout type
125A - Drawout type
160A - Drawout type
200A - Drawout type
250A - Drawout type
400A - Drawout type
600A - Drawout type
c) | Double pole SFU controlled 1-ph feeder - E1 (O/G)
10A - Fixed type
16A - Fixed type
25A - Fixed type
32A - Fixed type
63A - Fixed type
10A - Drawout type
16A - Drawout type
25A - Drawout type
32A - Drawout type
63A - Drawout type
d) | Double pole MCCB controlled 1-ph feeder - E1 (O/G)
16A - Fixed type
32A - Fixed type
63A - Fixed type
125A - Fixed type
16A - Drawout type
32A - Drawout type
63A - Drawout type
125A - Drawout type
e) | 1-Ph SFU controlled outgoing contactor feeder (EA1)
10A - Fixed type
16A - Fixed type
25A - Fixed type
32A - Fixed type
63A - Fixed type
10A - Drawout type
16A - Drawout type
25A - Drawout type
32A - Drawout type
63A - Drawout type
f) | 1-Ph MCCB controlled outgoing contactor feeder (EA1)
16A - Fixed type
32A - Fixed type
63A - Fixed type
16A - Drawout type
32A - Drawout type
63A - Drawout type
g) | 3-Ph SFU controlled outgoing contactor feeder (EA3)
10A - Fixed type
16A - Fixed type
25A - Fixed type
32A - Fixed type
63A - Fixed type
125A - Fixed type
200A - Fixed type
250A - Fixed type
400A - Fixed type
600A - Fixed type
10A - Drawout type
16A - Drawout type
25A - Drawout type
32A - Drawout type
63A - Drawout type
125A - Drawout type
200A - Drawout type
250A - Drawout type
400A - Drawout type
600A - Drawout type
7 | Common Auxiliary Module
a) | PT module
i | Bus PT module for PCC/PMCC-G1 Type
ii | Bus PT module for MLDB/ELDB VM TYPE
b) | Space heater and Power Socket - TT
c) | 110V AC control supply module – Type CS (consisting of 415/110V control Trafo.)
1KVA
2KVA
2.5KVA
3KVA
5KVA
7.5KVA
10KVA
d) | 110V AC control supply module – Type CS-A (consisting of 415/110V control Trafo.)
1KVA
2KVA
2.5KVA
3KVA
5KVA
7.5KVA
10KVA
e) | 240 V AC Panel Space hetaing supply module – type SH (consisting of 415/240V control Trafo.)
1KVA
2KVA
2.5KVA
3KVA
5KVA
7.5KVA
10KVA
8 | Empty Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | MCC Panel (Double Front Drawout Type)
250 / 250A
400 / 400A
630 / 630A
800 / 630A
1000 / 630A
1600 / 630A
2000 / 630A
2500 / 630A
3000 / 630A
4000 / 630A
b) | MCC Panel (Double Front Fixed Type)
250 / 250A
400 / 400A
630 / 630A
800 / 630A
1000 / 630A
1600 / 630A
2000 / 630A
2500 / 630A
3000 / 630A
4000 / 630A
c) | 220V DCDB Panel (Double Front Fixed type)
UPTO 630A (with 630A VBB)
1000A (with 630A VBB)
1600A (with 630A VBB)
d) | 220V DCDB Panel (Double Front Drawout type)
UPTO 630A (with 630A VBB)
1000A (with 630A VBB)
1600A (with 630A VBB)
9 | Empty Panel With Horizontal & Vertical Busbar, Support & Auxiliary Busbar
a) | PCC Panel (Single Front Drawout Type)
1600 / 1600A
2000 / 2000A
2500 / 2500A
3000 / 3000A
4000 / 4000A
b) | MCC Panel (Single Front Drawout Type)
250 / 250A
400 / 400A
630 / 630A
800 / 630A
1000 / 630A
1600 / 630A
2000 / 630A
2500 / 630A
3000 / 630A
4000 / 630A
c) | MCC Panel (Single Front Fixed Type )
250 / 250A
400 / 400A
630 / 630A
800 / 630A
1000 / 630A
1600 / 630A
2000 / 630A
2500 / 630A
3000 / 630A
4000 / 630A
d) | 220V DCDB Panel (Single Front Fixed Type)
UPTO 630A (with 630A VBB)
1000A (with 630A VBB)
1600A (with 630A VBB)
e) | 220V DCDB Panel (Single Front Fixed Type)
UPTO 630A (with 630A VBB)
1000A (with 630A VBB)
1600A (with 630A VBB)
10 | ACB Panel with Horizontal & Vertical Busbar, Support & Auxiliary Busbar
630 / 630A
800 / 630A
800 / 800A
1000 / 630A
1000 / 800A
1000 / 1000A
1600 / 630A
1600 / 800A
1600 / 1000A
1600 / 1600A
2000 / 630A
2000 / 800A
2000 / 1000A
2000 / 1600A
2000 / 2000A
2500 / 630A
2500 / 800A
2500 / 1000A
2500 / 1600A
2500 / 2000A
2500 / 2500A
3000 / 630A
3000 / 800A
3000 / 1000A
3000 / 1600A
3000 / 2000A
3000 / 2500A
3000 / 3000A
4000 / 630A
4000 / 800A
4000 / 1000A
4000 / 1600A
4000 / 2000A
4000 / 2500A
4000 / 3000A
4000 / 4000A
11 | Dummy Panel
UPTO 630A
800A
1000A
1600A
2000A
2500A
3000A
4000A