PRE-QUALIFICATION REQUIREMENT

REF: TENDER REFERENCE NO. 12301465

Technical PQR

- Company shall be ISO 9001 Certified. - Bidder shall have manufacturing facility for 100 Verticals per Month to be certified by Chartered Engineer/Accountant or Factory license officer. - Credential on LV switchgear supplies made to Power Plant Customers/Utilities/Similar Industries in the past Five years. The supply should include at least 30 Breaker Verticals and 50 MCC verticals in a single contract. - To register Vendors in Fixed/Draw out Category the Vendor must have proven Fixed/Draw out Single Front Design, Double front Design working for the past three years in Power Plant or similar environment. - Valid Type Test Certificates complying with IEC 60439/61439/Equivalent or Higher standards. - Credentials of Supply made in the past two years with details of documents on the supply to be submitted for evaluation to prove continuity in the business. - Vendor do not possess any Design/ Manufacture/ Assemble/Testing Facility but are only Channel partners/Dealers of OEM are also qualified subject to engineering back up and warranty/guarantee for product from OEM.

Financial PQR:

- Bidder should have average minimum Annual Turnover of Rs. 10 Cr. During the last 3 (THREE) Financial Years, ending on 31-03-2017