## Annexure-1
Estimate Sheet for Type Test - Annexure-1 | [5 empty] | Dt. 15.02.2020
Sl. No. | IEC Std. no. | IEC Test Description | Qty. | Unit Cost (Rs.) | Total Cost (Rs.) | Remark
1 | IEC 61215-1, 61215-1-1, 61215-2 : 2016 & IEC 61730 part 1 & 2 : 2016. (Test report for IS 14286 : 2010, IS/IEC 61730-1 & 2 : 2004 & Fire test shall also be provided along with IEC test reports for all the 12 Sets.) | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | * | 0 | 0 | * Qunatity is provided in Annexure-2, , Unit test charge shall be total of 12 Setss, as per annexure-2.
2 | IEC 61215-1, 61215-1-1, 61215-2 : 2016 & IEC 61730 part 1 & 2 : 2016 & Fire test | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | * | 0 | 0 | * Qunatity is provided in Annexure-2, , Unit test charge shall be total of 12 Setss, as per annexure-2.
3 | IS 14286 : 2010, IS/IEC 61730-1 & 2 : 2004 | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | * | 0 | 0 | * Qunatity is provided in Annexure-2, , Unit test charge shall be total of 12 Setss, as per annexure-2.
Total |  |  |  |  | 0 | Exclusive of GST
Remarks :
1. Vendor to provide testing charges for all the above tests and Sets in Annexure-2, accordingly corresponding testing charges will update in this sheet (Annexure-1).
2. Lab to provide year of the IEC standards under which above all the individual test will be performed, for our information.
3. Lab to provide total time duration for performing tests including final test reports from the date of samples received at their lab.
4. Lab shall provide accredited certificate issued from NABL / ILAC / IECEE member signatory for all the above tests.

## Annexure-2
Annexure-2 | [16 empty] | Dt. 15.02.2020
Sl. No. | IEC Std. no. | IEC Test Description | Unit Cost (Rs.) | [13 empty] | Remark
|  |  | Sec. BOM (Set-1) | Sec. BOM (Set-2) | Sec. BOM (Set-3) | Sec. BOM (Set-4) | Sec. BOM (Set-5) | Sec. BOM (Set-6) | Sec. BOM (Set-7) | Sec. BOM (Set-8) | Sec. BOM (Set-9) | Sec. BOM (Set-10) | Sec. BOM (Set-11) | Sec. BOM (Set-12) | Sec. BOM (Set-13) | Sub Total
1 | IEC 61215-1, 61215-1-1, 61215-2 : 2016 & IEC 61730 part 1 & 2 : 2016. (Test report for IS 14286 : 2010, IS/IEC 61730-1 & 2 : 2004 & Fire test shall also be provided along with IEC test reports for all the 12 Sets.) | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | Not required | [12 empty] | 0 | For 12 Set
2 | IEC 61215-1, 61215-1-1, 61215-2 : 2016 & IEC 61730 part 1 & 2 : 2016 & Fire test | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | Not required | [12 empty] | 0 | For 12 Set
3 | IS 14286 : 2010, IS/IEC 61730-1 & 2 : 2004 | Terrestrial photovoltaic (PV) modules – Design qualification and type approval & Photovoltaic (PV) module safety qualification along with Fire test | Not required | [12 empty] | 0 | For 12 Set
Remarks :
1. Vendor to provide testing charges for all the above tests and Sets except the place where "not required" mentioned.
2. BOM details are proived in annexure-3.

## Annexure-3
BOM details | [11 empty] | Annexure-3
SL No. | BOM | Cell | Cell Interconnects | Bus bars | Junction Box | EVA | Back sheet | Aluminum Frame | Glass | Adhesive | Potting material for JB | Remark
| Tested BOM-1 | Make-1 Multi | Make-1 | Make-1 | Make-1 | Make-1 | Make-1 | Make-1 | Make-1 | Make-1 | Make-1 | CB & IEC certification for 2016 version & IS 14286, IS/IEC 61730-1& 2, with 1000V system, CB & IEC's report will be provided by BHEL at later stage, This test & BOM is not part of this tender. | BOM-4 & 5 : Secondary BOM-5BB (Set-3) IEC & IS
1 | Secondary BOM (Set-1) | Make-1 Multi | Make-2 | Make-2 | Make-2 | Make-2 | Make-2 | Make-2 | Make-2 | Make-1 | Make-1 | Change in Cell Interconnects, Bus bars, Junction Box, EVA, Backsheet, AL. Frame & Glass compared to Tested BOM-1 | BOM-5 : Primary-1 BOM-5BB, 1000V, IEC
| Tested BOM-2 | Make-1 Multi | Make-2 | Make-2 | Make-2 | Make-2 | Make-3 | Make-3 | Make-2 | Make-1 | Make-1 | CB & IEC certification for 2016 version & IS 14286, IS/IEC 61730-1& 2, with 1000V system, CB & IEC's report will be provided by BHEL at later stage, This test & BOM is not part of this tender. | BOM-6 : Primary-2 BOM-5BB, 1000V, IEC & IS, WO Placed.
2 | Secondary BOM (Set-2) | Make-1 Multi | Make-3 | Make-3 | Make-3 | Make-2 | Make-2 | Make-4 | Make-2 | Make-1 | Make-1 | Change in Cell Interconnects, Bus bars, Junction Box & AL. Frame compared to Set-1 | BOM-7 : 1000V, IEC & IS
3 | Secondary BOM (Set-3) | Make-2 Multi | Make-4 | Make-4 | Make-3 | Make-2 | Make-2/3 | Make-5 | Make-2 | Make-1 | Make-1 | Change in Cell, Cell Interconnects, Bus bars, Backsheet, JB & AL. Frame compared to Set-1 | BOM-8 : 1000V, IEC & IS
4 | Secondary BOM (Set-4) | Make-3 Multi | Make-5 | Make-5 | Make-2 | Make-3 | Make-4 | Make-6 | Make-2 | Make-1 | Make-1 | Change in Cell, Cell Interconnects, Bus bars, EVA, Backsheet & AL. Frame compared to Set-1 | BOM-9 : 1000V, IEC & IS
[5 empty] | Make-3 | [6 empty] | Change in Cell, Cell Interconnects, Bus bars, EVA, Backsheet & AL. Frame compared to Set-2
5 | Secondary BOM (Set-5) | Make-2 Multi | Make-4 | Make-4 | Make-4 | Make-4 | Make-5 | Make-5 | Make-3 | Make-2 | Make-2 | Change in JB, EVA, Backsheet & Glass, Adhesive & Potting material for JB compared to Set-3 | BOM-10 : 1000V, IEC & IS
System voltage to be change from 1000V to 1500V system level, 1500V system level shall be followed for all the below BOM's.
6 | Secondary BOM (Set-6) | Make-1 Multi | Make-3 | Make-3 | Make-5 | Make-2 | Make-6 | Make-3 | Make-2 | Make-1 | Make-1 | Change in Cell Interconnects, Bus bars, JB & Backsheet compared to Tested BOM-2. | BOM-11 : PIR 1500V, Multi, IEC & IS
7 | Secondary BOM (Set-7) | Make-2 Multi | Make-6 | Make-6 | Make-5 | Make-2 | Make-7 | Make-7 | Make-2 | Make-1 | Make-1 | Change in Cell, Cell Interconnects, Bus bars, Backsheet, AL. Frame compared to Set-6 | BOM-12 : Project, 1500V, Multi, IEC & IS
8 | Secondary BOM (Set-8) | Make-2 Multi | Make-6 | Make-6 | Make-6 | Make-5 | Make-7 | Make-7 | Make-2 | Make-1 | Make-1 | Change in JB & EVA compared to Set-7 | BOM-13 : Project, 1500V, Multi, IEC & IS
9 | Secondary BOM (Set-9) | Make-3 Multi | Make-7 | Make-7 | Make-7 | Make-6 | Make-8 | Make-8 | Make-4 | Make-3 | Make-3 | Change in Cell, Cell Interconnects, Bus bars, JB, EVA, Backsheet, AL. Frame, Glass, Adhesive & Potting material for JB compared to Set-6 | BOM-14 : Project, 1500V, Multi, IEC & IS
10 | Secondary BOM (Set-10) | Make-4 MONO | Make-3 | Make-3 | Make-5 | Make-2 | Make-6 | Make-3 | Make-2 | Make-1 | Make-1 | Change in Cell compared to Tested BOM-6 | BOM-15 : PIR, 1500V, Mono PERC, IEC & IS
11 | Secondary BOM (Set-11) | Make-5 MONO | Make-8 | Make-8 | Make-5 | Make-2 | Make-8 | Make-9 | Make-2 | Make-1 | Make-1 | Change in Cell, Cell Interconnects, Bus bars, Backsheet & AL. Frame compared to Set-10 | BOM-16 : Project, 1500V, Mono PERC, IEC & IS
12 | Secondary BOM (Set-12) | Make-5 MONO | Make-8 | Make-8 | Make-8 | Make-7 | Make-8 | Make-9 | Make-2 | Make-1 | Make-1 | Change in JB & EVA compared to Set-11 | BOM-17 : Project, 1500V, Mono PERC, IEC & IS
13 | Secondary BOM (Set-13) | Make-6 MONO | Make-9 | Make-9 | Make-9 | Make-8 | Make-9 | Make-10 | Make-5 | Make-5 | Make-4 | Change in Cell, Cell Interconnects, Bus bars, JB, EVA, Backsheet, AL. Frame, Glass, Adhesive & Potting material for JB compared to Set-10 | BOM-18 : Project, 1500V, Mono PERC, IEC & IS