## Price Bid
Description of Item | HSN Code | Unit | Quantity | Unit Price Ex-works Prices (INR) | Total Ex-Works Prices (INR) | GST on Ex-works Prices (in % only) | GST amount on Ex-works Prices (in INR) | Unit Freight & Insurance charges (in INR only) | Total Freight & Insurance charges (in INR only) | GST on Freight & Insurance charges (in % only) | GST amount on Freight & Insurance charges (in INR) | TOTAL Supply Prices(FOR Destination) (INR)
SUPPLY- CIRCUIT BREAKER : 420KV, 50KA FOR 3S, 31MM/KV CREEPAGE, 3150A, 3 PHASE CIRCUIT BREAKER WITHOUT PIR, WITH CONTROL SWITCHING CAPABILITY, ALONGWITH SUPPORT STRUCTURE, INTERPOLE CABLES, OPERATING MECHANISM, CONTROL BOXES AND ALL ACCESSORIES COMPLETE IN ALL RESPECT |  | SET | 1
SUPPLY- CIRCUIT BREAKER : SPECIAL CABLES FOR CB / CSD / RP INTERFACING. MODE OF MEASUREMENT SHALL BE CABLE-TRENCH RUNNING LENGTH FROM CIRCUIT BREAKER TO CSD/ RELAY PANEL |  | MTR | 350
SUPPLY- CIRCUIT BREAKER : CONTROLLED SWITCHING DEVICE FOR 3-PH CIRCUIT BREAKER |  | SET | 1
SPARES- CIRCUIT BREAKER : AUXILLARY CONTACTOR, INDICATING LAMPS , FUSES FOR ELECTRICAL CONTROL CIRCUIT |  | SET | 2
SPARES- CIRCUIT BREAKER : SF6 GAS DENSITY SWITCH CUM PRESSURE GAUGE |  | No | 1
SPARES- CIRCUIT BREAKER : AUXILIARY SWITCH ASSEMBLY |  | No | 5
SPARES- CIRCUIT BREAKER : PRESSURE SWITCH FOR COMPRESSED AIR (IF APPLICABLE) OF EACH TYPE |  | No | 2
SPARES- CIRCUIT BREAKER : TRIP COIL ASSEMBLY |  | No | 2
SPARES- CIRCUIT BREAKER : CLOSING COIL ASSEMBLY |  | No | 2
SPARES- CIRCUIT BREAKER : GASKET (OF EACH TYPE) |  | SET | 1
SPARES- CIRCUIT BREAKER : SF6 GAS FILLING ADOPTER, INCLUDING COUPLING, REGULATOR, CONNECTING HOSE PIPE UP TO GROUND LEVEL |  | SET | 1
SPARES- CIRCUIT BREAKER : AUXILIARY RELAY (EACH TYPE ) |  | No | 2
SPARES- CIRCUIT BREAKER : CONTROL SWITCH |  | No | 1
SPARES- CIRCUIT BREAKER : SELECTOR SWITCH |  | No | 1