## Price Bid
Description of Item | HSN Code | Unit | Quantity | Unit Price Ex-works Prices (INR) | Total Ex-Works Prices (INR) | GST on Ex-works Prices (in % only) | GST amount on Ex-works Prices (in INR) | Unit Freight & Insurance charges (in INR only) | Total Freight & Insurance charges (in INR only) | GST on Freight & Insurance charges (in % only) | GST amount on Freight & Insurance charges (in INR) | TOTAL Supply Prices(FOR Destination) (INR)
SUPPLY: BATTERY CHARGER- 48V, 50A, FLOAT CUM BOOST CHARGER CUM DISTRIBUTION BOARD COMPLETE IN ALL RESPECT |  | SET | 1
SUPPLY: BATTERY CHARGER- 48V DC, TEMPERATURE SENSOR WITH ASSOCIATED ACCESSOROIES & CABLE (10 METRE FOR EACH BATTERY) IN SINGLE LENGTH |  | SET | 1
SPARES-BATTERY CHARGER : 48V DC,AMMETER AND VOLTMETER OF EACH TYPE USED |  | NO | 1
SPARES-BATTERY CHARGER : 48V DC,SHUNT RESISTOR OF EACH TYPE USED IN CHARGER |  | NO | 1
SPARES-BATTERY CHARGER : 48V DC, DIODE/THYRISTOR OR MODULE OF EACH TYPE USED |  | NO | 3
SPARES-BATTERY CHARGER : 48V DC, PRINTED CIRCUIT CARDS OF EACH TYPE USED |  | NO | 2
SPARES-BATTERYBCHARGER : 48V DC, SEMI CONDUCTING TYPE FAST FUSE |  | NO | 20
SPARES-BATTERY CHARGER : 48V DC, AUXILIARY FUSE |  | NO | 20
SPARES-BATTERY CHARGER : 48V DC, AUTO TRANSFORMER |  | NO | 1
SPARES-BATTERY CHARGER 48V DC, SPECIAL TOOLS AND TACKLES |  | SET | 1