## Price Bid
Description of Item | HSN Code | Unit | Quantity | Unit Price Ex-works Prices (INR) | Total Ex-Works Prices (INR) | GST on Ex-works Prices (in % only) | GST amount on Ex-works Prices (in INR) | Unit Freight & Insurance charges (in INR only) | Total Freight & Insurance charges (in INR only) | GST on Freight & Insurance charges (in % only) | GST amount on Freight & Insurance charges (in INR) | TOTAL Supply Prices(FOR Destination) (INR)
SUPPLY-DISTRIBUTION BOARD : 415V AC 3 PHASE, 50KA, 4 WIRE, AC |  | Set | 1
SUPPLY-DISTRIBUTION BOARD : 415V AC 3 PHASE,50KA, 250A, 4 WIRE, EMERGENCY POWER DISTRIBUTION BOARD |  | SET | 1
SUPPLY-DISTRIBUTION BOARD : 415V AC 3 PHASE, 250A, 4-WIRE, MAIN LIGHTING DB (INCLUDING 2 NO. 150KVA, 415/415V LIGHTING TRANSFORMER) |  | SET | 1
SUPPLY-DISTRIBUTION BOARD : 415V AC 3PHASE, 100A, 4-WIRE, EMERGENCY LIGHTING DB (INCLUDING 1 NO. 50KVA, 415/415V LIGHTING TRANSFORMER) |  | SET | 1
SUPPLY-DISTRIBUTION BOARD : 220V DC,25KA, 125A DC DISTRIBUTION BOARD |  | SET | 1
SUPPLY-DISTRIBUTION BOARD : 48V DC, 25KA, 63A DC DISTRIBUTION BOARD |  | SET | 1
SUPPLY-DISTRIBUTION BARD : 125A FUSE(DP) BOX FOR 220V BATTERY |  | SET | 2
SUPPLY-DISTRIBUTION BOARD : 63A FUSE (DP) BOX FOR 48V BATTERY |  | SET | 1
SPARES-DISTRIBUTION BOARD : COMPLETE POLE OF BREAKER |  | NO | 1
SPARES-DISTRIBUTION BOARD : SPRING CHARGING MOTOR |  | NO | 6
SPARES-DISTRIBUTION BOARD : AUX CONTACT SET |  | SET | 12
SPARES-DISTRIBUTION BOARD : LIMIT SWITCHES |  | NO | 6
SPARES-DISTRIBUTION BOARD : ARC CHUTES |  | NO | 4
SPARES-DISTRIBUTION BOARD : FIXED CONTACT |  | SET | 6
SPARES-DISTRIBUTION BOARD : MOVING CONTACT |  | SET | 6
SPARES-DISTRIBUTION BOARD : ARCING CONTACT |  | SET | 6
SPARES-DISTRIBUTION BOARD : CHARGING SPRING |  | NO | 3
SPARES-DISTRIBUTION BOARD : CURRENT TRANSFORMER (METERING) |  | NO | 3
SPARES-DISTRIBUTION BOARD : CURRENT TRANSFORMER(PROTECTION) |  | NO | 3
SPARES-DISTRIBUTION BOARD : CLOSING COIL |  | NO | 12
SPARES-DISTRIBUTION BOARD : TRIPPING COIL |  | NO | 12
SPARES-DISTRIBUTION BOARD : CT FOR BIMETAL O/L RELAYS |  | NO | 1
SPARES-DISTRIBUTION BOARD : VOLTAGE TRANSFORMER |  | NO | 3
SPARES-DISTRIBUTION BOARD : CANTROL SUPPLY TRANSFORMER |  | NO | 1
SPARES-DISTRIBUTION BOARD : AMMETER |  | NO | 1
SPARES-DISTRIBUTION BOARD : VOLTMETER |  | NO | 1
SPARES-DISTRIBUTION BOARD : RELAYS |  | NO | 1
SPARES-DISTRIBUTION BOARD : POWER CONTACTOR |  | NO | 5
SPARES-DISTRIBUTION BOARD : COIL OF POWER CONTACTOR |  | NO | 10
SPARES-DISTRIBUTION BOARD : AIR BREAK SWITCHES |  | SET | 1
SPARES-DISTRIBUTION BOARD : DP AIR BREAK SWITCHES (DC) |  | NO | 2
SPARES-DISTRIBUTION BOARD : CANTROL AND INSTRUMENT SWITCHES |  | SET | 1
SPARES-DISTRIBUTION BOARD : CANTROL FUSE & NETURAL LINKS |  | SET | 1
SPARES-DISTRIBUTION BOARD : INDICATING LAMP USED INCLUDING ASSEMBLIES OF EACH TYPE |  | SET | 1
SPARES-DISTRIBUTION BOARD : BUS BAR SUPPORT INSULATORS |  | SET | 1
SPARES-DISTRIBUTION BOARD : BUS DUCT FLEXIBLE CONNECTORS |  | NO | 1
SPARES-DISTRIBUTION BOARD : PRIMARY DISCONNECT IN MCC (MALE/FEMALE CONTACT SET) |  | SET | 1
SPARES-DISTRIBUTION BOARD : PUSH BUTTON |  | SET | 1
SPARES-DISTRIBUTION BOARD : POWER FUSE |  | SET | 1
SPARES-DISTRIBUTION BOARD : THERMAL BIMETAL RELAYS |  | NO | 6
SAPERS-DISTRIBUTION BOARD : INDICATION LAMP HOLDERS COMPLETE |  | SET | 1
SPARES-DISTRIBUTION BOARD : MAINTENANCE TOOLS AND ACCESSORIES FOR MAINTENACE |  | NO | 6
SPARES-DISTRIBUTION BOARD : TERMINAL BLOCKS |  | SET | 1
SPARES-DISTRIBUTION BOARD : BUS BAR ALUMINIUM FLAT PIECES |  | SET | 1
SPARES-DISTRIBUTION BOARD : BUS BAR ANGLES/FORMED PIECES FOR BREAKER |  | NO | 1