## SG AHP PF Indian Bidder
[5 empty] | Date: | 24.07.2019
UNPRICE BID FORMAT FOR INDIAN BIDDERS
ENQUIRY NO.77/19/6041/SK DATED 24.07.2019, Enquiry Specification No:IS-4-EQ-724-100-M002,
PROJECT – 1 x 660 MW WBPDCL SAGARDIGHI THERMAL POWER PLANT-CHP CONVEYOR PACKAGE
All Figures are in Rupees
Sl No | Description | Units (1) | Qty (2) | Unit Ex-works price including Freight, Packing & Forwarding Charges (3) Rs | Total Ex-works price including, Freight, Packing & Forwarding charges (Rs.) (4=2X3) Rs | GST % as applicable (5) % | HSN No./ SAC Code (6)
A | CHP CONVEYOR PACKAGE: Comprises of all list items & accessories described in Technical Enquiry Specification and listed below, which includes Design, Engineering, Manufacturing, Inspection, Supply, Transportation, Unloading, receipt at site, construction of closed store & open storage at site, Preservation & Security, Erection, supply of consumable till handing over, all associated minor civil works, Trial run, commissioning, Functional testing, Handing over & Demonstration of Performance Guarantee) & integration with Coal handling plant with Mechanical and electrical accessories.
A.1 | Conveyor System as per layout and technical specification complete with necessary supporting structure, platforms, idlers, pulleys, fixed trippers, take-ups, conveyor belting, motors, gear-boxes, couplings, direct hydraulic drive unit, hold-backs, brakes(if required), hopper and chutes, flap gates, skirt boards, deck plates, belt cleaning devices, pull chord switches, belt sway switches, zero speed switches, crossovers and LPBS, electricals etc. as applicable and other necessary units/accessories for completing the system including E&C of Belting-1400 mm for BCN-29A/B, 30A/B, 31A/B, 32A/B, 33A/B, 34A/B, 35A/B and 36A/B. | Lot | 1
A.2 | Conveyor System as per layout and technical specification complete with necessary supporting structure, platforms, idlers, pulleys, fixed trippers, take-ups, conveyor belting, motors, gear-boxes, couplings, direct hydraulic drive unit, hold-backs, brakes(if required), hopper and chutes, flap gates, skirt boards, deck plates, belt cleaning devices, pull chord switches, belt sway switches, zero speed switches, crossovers and LPBS, electricals etc. as applicable and other necessary units/accessories for completing the system including E&C of Belting-1600 mm for BCN-23A/B, 24A/B and 25A/B. | Lot | 1
A.3 | Hydraulic drive for all conveyors including power pack, piping, field instruments, all consumables, hydraulic oil, hydraulic motors, cylinders, electrical motors (LT & HT), electrical accessories, field instruments, JBs, controller unit etc. as per technical specifications. Each set contains two units for running Conveyor Stream A and B separately. | Nos | 22
A.4 | Flap Gate pneumatically operated positioner type (for speed regulation) to be installed in various TPs including limit switches and electricals as per technical specifications (excluding travelling tripper where flap gates are motorized). Two (02) nos additional actuator are to be considered for existing flapgate of TP-19. | Lot | 1
A.5 | Rack & Pinion Gate including limit switches and electricals as per technical specifications | Set | 3
A.6 | Rod Gate including limit switches and as per technical specifications | Set | 3
A.7 | Roller screens with drive unit with supporting structure including electricals as per technical specifications | Set | 3
A.8 | Ring Granulator type Crusher including electricals, etc as per technical specifications | Set | 3
A.9 | Base frame, foundation bolts, base plate, shim plate etc. for Roller Screen, Ring Granulator & its drive equipments | Set | 6
A.10 | Fluid coupling (Air-cooled type) for ring granulator as per technical specifications | Nos. | 3
A.11 | Vibration Isolation system for crushers (GERB) as per technical spec. | Set | 3
A.12 | In line Magnetic Separator complete with tramp iron chutes, bins, hoods for enclosing separators etc. including electricals as per technical spec. | Nos. | 4
A.13 | Metal Detector including electricals as per technical spec. | Nos. | 4
A.14 | Suspended magnet complete with electric trolley and supporting and handling arrangement including electricals as per technical specifications | Nos. | 2
A.15 | Belt Weigher (1400BW) complete with indicators, recorders etc, including electricals as per technical specifications | Set | 2
A.16 | Belt Weigher (1600BW) complete with indicators, recorders etc, including electricals as per technical specifications | Set | 2
A.17 | Belt Feeder 1800mm - belt width with supply of belt and drive unit complete with necessary supporting structure, belting, idlers, pulleys, take-ups, motors, gear-boxes, couplings, hold-backs, brakes if required, hopper and chutes, skirt boards, deck plates, belt cleaning devices, pull chord switches, belt sway switches, zero speed switches, crossovers and LPBS, electricals etc. as applicable and other necessary units/accessories as per technical specifications. | Set | 3
A.18 | All transfer chutes with all necessary supporting structure, liners, hood for all transfer points of unit-V phase-III (Viz. TP-19 to TP-28), Crusher House, Wagon Tippler Complex, Boiler Bunker top, All Inter-connecting chute (along with liners). Stone picking arrangement with chute, Separate tramp iron chute upto ground level with associated structures and bins for magnetic separators. Debris chute in TPs and Crusher House buildings. | Lot | 1
A.19 | Chute Vibrator including electricals as per technical spec | Lot | 1
A.20 | Chute block switch including electrics as per technical spec | Lot | 1
A.21 | Coal Sampling Units including electricals as per technical specifications | Set | 2
A.22 | Travelling tripper with flap Gates (Motorized) with actuator, two way chute including electricals as per technical specifications | Set | 2
A.23 | Bunker sealing arrangement with belt and supporting structures as per Technical specification | Lot | 1
A.24 | Travelling tripper rails, rail fixtures, clamps etc. as per technical specification. | Lot | 1
A.25 | Electric, Manual Hoist and chain pulley block including electricals for complete CHP areas including all TPs, Crusher House, Wagon Tippler complex, Pent House, Pump House as per technical specifications. Supply and E&C of monorail for bunker floor is in bidder’s scope. | Lot | 1
A.26 | Passenger cum goods elevator, Rack and Pinion Type, 1000 Kg in TP-21 and 2000 Kg in Crusher house with structures, guides, all electrics, I&C drives, panels as per Technical specification | Set | 2
A.27 | Dust Extraction System. including electricals as per Technical specification | Lot | 1
A.28 | Ventilation System for Wagon Tippler underground complex and connecting conveyor tunnel, MCC rooms, Dozer shed including connecting office rooms, toilet etc with electricals as per Technical specification | Lot | 1
A.29 | Plain water and dry-fog type dust suppression system for complete Coal handling System area including all TPs, CRH, all conveyors, Wagon Tippler Complex, Wagon Tippler Pre-wetting areas etc. | Lot | 1
A.30 | Potable Water, Service water system for complete Coal handling System (including MCCs and Dozer Shed). | Lot | 1
A.31 | Service/instrument air system for supply of air required for Flapgate, DE & DFDS system. Additional tap points shall be considered in each TPs for cleaning purpose. | Lot | 1
A.32 | Bunker grating as per Technical specification | Lot | 1
A.33 | Grating for sump pits at Wagon Tippler complex | Lot | 1
A.34 | Air conditioning system for all CHP MCCs as per Technical specification | Lot | 1
A.35 | Belt Vulcaniser with complete with splicing tools/kit/ consumables and all accessories -upto1800 mm BW, Hydro-mechanical press type as per Technical specification | Set | 1
A.36 | Submersible Sump Pumps with piping, valves, instruments, support complete system including electricals as per Technical specification | Set | 4
A.37 | Maintenance Tools and Tackles as per list enclosed | Lot | 1
A.38 | Commissioning Spares as required till completion and handing over of project | Lot | 1
A.39 | Electrical Items including all motor, field electrics, limit switches, cables, cable trays, earthing protection material, JBs, LPBS, Local panels, etc as per electrical specification. | Lot | 1
Total A=A.1=A.2+…+A40)
B | MANDATORY SPARES
B.1 | Mechanical Mandatory spares as per the list specified in annexure-08 of Enquiry specification | Lot | 1
B.2 | Electrical and C&I Mandatory spares as per the list specified in annexure-08 of Enquiry specification | Lot | 1
Total B=(B.1+B.2)
C | ERECTION & COMMISSIONING
C.1 | Unloading, receipt at Site, Storage (including construction of open / closed storage), Security, local transportation at site, Erection, Testing, Trail run, Commissioning, carrying out PG test, final painting after erection and handing over of all equipment & systems with associated electricals and C&I and other accessories covered in technicaly enquiry specifications including any items which are free issue to the bidder. Consumables, flushing oil, first fill and topping-up of oil till completion of PG Test / handing over to WBPDCL shall also be in bidder's scope. | Lot | 1
C.2 | Receipt at Site, Unloading, and Storage of all BHEL free issue items like HT Motor for Crusher for CHP (which are under BHEL Scope of Supply), Erection, testing & commissioning of HT Motor. | Lot | 1
C.3 | Construction of open storage yard and closed storage shed: Construction of temporary covered shed for storage & preservation of all supplied material for this package with minimum area of 300 sq.m. with brick wall construction, concrete flooring, sloped roof and rolling shutter. Bidder shall also consider fencing of open storage and site fabrication area as and when allocated at site. | Lot | 1
C.4 | Providing 3D model of complete CHP as per scope of work described in this specification and customer’s NIT specification. | Lot | 1
C.5 | Any other associated equipment/items/item of work required for successful completion, installation, and operation of the coal conveyor System. | Lot | 1
Total C=(C.1+ C.2+C.3+C.4+C.5)
D | OPERATION & MAINTENANCE
D.1 | Operation & Maintenance till COD of the plant or PG test of the individual machines whichever is later as per scope specified in technical enquiry specification. | Lot | 1
GRAND TOTAL FOR DECIDING L1=(A)+(B)+(C )+(D)
E | Actual CIF Content for imported items, if any CIF Content (in Figure) INR: ................................................................... CIF Content (in Words) INR: ................................................................... The Total Price Quoted shall be with applicable rates over and above CIF allocation.
NOTE:
1 | GST shall be payable extra at actuals at prevailing rates.
2 | In Price bid submitted by the vendor, all the columns and rows should be filled
3 | Any column/ row left blank the same shall be treated as included in the total price Quoted.
4 | * In case of Indian agents of foreign bidders: - The basic exworks price indicated is inclusive of all import taxes, duties & marine freight etc. - Excise duty not applicable.
5 | This tender is on EPC basis for the total scope specified in the NIT. Bidders to ensure that the scope is studied and understood before filling of price format.
6 | Further, bidders to note that cost towards the training/inspection of indigenous/ off shore equipments by WBPDCL/WBPDCL nominated agency will be to Bidders account, which includes to & fro Airfare/Railway/Road fare charges, Boarding and Lodging, local transportation and other related expenses and the above quoted price should be inclusive of these expenses
7 | The price to be Quoted strictly as per the price format with the detailed Price break up format enclosed and submitted as Part - II bid. Un price copy of price bid along with duly filled in format of Commercial terms and conditions (CTC) to be submittedas part of Part-I bid for techno-commercial evaluation.
8 | Unit rate shall be applicable for Sl.No. D.1. Quantities of this item can be increased or reduced or deleted.Quantity of unit rate items may vary during the project execution and the order price will be adjusted based on the actual requirement. However the units rates of such items will remain valid till the end of the contract for any change in the quantity. Above is inclusive for all contractual obligations including submission of Drawings, Documents, QAP, Painting schedule, O&M manual, Erection manual etc in required number of hard and soft copies as per enquiry specification, bidder’s offer and all recorded discussions etc.
9 | a. If, in the price structure quoted for the required goods/ services/ works, there is discrepancy between the unit price and the total price (which is obtained by multiplying the unit price by the quantity indicated in the qty column of the price format), the unit price shall prevail and the total price corrected accordingly. b. If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected accordingly. c. If there is a discrepancy between price indicated in words and figures, the price mentioned in words will be considered for bid evaluation. d. If there is such discrepancy/error in an offer, the same shall be conveyed to the bidder with target date up to which the bidder has to send his acceptance on the above lines and if the bidder does not agree to the decision of the BHEL, the same may invite rejection of bid and necessary action against the bidder as per BHEL procedures and BHEL’s decision is final.
10 | All Electrics, C&I, (Except BHEL supply as specified separately) which is required for completion of conveyor package in totality, shall be bidder's scope of supply & work.
11 | The prices for all the rows & columns to be filled, in case any row or column is left blank is deemed as price included. Incase of discrepancy between ‘Price in figures’ and ‘Price in words’ in this price format, the price entered in words shall prevail and shall be taken for tender evaluation and finalization of the award of work.
12 | Un-priced price format indicating “quoted” for the respective items shall be submitted separately along with the Techno-commercial bid (Part - I).
13 | Price of mandatory spares shall be considered for evaluation of offer for placement of order. Price of mandatory spares shall be firm and valid till the completion of project.
14 | Above quoted price includes Design, Engineering, Manufacturing, Inspection, Supply, Transportation, Unloading, receipt at site, construction of store & storage at site, Security, Erection & Commissioning, COD/Trail Run, Handing over & Demonstration of Performance Guarantee and safe operation of the equipment as required by applicable codes though they may not have been specifically detailed in the specifications.
15 | Above quoted price is inclusive of all the equipments & items, accessories, hardware, foundation Bolts, Gaskets, Couplings, grouting materials, painting, shims etc. including all electrical & instrumentation, items required for completing the system, other than specifically mentioned under exclusions.
16 | Above quoted price is inclusive for the supply of all consumable, flushing oil, first fill and taping oil till completion of PG test and handing over.
17 | This tender is being floated to award the scope of work on turnkey basis as per specifications and notes as in this price format. Hence Scope of work is not limited only to the items listed above but include all other items required for completion of AHP System as per the tender specification.
18 | Acceptance of offer for price bid opening shall be subject to satisfying the Techno Commercial conditions and approval by WBPDCL.
Bidder's Signature & Stamp