Requirements Applicable For Auxiliary PRDS Package for SCCL-2x600 MW Singareni TPS.

- The offered equipment should have been designed & manufactured in conformance to applicable Indian/ International standards.

- The vendor should

- Own design/ engineering establishment & testing facilities with experienced personnel in the field and well established quality systems to control & monitor the quality of manufactured and outsourced equipment as well as for project management and execution facilities.

- In case the vendor does not have experience of having supplied the offered equipments/ systems on its own strength then the vendor can collaborate/ associate with a party/ vendor having the experience and meeting the qualifying requirement stipulated above. In that case the vendor would have to give a joint deed of undertaking with his collaborator/ associate toward back up guarantee for the product on the project specific basis.

Vendor must be manufacturer of at least one of the two items i.e. either Control valve or Desuperheater.

- Furnish minimum two (02) nos. of feedback certificates from end user, working satisfactorily at a Thermal Power plant of unit rating 500 MW or above for last two years.  Feedback certificate from end user shall not be more than 5 year old as on date of offer submission.

- Have supplied minimum 6”, ANSI #2500 class of Combined Type Pressure Reducing & Desuperheating Valve (PRDS) (also known as ‘Steam Conditioning Valve’) exclusively for Aux PRDS Package, not more than 5 year old as on date of offer submission. PO/LOI in support for the same need to be furnished.

- Furnish the experience list specifically for each item/arrangement for Aux. PRDS, supplied only for Power Plants,

- Experience list furnished for Aux. PRDS supplied shall not be more that 5 (five) years old as on date of offer submission.

- In the experience list for Aux. PRDS, vendor to clearly furnish the arrangement offered, year of supply, MW rating of the power plant, Valve sizes, desuperheater sizes, operating Temp./Pressure. A sample formal of experience list is enclosed along with.

Note :

The bidders, who are already registered with BHEL PEM without any Technical limit, need not submit Technical PQR. In case of technical limit, the registered bidder may submit the documents required for review of limit alone if the bidder wants reassessment of technical limits.