## Main+Mandatory (Consolidated)
Price Schedule of Control Valves package -1x500 MW VINDHYACHAL STPP STAGE V- (STG PKG)
|  |  |  | Applicable for Indian Bidders (Price in INR) | [5 empty] | Applicable for Foreign Bidders (Bidder to mention Currency)
Sl.No. | Tag No. | Service | Qty (Nos) | Unit Ex-works Price Incl. Packing & Forwarding Charges | Total Ex-Works Price (Rs) Incl. Packing & Forwarding Charges | ED | CST @2% Against form 'C' & /E1/E2 | Freight Charges including service taxes of percentage(%) of Total Ex-works price= …..% | Total F.O.R. site Price | Unit FOB price | Total FOB Price
1 | ASV-8 | DEAERATOR PEGGING FROM AUX.STEAM HEADER | 1 |  |  | Nil as per SCC of the project
2 | CRHV-6 | DEAERATOR PEGGING FROM CRH LINE | 1
3 | CDV-10, -12, -14 | CEP A / B / C MINIMUM RECIRCULATION | 3
4 | CDV-22 & CDV-25 | MAIN CONDENSATE | 2
5 | CDV-39 | GSC MINIMUM FLOW RE-CIRCULATION | 1
6 | CDV-43 | EXCESS DUMP | 1
7 | CDV-67 | CONDENSATE FOR SD FLASH TANK | 1
8 | CDV-72 | CONDENSATE FOR VALVE GLAND SEATING | 1
9 | DRV-2 | HPH-6A DRAIN TO HPH-5A | 1
10 | DRV-8 | HPH-6B DRAIN TO HPH-5B | 1
11 | DRV-5 | HPH-6A DRAIN TO HP DRAIN FLASH TANK | 1
12 | DRV-11 | HPH-6B DRAIN TO HP DRAIN FLASH TANK | 1
13 | DRV-15 | HPH-5A DRAIN TO DEAERATOR | 1
14 | DRV-22 | HPH-5B DRAIN TO DEAERATOR | 1
15 | DRV-18 | HPH-5A DRAIN TO HP DRAIN FLASH TANK | 1
16 | DRV-25 | HPH-5B DRAIN TO HP DRAIN FLASH TANK | 1
17 | DRV-28 | LPH-3 DRAIN TO LPH-2 | 1
18 | DRV-31 | LPH-3 DRAIN TO LP DRAIN FLASH TANK | 1
19 | DRV-34 | LPH-2 DRAIN TO LPH-1 | 1
20 | DRV-37 | LPH-2 DRAIN TO LP DRAIN FLASH TANK | 1
21 | DRV-48 | DEAERATOR OVERFLOW | 1
22 | DMV-2 | DM NORMAL MAKE-UP TO HOTWELL | 1
23 | DMV-9 | EMERGENCY MAKE-UP TO HOTWELL | 1
24 | FDV-14 | LOW LOAD FEED CONTROL | 1
25 | ECW-114 | TG ECW SYSTEM | 1
A. | Total Price of Control valves of 1.0 to 25.0 |  | 28
B. | 350 meters of Copper tubing for connection between IA header on one end and accessories on the other end of Control Valve |  |  |  |  | Nil as per SCC of the project
C. | (i) | Brass Fittings for connection to Air Filter Regulator as per hook-up diagram (1 qty for required for each CV) | 28
| (ii) | Brass Fittings for connection to Air Lock Relay as per hook-up diagram (1 qty for required for each CV) | 28
| (iii) | Brass Fittings for connection to IA header Isolation valve as per hook-up diagram (1 qty for required for each CV) | 28
| (iv) | Brass Equal Tee as per hook up diagram (1 qty for required for each CV) | 28
Total price of Brass Fittings
D. | START-UP/COMMISSIONING SPARES
Total Price for 1 Set of Body and Bonnet Gasket & Gland Packing’s Per CV (One qty of gasket for Body & Bonnet for each Control Valve and 1 gland packing for each Control Valve) Separate annexure also attached
E. | Valve Diagnostic and Configuration Software |  | 1
F. | Universal Hand Held Calibrator |  | 1
TOTAL PRICE OF MAIN SUPPLY (A+B+C+D+E+F)
G. | Total Price of Mandatory Spares
| Pneumatic and electro-hydraulic actuator assembly (Separate detailed annexure shall be provided by bidder) |  | (10% or 2 nos. of each type, Model and rating, whichever is more.)
Grand total of (A+B+C+D+E+F+G)
NOTES:
1 | No separate Cv test charges shall be payable. Bidder to include test charges in their in Unit ex works price. However, if bidder have valid Cv test report of earlier similar type of valve (Refer Clause No 20 of Sec C, Vol II-B of Technical Specification, Page no 23), the Cv test can be exempted for those valves. | [8 empty] | (Important)
2 | Grand total of (A+B+C+D+E+F+G) shall be considered for Evaluation.
3 | Transit Insurance shall be in BHEL scope.
4 | Prices shall remain firm till contract execution.
Bidder shall furnish this price Schedule in his price offer only
PARTICULARS OF BIDDER/ AUTHORISED REPRESENTATIVE
(Name, Designation, Signature, Date,Company name along with Seal)

## Commissioning spares
Control Valves package -1x500 MW Stg V- VINDHYACHAL STPP- (STG PKG)
COMMISSIONING SPARES
[5 empty] | Applicable for Indian Bidders (Price in INR) | [5 empty] | Applicable for Foreign Bidders (Bidder to mention Currency)
S.No. | COMMISSIONING SPARES for Tag No. | ITEM DESCRIPTION | Qty |  | Unit Ex-works Price Incl. Packing & Forwarding Charges | Total Ex works Price Incl. Packing & Forwarding Charges | ED | (CST @2% Against form 'C' & E1/E2) or VAT (which ever applicable) | Freight Charges including service taxes of percentage(%) of Total Ex-works price= …..% | Total F.O.R. site Price | Unit FOB price | Total FOB Price
1 | ASV-8 | DEAERATOR PEGGING FROM AUX.STEAM HEADER | 1 | SET |  |  | Nil as per SCC of the project
2 | CRHV-6 | DEAERATOR PEGGING FROM CRH LINE | 1 | SET
3 | CDV-10, -12, -14 | CEP A / B / C MINIMUM RECIRCULATION | 3 | SETS
4 | CDV-22 & CDV-25 | MAIN CONDENSATE | 2 | SETS
5 | CDV-39 | GSC MINIMUM FLOW RE-CIRCULATION | 1 | SET
6 | CDV-43 | EXCESS DUMP | 1 | SET
7 | CDV-67 | CONDENSATE FOR SD FLASH TANK | 1 | SET
8 | CDV-72 | CONDENSATE FOR VALVE GLAND SEATING | 1 | SET
9 | DRV-2 | HPH-6A DRAIN TO HPH-5A | 1 | SET
10 | DRV-8 | HPH-6B DRAIN TO HPH-5B | 1 | SET
11 | DRV-5 | HPH-6A DRAIN TO HP DRAIN FLASH TANK | 1 | SET
12 | DRV-11 | HPH-6B DRAIN TO HP DRAIN FLASH TANK | 1 | SET
13 | DRV-15 | HPH-5A DRAIN TO DEAERATOR | 1 | SET
14 | DRV-22 | HPH-5B DRAIN TO DEAERATOR | 1 | SET
15 | DRV-18 | HPH-5A DRAIN TO HP DRAIN FLASH TANK | 1 | SET
16 | DRV-25 | HPH-5B DRAIN TO HP DRAIN FLASH TANK | 1 | SET
17 | DRV-28 | LPH-3 DRAIN TO LPH-2 | 1 | SET
18 | DRV-31 | LPH-3 DRAIN TO LP DRAIN FLASH TANK | 1 | SET
19 | DRV-34 | LPH-2 DRAIN TO LPH-1 | 1 | SET
20 | DRV-37 | LPH-2 DRAIN TO LP DRAIN FLASH TANK | 1 | SET
21 | DRV-48 | DEAERATOR OVERFLOW | 1 | SET
22 | DMV-2 | DM NORMAL MAKE-UP TO HOTWELL | 1 | SET
23 | DMV-9 | EMERGENCY MAKE-UP TO HOTWELL | 1 | SET
24 | FDV-14 | LOW LOAD FEED CONTROL | 1 | SET
25 | ECW-114 | TG ECW SYSTEM | 1 | SET
TOTAL (ie. 1 to 25)