## PRICE FORMAT-UN-PRICED
PRICE FORMAT (UN-PRICED)
ITEM: BUS DUCT FOR 3X660MW NORTH KARANPURA STPP (ACC UNIT)
TENDER REF: 12300812
All values in INR
NAME OF BIDDER: M/S. ______________
Sl.No | Material code | Item Description | Qty. | U/M | HSN CODE (To be mentioned by Bidder) | Unit Ex-Works Price Incl. Packing Charges | Total Ex-Works Price Incl. Packing Charges | Total Freight Price | Total Price Incl. Freight | CGST @ | SGST @ | IGST @ | Total FOR Price
[10 empty] | 0% | 0% | 0%
|  |  | (1) |  |  | (2) | (3)=(1)x(2) | (4) | (5)=(3)+(4) | (6)=(5)x CGST% | (7)=(5)x SGST% | (8)=(5)x IGST% | (9)=(5)+(6)+(7)+(8)
1 | ELNSPCL1600936 | 4000A PER METER LENGTH BUSDUCT | 600 | M |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
2 | ELNSPCL1600939 | ADNL HRDWR FOR 90DEG BEND 4000A | 180 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
3 | ELNSPCL1600942 | TINNED LAM CU FLEX SET 4000A (Each Set shall be consist of TPN) | 60 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
4 | ELNSPCL1600945 | AL FLEX SET 4000A (Each Set shall be consist of TPN) | 60 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
5 | ELNSPCL1600948 | ADNL HRDWR OF ADOPTER (SWGR&TRAFO) 4000A | 120 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
6 | ELNSPCL1600951 | PHASE CROSS OVER -4000A | 60 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
7 | ELNSPCL1600954 | RUBBER BELLOW-4000A | 120 | EA |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
8 | ELNSPCL1600957 | SILICAGEL GEL BREATHER ASSEMBLY | 240 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
9 | ELNSPCL1600958 | SPACE HEATER AND THERMOSTAT | 240 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
10 | ELNSPCL1600961 | BUSDUCT SUPPORT STRUCTURE | 9000 | KG |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
11 | ELNSPCL1600962 | MARSHALING BOX | 60 | EA |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
12 | ELCPBGNSP053 | WALL FRAME ASSEMBLY-4000A | 60 | SET |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
A | TOTAL FOR PRICE FOR ALL LINE ITEMS OF A (Sr. No. 1 to 12) | [11 empty] | 0
B | LESS TOTAL GST CREDIT | [11 empty] | 0
C | LANDED COST TO BHEL (FOR EVALUATION PURPOSE ONLY) | [11 empty] | 0
NOTE:
| 1 | Length of the Bus Duct Is considered from the center Line of Transformer flange to center line of panel flange.
| 2 | Price quoted for 90 degree bend, Adopter and Rubber Bellow should be only for addition hardware requirement to make these items from straight run of busduct. Hence the length for busduct mentioned in BOQ is the total length from the panel to Transformer
| 3 | The Total Length of the busduct may vary by ± 30 %
| 4 | Item shall be manufactured as per Technical Specification EPD-BD-CPBG-14015, REV.00