## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Sr. Manager/PG I
Name of Work: 2x500 MW TUTICORIN (FGD PKG) project - Lighting Fixtures, Lamps & Misc. items as per Technical Specification.
Enquiry No: PE/PG/NTF/E-6770/2021 dated 01.10.2021
BOQ Notes : 1. FOR SUPERVISION OF E&C 3 (THREE) VISITS AND 15 (FIFTEEN) MANDAYS TO BE CONSIDERED. THE PRICES SHALL BE INCLUSIVE OF CHARGES OF AIRFARE (TO & FRO), BOARDING, LODGING, VISA, MEDICAL, INSURANCE ETC. 2. AMOUNT PAYABLE PER VISIT = VISIT CHARGES AS PER SL. NO. 13.1 ABOVE (+) UNIT PRICE FOR MANDAYS CHARGES AS PER SL. NO. 13.2 ABOVE (x) NO. OF MANDAYS AT SITE (TO BE CERTIFIED BY BHEL SITE) 3. UNIT RATE FOR Sl. 13.1 AND 13.2 of Annex-I (BOQ-cum-Price Schedule) ARE INR 20000/- AND INR 5000/- RESPECTIVELY AND SAME IS FIRM. SUPERVISION OF E&C RATE SHALL NOT BE CONSIDERED FOR PRICE EVALUTION. 4. NOS. OF VISIT FOR SUPERVISION OF E&C MAY INCREASE BASED ON PROJECT REQUIREMENT. 5. CONTAINERS AS PER SPECIFICATION ARE TO BE SUPPLIED ALONG WITH FIRST SUPPLIES. THE PRICE OF CONTAINER IS DEEMED TO BE INCLUDED IN PACKAGE PRICE. NO SEPARATE CHARGES SHALL BE PAYABLE. 6. THE MATERIAL SHALL BE SUPPLIED IN LOTS. LOTS SHALL BE RELEASED PROGRESSIVELY BASED ON APPROVED CONDUIT LAYOUT DRAWINGS OF DIFFERENT AREAS AND PROJECT REQUIREMENT. 7.LIGHTING SYSTEM DESIGN CHARGES ARE DEEMED TO BE INCLUDED IN THE PRICE OF ABOVE ITEMS. NO SEPARATE CHARGES FOR DESIGN ACTIVITY WILL BE PAYABLE. 8. TYPE TESTS CHARGES ARE DEEMED TO BE INCLUDED IN THE PRICE OF ABOVE ITEMS. NO SEPARATE CHARGES FOR TYPE TESTING WILL BE PAYABLE. 9. For Mandatory spares, Bidder to quote considering each type and each rating of items applicable as per technical specification & BOQ of Main Supply.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code | Total Quantity | Units | HSN Code | Quantity of Lot-1 |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Ex-works price (duly packed) in Figures To be entered by the Bidder (Rs.) Rs. P | Total Ex-works price (duly packed) (Rs.) Rs. P | Rate of Freight (in % of total ex-works) | Freight Charges | Any Other Taxes/Duties/Levies | Make | Model | GST Rate (in % of total ex-works + freight) | GST Amount in Rs. | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category |  | Make | Model |  |  |  |  | Remarks | [22 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Lighting Luminaires (complete with accessories) | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | Industrial type LED fixture suitable for conduit /surface/ suspended mounting, with integral driver aesthetically designed for Switchgear / Equipment room (Equivalent to FC06) |  | 485 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Panel 600 mm X 600 mm LED luminaire suitable for recess mounting in false ceiling with integral driver aesthetically designed for Control Room/ Office (Equivalent to FC30) |  | 93 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.03 | Corrosion proof, totally enclosed type LED fixture having integral driver (Equivalent to FC81) |  | 61 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Industrial type LED fixture suitable for conduit/ surface/ suspended/ column mounting, having integral driver. Fixture shall operate on 220V DC input supply (Equivalent to FC07) |  | 25 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Decorative, recessed type LED fixture having integral driver. Fixture shall operate on 220V DC input supply (Equivalent to FC33) |  | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.06 | Well glass, dust proof type LED fixture having integral driver. Fixture shall operate on 220V DC input supply (Equivalent to FC34) |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.07 | Flood light, heavy duty type LED fixture (Equivalent to SF63) |  | 58 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Flood light, heavy duty type LED fixture (Equivalent to SF66) |  | 33 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | High Bay Industrial type LED fixture (Equivalent to SB02) |  | 59 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | High Bay Industrial type LED fixture suitable for turbine hall operating floor (mounting height >10 m) (Equivalent to SB03) |  | 56 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | Street light LED fixture (Equivalent to SS62) |  | 88 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.12 | Well glass type, vapour proof LED fixture suitable for Boiler / ESP platforms (Equivalent to SW41) |  | 284 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | Well glass type, vapour proof LED fixture suitable for Boiler / ESP platforms (Equivalent to SW42) |  | 86 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Switch boxes for individual control of circuits (Switchboards consisting of switch boxes, switches, switch plates and fixing accessories) | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | Type SWB1 |  | 33 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Type SWB2 |  | 11 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.03 | Type SWB3 |  | 11 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Type SWB4 |  | 11 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Main Supply - Junction boxes | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Type JB-F |  | 1125 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | Type JB-FE |  | 61 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | Main Supply - Receptacles | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.01 | Type RA |  | 26 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | Type RB |  | 26 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.03 | Type RC |  | 19 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | Type RD |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Main Supply - Fans | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.01 | Celling fans 1200 mm sweep |  | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | Pedestal Fan |  | 10 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | Main Supply - Emergency lighting Units | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.01 | With Ni-Cd battery and 2x6W (LED) |  | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Main Supply - Flexible conduit | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.01 | 20 mm dia Electro Galvanised PVC coated conduit |  | 2000 | Mtrs. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Main Supply - Ladder | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.01 | Wheel mounted adjustable from 5M to 12M aluminium ladder |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.02 | Free standing adjustable from 5M to 10M aluminium ladder |  | 1 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9 | EXIT SIGN with lamp |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Driver for Lighting Luminaires | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.01 | Type FC06 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | Type FC30 (LED) |  | 5 | Nos. |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.03 | Type FC81 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.04 | Type FC07 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.05 | Type FC33 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.06 | Type FC34 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.07 | Type SF63 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.08 | Type SF66 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.09 | Type SB02 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | Type SB03 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.11 | Type SS62 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.12 | Type SW41 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.13 | Type SW42 (LED) |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Structural steel |  | 2.5 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Occupancy sensor |  | 5 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Mandasory Spares-LED Fixture: Each type of fixtures complete with accessories (10 nos. of each type) |  | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Mandasory Spares-Switches (5 Nos for each make, type and rating) |  | 1 | Lot |  |  |  | Excess(+) |  | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
15 | Mandasory Spares-Receptacles (5 Nos for each make, type and rating) |  | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Timer/photo cell |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  | 0 |  |  |  |  | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## BoQ2 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Bharat heavy Electricals limited-Project Engineering Management, Noida
Name of Work: 2x500 MW TUTICORIN (FGD PKG) project - Lighting Fixtures, Lamps & Misc. items as per Technical Specification.
Enquiry No: PE/PG/NTF/E-6770/2021 dtd 01/10/2021
Name of the Bidder/ Bidding Firm / Company :
ANNEXURE-II (COST OF WITHDRAWAL) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )NOTES: 1. Cost of Withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their technical & commercial deviations (if any) in details in the above format. 3.Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4.Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6.The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7.Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII of GCC, Rev-07 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive. 13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P | page No. | Technical Specification/Tender Document clause no. | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Cost of Withdrawal of DevationTo be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Reference of Price Schedule on Which cost of Withdrawal of devotion is Applicable | Nature of Cost of Withdrawal of deviation (Positive/Negative) | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P |  |  |  | Reason for Quoting Devetion | Reference of Price Schedule Sl No. on Which cost of Withdrawal of devotion is Applicable | [27 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | TECHNICAL DEVIATION | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | TECHNICAL DEVIATION | item1 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | TECHNICAL DEVIATION | item2 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | TECHNICAL DEVIATION | item3 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | TECHNICAL DEVIATION | item4 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | COMMERCIAL DEVIATION | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | COMMERCIAL DEVIATION | item5 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | COMMERCIAL DEVIATION | item6 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | COMMERCIAL DEVIATION | item7 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | COMMERCIAL DEVIATION | item8 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information